## Scenarios
|  | Business as Usual (BAU) | [5 empty] | Drought | Environmental
|  | Base with Wind | Base with All Tech | Base with All Tech with PTC | Base with All Tech and Retirements of NG >50yrs | Base with All Tech with Increased Asynchronous Tie Capacity | Base with All Tech with High Natural Gas Price |  | Base | Base with RPS | Base with DR/EE Mandates
Moody's Employment |  | Base | Base | Base | Base | Base | Base | Base | Base | Base | Base
Weather Shape |  | Normal | Normal | Normal | Normal | Normal | Normal | 2011 Summer | Normal | Normal | Normal
Fuel Prices ($/mmbtu)
| Natural Gas | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref plus $5 | EIA Ref | EIA Ref plus $5 | EIA Ref plus $5 | EIA Ref plus $5
| Coal PRB | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref
| Coal Lignite | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref | EIA Ref
PTC |  | NO | NO | YES | NO | NO | YES | YES | YES | YES | YES
Emission Costs ($/ton)
| Seasonal NOX | 0 | 0 | 0 | 0 | 0 | 0 | 600 | 600 | 600 | 600
| Annual NOX | 0 | 0 | 0 | 0 | 0 | 0 | 1500 | 1500 | 1500 | 1500
| SO2 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 700 | 700 | 700
| CO2 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 50 | 50 | 50
Demand Response (MW potential) |  | 0 | 2700 | 2700 | 2700 | 2700 | 2700 | 5200 | 7400 | 7400 | 10700
| Residential (see DR details tab) | 0 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 2200 | 2200 | 4400
| Commercial (see DR details tab) | 0 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 2200 | 2200 | 3300
| Industrial (see DR details tab) | 0 | 500 | 500 | 500 | 500 | 500 | 3000 | 3000 | 3000 | 3000
Policy Options
| Option 1 | [6 empty] | Water Usage Cost | CSAPR approved | Retirement of all Coal units w/o CCS | 10,000 MW DR Mandate
| Option 2 | [6 empty] | Dry cooling required on all CC's | MATS/NESHAPS approved (april 2012) and compliance by 2015 | 25% of energy by 2025 from renewables | 15% of energy by 2025 from EE
| Option 3 | [6 empty] | Desal. Plants on the coast | No new pulverized coal; IGCC only

## Scenario Capital Costs
|  | Business as Usual (BAU) |  |  |  |  | Drought | Environmental
|  | Base | Base with All Tech | Base with All Tech and Retirements | Base with All Tech and Increased Asynchronous Tie Capacity | Base with All Tech and High Natural Gas Price |  | Base | Base with RPS | Base with DR Mandate
Capital Costs (2011 $/kW)
| Coal | 2896 | 2896 | 2896 | 2896 | 2896 | 3271 | 3271 | 3271 | 3271
| Advanced CC | 919 | 919 | 919 | 919 | 919 | 1011 | 919 | 919 | 919
| Advanced CT | 771 | 771 | 771 | 771 | 771 | 771 | 771 | 771 | 771
| Wartsila | N/A | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
| On Shore Wind | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
| Off Shore Wind | N/A | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
| Small Solar PV | N/A | 4655 | 4655 | 4655 | 4655 | 4655 | 4655 | 4655 | 4655
| Large Solar PV | N/A | 3805 | 3805 | 3805 | 3805 | 3805 | 3805 | 3805 | 3805
| Solar Thermal | N/A | 4030 | 4030 | 4030 | 4030 | 4030 | 2500 | 2500 | 2500
| Geothermal | N/A | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800
| CAES | N/A | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| Gravity Power | N/A | 1600 | 1600 | 1600 | 1600 | 1600 | 1000 | 1000 | 1000
Capital Costs (For 2020 in 2020$ $/kW)
| Coal | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380
| Advanced CC | 1070 | 1070 | 1070 | 1070 | 1070 | 1070 | 1070 | 1070 | 1070
| Advanced CT | 898 | 898 | 898 | 898 | 898 | 898 | 898 | 898 | 898
| Wartsila | N/A | 1007 | 1007 | 1007 | 1007 | 1007 | 1007 | 1007 | 1007
| On Shore Wind | 2333 | 2333 | 2333 | 2333 | 2333 | 2333 | 2333 | 2333 | 2333
| Off Shore Wind | N/A | 3499 | 3499 | 3499 | 3499 | 3499 | 3499 | 3499 | 3499
| Small Solar PV | N/A | 3539 | 3539 | 3539 | 3539 | 3539 | 3539 | 3539 | 3539
| Large Solar PV | N/A | 2893 | 2893 | 2893 | 2893 | 2893 | 2893 | 2893 | 2893
| Solar Thermal | N/A | 4616 | 4616 | 4616 | 4616 | 4616 | 4616 | 4616 | 4616
| Geothermal | N/A | 2142 | 2142 | 2142 | 2142 | 2142 | 2142 | 2142 | 2142
| CAES | N/A | 1178 | 1178 | 1178 | 1178 | 1178 | 1178 | 1178 | 1178
| Gravity Power | N/A | 1885 | 1885 | 1885 | 1885 | 1885 | 1885 | 1885 | 1885
Capital Costs (For 2030 in 2030$ $/kW)
| Coal | 4017 | 4017 | 4017 | 4017 | 4017 | 4017 | 4017 | 4017 | 4017
| Advanced CC | 1268 | 1268 | 1268 | 1268 | 1268 | 1268 | 1268 | 1268 | 1268
| Advanced CT | 1064 | 1064 | 1064 | 1064 | 1064 | 1064 | 1064 | 1064 | 1064
| Wartsila | N/A | 1197 | 1197 | 1197 | 1197 | 1197 | 1197 | 1197 | 1197
| On Shore Wind | 2771 | 2771 | 2771 | 2771 | 2771 | 2771 | 2771 | 2771 | 2771
| Off Shore Wind | N/A | 4156 | 4156 | 4156 | 4156 | 4156 | 4156 | 4156 | 4156
| Small Solar PV | N/A | 2427 | 2427 | 2427 | 2427 | 2427 | 2427 | 2427 | 2427
| Large Solar PV | N/A | 1984 | 1984 | 1984 | 1984 | 1984 | 1984 | 1984 | 1984
| Solar Thermal | N/A | 5382 | 5382 | 5382 | 5382 | 5382 | 5382 | 5382 | 5382
| Geothermal | N/A | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595
| CAES | N/A | 1414 | 1414 | 1414 | 1414 | 1414 | 1414 | 1414 | 1414
| Gravity Power | N/A | 2262 | 2262 | 2262 | 2262 | 2262 | 2262 | 2262 | 2262

## DR Details
Demand Response Modeling in Generation Expansion
Residential/commercial
1. Add up to the target amount of capacity (e.g. 2,200 MW in BAU) when the average of the Top 100 hours is greater than the floor price of installation, e.g. $1,032/MWh in 2011$.
2. Once the capacity is installed, for each year:
a. Run PROMOD initially
b. Sort the hourly LMPs high to low.
c. Select the hour 90 price to be the dispatch price of residential / commercial demand response in that year. (Conservative assumption instead of hour 100.)
d. Rerun PROMOD and confirm the model has no more than 100 hours of operation of residential / commercial DR in that year.
Industrial
1. Assume 500 MW with a dispatch price of $500/MWh in BAU scenarios.
2. For other scenarios, add in an additional 2,500 MW with a strike price of $2,600/MWh.