PRS Report


	NPRR Number
	440
	NPRR Title
	Consideration of Generation Availability in RMR Analyses

	Timeline
	Normal
	Action
	Rejected

	Date of Decision
	March 22, 2012

	Proposed Effective Date
	Not applicable.

	Priority and Rank Assigned
	Not applicable.

	Nodal Protocol Sections Requiring Revision
	3.14.1, Reliability Must Run
3.14.1.2, ERCOT Evaluation

	Market Guide Section(s) Requiring Revision
	None.

	Revision Description
	The Nodal Protocol Revision Request (NPRR) modifies provisions that relate to Reliability Must-Run (RMR) analysis to ensure generation availability is assessed by ERCOT in RMR evaluations over at least a five year planning horizon.

	Reason for Revision
	The revisions proposed by this NPRR are necessary to ensure that sufficient Generation Resources are available in transmission-constrained areas to reliably manage constraints over at least a five year planning horizon.

	Credit Impacts
	Not applicable.

	Procedural History
	· On 1/30/12, NPRR440 was posted.
· On 2/15/12, Edison Mission Marketing & Trading comments were posted.
· On 2/16/12, Luminant Energy Company comments were posted.

· On 2/23/12, PRS considered NPRR440.
· On 3/12/12, WMS comments were posted.

· On 3/13/12, ROS comments were posted.

· On 3/22/12, PRS again considered NPRR440.

	PRS Decision 
	On 2/23/12, PRS unanimously voted to table NPRR440 and refer the issue to ROS.  All Market Segments were present for the vote.
On 3/22/12, the PRS vote to recommend approval of NPRR440 as amended by the 2/16/12 Luminant Energy Company comments failed via roll call vote.  There were eight opposing votes from the 

Independent Generator (2), Independent Retail Electric Provider (IREP) (2), Consumer (3) and Independent Power Marketer (IPM) Market Segments and three abstentions from the Municipal, IREP and IPM Market Segments.  All Market Segments were present for the vote.  Due to lack of a subsequent passing vote, NPRR440 was deemed rejected by PRS under Section 21.4.4, Protocol Revision Subcommittee Review and Action.    

	Summary of PRS Discussion
	On 2/23/12, there was no discussion.
On 3/22/12, concerns were expressed regarding the five-year planning studies and that this time frame was not conducive to market operations.  It was explained that the intent of NPRR440 was to address circumstances in which all avenues to increase import capacity had been exhausted and there was not an immediate solution; and that the use of RMR or Must-Run Alternative (MRA) service would be to avoid reliability issues.  The 2/16/12 Luminant Energy Company comments, which were endorsed by ROS, were discussed, including the steps ERCOT would follow prior to using RMR or MRA service.  It was noted that WMS recommended rejection of NPRR440 or to make the five-year planning study non-binding and for educational purposes only.


	Business Case

	Business Case
	1
	The proposed revision reduces the possibility of Load shed events in transmission-constrained regions by ensuring that sufficient Generation Resources are available to manage import transmission constraints over a planning horizon corresponding to the lead time needed to build new transmission, if it is necessary to do so, to ensure reliability.  The costs to ERCOT will be determined in the usual and customary manner when ERCOT performs an Impact Analysis.  There are no specific cost impacts to Market Participants associated with this NPRR.  Theoretically, the NPRR may have cost impacts to Market Participants if additional generating units are designated as RMR Units as a result of the additional proposed analysis to ensure reliability.


	Sponsor

	Name
	Paul Rocha

	E-mail Address
	paul.rocha@centerpointenergy.com

	Company
	CenterPoint Energy

	Phone Number
	713-207-2768

	Cell Number
	

	Market Segment
	Investor Owned Utility (IOU)


	Market Rules Staff Contact

	Name
	Sandra Tindall

	E-Mail Address
	stindall@ercot.com

	Phone Number
	512-248-3867


	Comments Received

	Comment Author
	Comment Summary

	Edison Mission Marketing & Trading 021512
	Opposed NPRR440 in its current form and proposed revisions to eliminate applicability to non-local conditions.

	Luminant Energy Company 021612
	Supported NPRR440 and proposed revisions to insert a process for resolving deficiencies identified by the reliability analysis required to determine whether a Generation Resource that intends to suspend operations is required to support ERCOT System reliability.

	WMS 031213
	Recommended that PRS reject NPRR440 or, as an alternative, revise NPRR440 to allow use of five-year planning studies for educational purposes only.  

	ROS 031312
	Recommended approval of NPRR440 as amended by the 2/16/12 Luminant Energy Company comments. 


	Comments


Please note that NPRR421, Clarification of RMR Notifications, also proposes revisions to Sections 3.14.1 and 3.14.1.2.

	Proposed Protocol Language Revision


3.14.1
Reliability Must Run

(1)
RMR Service is the use by ERCOT, under contracts with Generation Entities, of capacity and energy from Generation Resources that otherwise would not operate and that are necessary to provide voltage support, stability or management of transmission constraints, under a Credible Single Contingency for Operations Planning as defined in the Operating Guides, where market solutions do not exist.  This includes service provided by RMR Units and Must Run Alternative (MRA) Resources. 

(a)
Upon receiving notice from a Generation Entity as described in Section 3.14.1.1, Notification of Suspension of Operations, ERCOT may enter into RMR Agreements and begin procurement of RMR Service under this Section.  

(b)
Before entering into an RMR Agreement, ERCOT shall assess alternatives to the proposed RMR Agreement.  The list of alternatives ERCOT must consider includes (as reasonable for each type of reliability concern identified):

(i)
Redispatch/reconfiguration through operator instruction;

(ii)
Remedial Action Plans (RAPs);

(iii)
Special Protection Systems (SPS) initiated on unit trips or Transmission Facilities Outages; and

(iv)
Load response alternatives once a suitable Load response service is defined and available. 

(c)
ERCOT shall minimize the use of RMR Units as much as practicable subject to the other provisions of these Protocols.  ERCOT may Dispatch an RMR Unit at any time for ERCOT System security.  ERCOT shall Dispatch the RMR Unit as early as possible once conditions are identified that require the use of the RMR Unit, as defined in Section 4.4.8, RMR Offers, and the RMR Agreement.  

(d)
Each RMR Unit must meet technical requirements specified in Section 8.1.1.1, Ancillary Service Qualification and Testing.

(e)
The “Minimum Agreement Period” is the 180-day period from November 1 through April 30.  ERCOT may execute RMR Agreements for the Minimum Agreement Period or for a term of one year, with one exception.  ERCOT may execute an RMR Agreement for a term longer than 12 months if the Generation Entity must make a significant capital expenditure to meet environmental regulations or to ensure availability to continue operating the RMR Unit so as to make an RMR Agreement in excess of 12 months appropriate, in ERCOT’s opinion.  The term of a multi-year RMR Agreement must take into account the appropriate RMR exit strategy discussed in Section 3.14.1.4, Exit Strategy from an RMR Agreement.  The RMR standard Agreement is included in Section 22, Attachment B, Standard Form Reliability Must Run Agreement.

(f)
A Generation Resource is eligible for RMR status based on criteria established by ERCOT indicating its operation is necessary to support ERCOT System reliability according to the Operating Guides.  A combined-cycle generation facility must be treated as a single unit for RMR purposes unless the combustion turbine and the steam turbine can operate separately.  If the steam turbine and combustion turbine can operate separately, and the steam turbine is powered by waste heat from more than one combustion turbine, the combustion turbine accepted for RMR Service and a proportionate part of the steam turbine must be treated as a single unit for RMR purposes.  If the combustion turbine accepted for RMR Service can operate separately from the steam turbine, and only the combustion turbine is accepted as an RMR Unit, the RMR energy price will be reduced by the value of the combustion turbine’s waste heat calculated at the Fuel Index Price (FIP), except when the steam turbine is Off-Line.  ERCOT shall post to the Market Information System (MIS) Secure Area the criteria upon which it evaluates whether an RMR Unit meets the test of operational necessity to support ERCOT System reliability within five Business Days of change.  

(g)
A Generation Entity cannot be compelled to enter into an RMR Agreement.  A Generation Entity that owns a Generation Resource that is uneconomic to remain in service can voluntarily petition ERCOT for contracted RMR status by following the process in this subsection.  ERCOT shall determine whether the Generation Resource is necessary for system reliability based on the criteria set forth in this Section.

(h)
ERCOT must contract for the entire capacity of each RMR Unit.

(i)
ERCOT shall post on the MIS Secure Area all information relative to the use of RMR Units including energy deployed monthly.

(j)
The Generation Entity that owns the RMR Unit may not use the RMR Unit for:

(i)
Participating in the bilateral energy market;

(ii)
Self-providing of energy except for plant auxiliary Load obligations under the RMR Agreement; and

(iii)
Providing of Ancillary Service to any Entity.
3.14.1.2
ERCOT Evaluation

(1)
Upon receipt of a Notification under Section 3.14.1.1, Notification of Suspension of Operations, ERCOT shall post the Notification on the MIS Secure Area and shall post all existing relevant studies and data and provide electronic notice to all registered Market Participants of the Application and posting of the studies and data.

(2)
Within 14 days after receiving the Notification described in paragraph (1) above, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability or whether the proposed RMR Unit should qualify for a multi-year RMR Agreement.  ERCOT shall consider and post all submitted comments on the MIS Secure Area.

(3)
Within 24 days after receiving the Notification, ERCOT shall make an initial determination of whether the Generation Resource is required to support ERCOT System reliability.  
(a)
ERCOT shall develop a Load value for use in the RMR study as follows:  For the Load in the RMR local area, ERCOT shall use the regional Load value provided by the appropriate Transmission Service Provider (TSP) as part of the annual Steady State Working Group (SSWG) study case development process.  For Load for the rest of the system, ERCOT shall use maximum system peak Load forecast for the next 12 months based on the weekly Load forecast data posted pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region.  
(b)
ERCOT shall analyze either the greater of the Forced Outages for Generation Resources consistent with historical Generation Resource unavailability data or the unavailability of the largest Generation Resource within the relevant study area.
(c)
ERCOT shall perform the necessary analysis to render a determination over at least a five year planning horizon.
(d)
ERCOT shall determine whether the proposed RMR Unit or an existing Mothballed Generation Resource best resolves the contingencies identified during its RMR study.
(e)
Additionally, ERCOT shall conduct any other analysis (e.g., operations studies) as required and shall post all study data and results and all analyses and its determination on the MIS Secure Area and notify the Generation Entity of the determination.
(4)
Within ten days after a determination by ERCOT that the Generation Resource is required to support ERCOT System reliability, the Generation Entity shall, if it has not already done so, complete and submit to ERCOT Part II of the Notification of Suspension of Operations (Section 22, Attachment E, Notification of Suspension of Operations).  ERCOT shall post the Part II information on the MIS Secure Area.  On the 11th day after the determination or on receipt of Part II of the Notification, whichever comes first, ERCOT and the Generation Entity shall begin good faith negotiations on an RMR Agreement.  These negotiations shall include the budgeting process for Eligible Costs and for fuel costs as detailed in Section 3.14.1.11, Budgeting Eligible Costs, and Section 3.14.1.15, Budgeting Fuel Costs. 

(5)
Within 60 days after receiving the Part I Notification, ERCOT shall make a final assessment of whether the Generation Resource is required to support ERCOT System reliability.  If ERCOT determines that the Generation Resource is required, and the RMR Agreement between ERCOT and the Generation Resource has not yet been finalized, good faith negotiations must continue.  If ERCOT determines that the Generation Resource is not needed to support ERCOT System reliability, then the Generation Resource may cease or suspend operations according to the schedule in its Notification.

(6)
If, after 90 days following ERCOT’s receipt of the Part I Notification, either ERCOT has not informed the Generation Entity that the Generation Resource is not needed for ERCOT System reliability or both parties have not signed a RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Generation Entity may file a complaint with the Public Utility Commission of Texas (PUCT) under subsection (f)(1) of P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

(7)
If, after 90 days following receipt of the Part I Notification, ERCOT and the Generation Entity have not finalized an RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Generation Entity shall maintain that Generation Resource(s) so that it is available for RUC commitment until no longer required to do so under P.U.C. Subst. R. 25.502(f)(2).






�Please note this Section is also being revised by NPRR421.


�Please note this Section is also being revised by NPRR421.





440NPRR-07 PRS Report 032212
Page 1 of 6
PUBLIC


