APPROVED

Protocol Revision Subcommittee (PRS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, February 23, 2012 – 9:30am

- Attendance

Members:

| Brod, Bill | AES |  |
| --- | --- | --- |
| Burke, Tom | Brazos Electric Power Cooperative |  |
| DeAlmeida, Joe | Occidental Chemical Corporation | Alt. Rep. for T. Payton |
| Detelich, David | CPS Energy |  |
| Durrwachter, Henry | Luminant |  |
| Greer, Clayton | Morgan Stanley |  |
| Lange, Clif | South Texas Electric Cooperative | Via Teleconference |
| Lee, Jim | Direct Energy |  |
| Perry, Kim | STEC | Alt. Rep. for C. Lange |
| Varnell, John | Tenaska Power Services |  |
| Wagner, Marguerite | Edison Mission |  |
| Walker, DeAnn | CenterPoint Energy |  |
| Wittmeyer, Bob | Residential Consumer |  |

Guests:

| Basaran, Harika | Austin Energy | Via Teleconference |
| --- | --- | --- |
| Berlinski, Mike | Beacon Power | Via Teleconference |
| Bevill, Jennifer | AEP |  |
| Black, Julie | PUCT | Via Teleconference |
| Blackburn, Don | Luminant | Via Teleconference |
| Bonner, Robert | Conoco Phillips | Via Teleconference |
| Carter, Kevin | Duke Energy | Via Teleconference |
| Cochran, Seth | DC Energy |  |
| Coleman, Katie | TIEC |  |
| Downey, Marty | TriEagle |  |
| Goff, Eric | Reliant |  |
| Hellinghausen, Bill | EDF Trading |  |
| Helton, Bob | IPR-GDF Suez Energy Marketing NA |  |
| Jackson, Tom | Austin Energy |  |
| Jones, Randy | Calpine |  |
| Juricek, Michael | Oncor |  |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Martyak, Stacy | Klein Energy | Via Teleconference |
| McPhee, Eileen | City of Eastland |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Stricklett, Rebecca | LCRA |  |
| Thomas, Wayne | BTU |  |
| Wadsworth, Joe | Vitol |  |
| Williams, Lori | BTU | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Anderson, Troy |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Coon, Patrick |  | Via Teleconference |
| Deller, Art |  | Via Teleconference |
| Flores, Isabel |  |  |
| Gilbertson, Jeff |  | Via Teleconference |
| Hobbs, Kristi |  |  |
| Mereness, Matt |  | Via Teleconference |
| Potluri, Tejaswi |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Ruane, Mark |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Surendran, Resmi |  |  |
| Teixeira, Jay |  | Via Teleconference |
| Tucker, Carrie |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2012 PRS Chair Tom Burke called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Burke directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.

Approval of Minutes (see Key Documents)

January 9, 2012

January 19, 2012

January 30, 2012

DeAnn Walker moved to approve the January 9, January 19, and January 30, 2012 PRS meeting minutes as posted.  Henry Durrwachter seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) and Board Reports

Consideration of Capital Contribution Refunds Depreciation Schedule

Mr. Burke noted recent ERCOT Board approval of Nodal Protocol Revision Request (NPRR) 432, Deployment of Resources to Alleviate Anticipated Emergency Conditions.  Market Participants discussed that additional NPRRs might be necessary to address depreciation and repayment schedules, and metrics for Load Resources; and that the issues related to capital contributions should be addressed expediently.  Jennifer Bevill suggested that the discussion might be taken up by the Resource Cost Working Group (RCWG).

Ms. Walker moved to refer consideration of a capital contribution refunds depreciation schedule to the Wholesale Market Subcommittee (WMS).  Eric Goff seconded the motion.  The motion carried unanimously.

Project Update and Summary of Project Priority List (PPL) Activity to Date (see Key Documents)

Troy Anderson presented the Business Integration update; reviewed recent and upcoming project implementations; and noted revised release targets.  Mr. Anderson also presented the 2013 project funding schedule and noted that he would report to TAC subcommittees in March 2012 and seek PRS endorsement at the March 22, 2012 meeting, and TAC endorsement at the April 5, 2012 meeting.  Market Participants expressed concern for impacts to resource availability and project funding posed by efforts to maintain a flat ERCOT Administrative Fee; that it will be important to understand when the Nodal fee expires and which Nodal stabilization projects remain; and that Nodal Parking Deck items were approved by the ERCOT Board without knowledge of costs, due to resource constraints, and that Impact Analyses are now being developed and considered.

Impact Assessment for Parking Deck NPRR260, Providing Access to MIS Secure Area to MIS Registered Users

Mr. Anderson presented the Impact Analysis for NPRR260.  Market Participants discussed that NPRR260 created a the new user type, Independent Market Information System Registered Entity (IMRE), before user fees were allowable; and that it would be appropriate to require IMREs to pay a user fee to gain access to the Market Information System (MIS) Secure Area.  Ms. Hobbs noted that a separate NPRR or changes to the ERCOT Fee Schedule would be required to institute a user fee for IMREs, as NPRR260 language had already been approved.

Marguerite Wagner moved to table the Impact Assessment for NPRR260 pending the development of an NPRR to include components of user fees and to address related concerns for data confidentiality and compliance with associated Critical Infrastructure Protection (CIP) standards.  Mr. Goff seconded the motion.  Walter Reid expressed concern that a user fee would be onerous.  Market Participants discussed that the current practice of registering as a Congestion Revenue Right (CRR) Account Holder for access to the data could have impacts to bid availability; that there was a desire for individuals and institutions to have access to secure data; and that by registering as IMREs, registrants are attesting that they agree to abide by the ERCOT Protocols.

ERCOT Staff stated that a similar NPRR would be filed by ERCOT should the implementation of NPRR260 not move forward to support decommissioning efforts of the Planning and Operations Information website.  Ms. Wagner recalled discussions that Entities using contractors and consultants did not want to manage the Digital Certificate processes, and expressed concern that universities and other institutions would now also have access to secure data.  Ms. Wagner added that CIP requirements must be met, and expressed concern that IMRE registrants will not be held to the same requirements as Market Participants.  Ms. Walker echoed concerns for security.

John Varnell moved to call for the question.  Clayton Greer seconded the motion.  The motion carried unanimously.

The motion to table the Impact Assessment for NPRR260 pending the development of an NPRR to include components of user fees and to address related concerns for data confidentiality and compliance with associated CIP standards carried with one objection from the Consumer Market Segment.

Other Binding Document (see Key Documents)

Addition of Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints

Ms. Boren noted that a change control process has been added to the document.

Ms. Wagner moved to recommend that the Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints be approved as revised by PRS and added to the Other Binding Documents list.  Mr. Durrwachter seconded the motion.  The motion carried unanimously.

Removal of Generation Interconnection Procedure

Mr. Goff moved to recommend that the Generation Interconnection Procedure be removed from the Other Binding Documents list.  David Detelich seconded the motion.  The motion carried unanimously.

Urgency Votes (see Key Documents)

NPRR442, Energy Offer Curve Requirement for Generation Resources Providing Reliability Must-Run Service

Mr. Greer moved to grant NPRR442 Urgent status.  Mr. Durrwachter seconded the motion.  Mr. Greer noted recent ERCOT Board-approval of NPRR427, Energy Offer Curve Requirements for Generation Resources Assigned Reg-Up and RRS, and NPRR428, Energy Offer Curve Requirements for Generation Resources Assigned Non-Spin Responsibility, which were intended to respond to Public Utility Commission of Texas (PUCT) concerns, and explained that NPRR442 attends to a related issue.  Katie Coleman expressed concern that the issue addressed by NPRR442 was not a PUCT directive.  The motion carried with two abstentions from the Consumer and Municipal Market Segments.

NPRR444, Supplemental Reliability Deployments

Mr. Greer moved to waive notice in order to consider NPRR444 for Urgent status.  Mr. Durrwachter seconded the motion.  Mr. Greer cited ongoing discussions at WMS as reason for granting Urgent status; Mr. Detelich countered that WMS may review NPRR444 at will.  The motion carried with one objection from the Consumer Market Segment, and one abstention from the Municipal Market Segment.

Mr. Greer moved to grant NPRR444 Urgent status.  Randy Jones seconded the motion.  The motion carried with three objections from the Consumer, Investor Owned Utility (IOU), and Municipal Market Segments.

Review PRS Reports, Impact Analyses, and Prioritization (see Key Documents)

NPRR385, Security Violation Analysis and Reporting and Negative Price Floor

PRS took no action on this item.

NPRR394, Outage Reporting

Mr. Durrwachter moved to endorse and forward the 1/19/12 PRS Report and Impact Analysis for NPRR394 to TAC.  Bill Brod seconded the motion.  The motion carried unanimously.

NPRR433, Clarification of Ancillary Service Obligation Calculation Process

Mr. Durrwachter moved to endorse and forward the 1/19/12 PRS Report and Impact Analysis for NPR433 to TAC.  Ms. Walker seconded the motion.  The motion carried unanimously.

System Change Request (SCR) 768, Automatic Non-Spin Redeployment and Deployment Based on Resource Availability

Mr. Anderson reviewed the Impact Analysis for SCR768.

Mr. Greer moved to endorse and forward the 1/19/12 PRS Report and Impact Analysis for SCR768 to TAC with a recommended priority of 2012 and a rank of 680.  Ms. Walker seconded the motion.  The motion carried unanimously.

SCR769, CRRAH Digital Certificate New Role for Read Only Access

Market Participants discussed that creation of read-only role for CRR Account Holders would benefit the market.

Mr. Goff moved to endorse and forward the 1/19/12 PRS Report and Impact Analysis for SCR769 to TAC with a recommended priority of 2012 and a rank of 690.  Mr. Wittmeyer seconded the motion.  The motion carried with one abstention from the IOU Market Segment.

Review of NPRR Language and SCRs (Vote)

NPRR366, Generation Resource Power Factor Criteria Clarification

Market Participants requested that ERCOT Staff schedule a workshop for NPRR366 as soon as possible; that some Market Participants oppose NPRR366 as submitted; and that Reactive Power capability testing procedures are being developed and clarifications are needed.  PRS took no action on this item.

NPRR410, Definition of an Energy Storage Resource

PRS took no action on this item.

NPRR412, Quick Start Generation Resource Compliance Metric Adjustments

Mr. Durrwachter moved to recommend approval of NPRR412 as amended by the 2/10/12 ERCOT comments.  Kim Perry seconded the motion.  The motion carried unanimously.

NPRR416, Removal of the RUC Clawback Charge for Resources Other than RMR Units

PRS took no action on this item.

NPRR425, Creation of a Wind Resource Group for GREDP and Base Point Deviation Evaluation

Brad Schwarz noted that the three principles outlined in the 2/15/12 E.ON comments had been endorsed per the 2/17/12 WMS comments.  Ms. Flores noted that ERCOT is developing alternative language, but is generally in support of the approach contained in the 2/15/12 E.ON comments.

Mr. Goff moved to recommend approval of NPRR425 as amended by the 2/17/12 E.ON comments.  Mr. Schwarz seconded the motion.  Market Participants requested that ERCOT file comments to NPRR425 before review of the Impact Analysis at the March 22, 2012 PRS meeting.  The motion carried with one objection from the IOU Market Segment.

NPRR429, HASL Offset Provision

PRS took no action on this item.

NPRR436, Clarify the Use of the Defined Term Season and Its Derivatives

Mr. Goff opined that changes to the Section 18.7.1.2, Methodology for Load Profiling of Time of Use, are not necessary, as the process is rarely used and will soon be obsolete due to the installation of Advanced Meter Systems (AMS). Ms. Walker noted that the OWG requested that NPRR436 be tabled.

Ms. Walker moved to table NPRR436.  Mr. Durrwachter seconded the motion.  The motion carried unanimously.

NPRR438, Additional Minimum Counter-Party Qualification Requirements, Including Risk Management Capability Requirements

Mr. Goff moved to table NPRR438 and refer the issue to WMS.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM

Mr. Goff moved to recommend approval of NPRR439 as amended by the 2/8/12 ERCOT comments and as revised by PRS.  Mr. Greer seconded the motion.  ERCOT Staff noted that the Market Credit Working Group (MCWG) and Credit Working Group (Credit WG) had reviewed the changes proposed in NPRR439 and will continue to review and discuss the issues.  The motion carried unanimously.

NPRR440, Consideration of Generation Availability in RMR Analyses

Ms. Walker moved to table NPRR440 and refer the issue to the Reliability and Operations Subcommittee (ROS).  Mr. Durrwachter seconded the motion.  The motion carried unanimously.

NPRR441, Revision of Dynamic Rating Recommendation Posting Timeline

Mr. Goff moved to recommend approval of NPRR441 as submitted.  Mr. Walker seconded the motion.  The motion carried with one abstention from the Independent Power Marketer (IPM) Market Segment.

NPRR442, Energy Offer Curve Requirement for Generation Resources Providing Reliability Must-Run Service

Mr. Detelich moved to table NPRR442 and to request that WMS review NPRR442.  Mr. Wittmeyer seconded the motion.  Mr. Detelich observed that time is needed to determine if NPRR442 should be considered as resultant of a PUCT directive and to seek input from the Independent Market Monitor (IMM).  The motion carried with one abstention from the IPM.

NPRR443, Removal of Switchable Generation Resource Plans from Protected Information

Mr. Goff moved to table NPRR443 and refer the issue to ROS and WMS.  Mr. Wittmeyer seconded the motion.  Mr. Goff expressed concern that the potential for improved planning outcomes should be balanced against concerns for the disclosure of confidential information.  ERCOT Staff was sympathetic to confidentiality concerns; noted reliability needs for use of the information provided in availability plans in planning models; and noted that it is not proposed that the information be posted to the MIS.  Mr. R. Jones observed equivalencies to Private Use Networks (PUNs), which are exempted from many public disclosure requirements, and suggested that a similar approach be considered for Switchable Generation Resource Plans.  The motion carried unanimously.

NPRR444

Mr. Greer moved to table NPRR444 and refer the issue to WMS.  Mr. Goff seconded the motion.  The motion carried unanimously.

SCR770, Revision to Outage Scheduler Entry for Resource Maintenance Outage Level Designation

Mr. Durrwachter moved to recommend approval of SCR770 as submitted.  Ms. J. Bevill seconded the motion.  The motion carried with one abstention from the IPM Market Segment.

SCR771, ERCOT System Change Allowing Independent Master QSE to Represent Split Generation Resources

Mr. Durrwachter moved to recommend approval of SCR771 as submitted.  Mr. Varnell seconded the motion.  The motion carried unanimously.

Other Business

Mr. Burke noted that ERCOT Staff would present antitrust training at the March 22, 2012 PRS meeting.

Adjournment

Mr. Burke adjourned the February 23, 2012 PRS meeting at 11:37 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2012/02/20120223-PRS