NUC-001-2 Discussion

NRWG, 30 March 2012

- Purpose of NUC-001-2

- Applicability is for

  - NPGOPs

  - Transmission Entities

- Transmission entities are the entities that are responsible for providing services related to NPIRs.  List of possible entities is shown in the standard.

- NPIR: Nuclear Plant Interface Requirements

The requirements based on NPLRs and Bulk Electric System requirements that have been mutually agreed to by the Nuclear Plant Generator Operator and the applicable Transmission Entities.

- NPLR: Nuclear Plant Licensing Requirements

Requirements included in the design basis of the nuclear plant and statutorily mandated for the operation of the plant, including nuclear power plant licensing requirements for:

1) Off-site power supply to enable safe shutdown of the plant during an electric system or plant event; and

2) Avoiding preventable challenges to nuclear safety as a result of an electric system disturbance, transient, or condition.

- Compliance

  - ERCOT’s agreements

  - How do entities show compliance for NPIRs that they don’t have responsibility for?

    - Recent audit of an entity – told by TRE during exit presentation that the entity would have to show evidence that they do not have obligations for the NPIRs (at next audit)

  - How should entities show compliance if they are not responsible for providing any services related to NPIRs?