METF Questions for Vendors and ISO’s

Background:

Current ERCOT Energy Market

- ERCOT is an Energy Only Market i.e. no Capacity Market.

- The Real-Time Market is a single interval dispatch of current total generation (plus 5 minute ramp of load).

- There is high wind variability that is difficult to forecast.

These are SOME of the issues present in the current Nodal Real-Time Market that METF is tasked to provide guidance on:

- Commitment of short notice (intra – hour) Resources (e.g. quick start resources) in Real-Time Market.

- Integrate Demand Response Resources in Real-Time Market

- Integrate Energy Storage Resources in Real-Time Market

- Improve Wind forecasting tool to provide forecasts at 5 minute granularity for the next 1 to 2 hours

- Co-Optimize Ancillary Service and Energy in Real-Time Market

Questions for ISOs:

ISOs (NYISO, ISO-NE, PJM, MISO, CAISO):

- What other goals are the ISO’s striving to address or have addressed apart from the above 5?

- Is there any make whole due to commitment and is there any statistics that demonstrate that overall costs (including make whole) have reduced in comparison to not having a look-ahead commitment?

- How is the make whole charge allocated?

- What makes up the make whole – startup and mingen only or is there a make whole for the energy component too?

- Is the make whole charge a separate line item or bundled with other? If bundled , what is the reason?

- What problems/challenges have they experienced with look-ahead commitment? How did they resolve them?

- How are the interactions of self-commitments with the commitments from Look-Ahead Commitment impacting the market and make whole payments? How does the ISO manage this?

Questions /Presentation Suggestions:

- A brief review of the evolution of Real-Time market to the current state

  - Improving commitment of short notice (intra-hour) Resources

  - single–interval dispatch to multi-interval dispatch

  - integration of demand response

  - integration of storage resources,

  - AS and energy co-optimization.

- What are your future plans for the Real-Time market

  - New products to integrate battery storage – fast acting regulation?

  - Developments in Demand Response, Aggregated Retail Load in Wholesale Markets with AMI, Modeling passive load response in Real-Time markets

- What is the framework of latest Real-Time Markets

  - Real-Time Dispatch Features

    - Mixed Integer Programming (MIP) or Linear Programming (LP) or?

    - Is it a single interval (how many minutes)

    - Is it multi interval (how many intervals and what is the length of each interval in minutes)

    - Is there AS co-optimization with energy?

      - If so, Which Ancillary services are co-optimized?

      - How do you communicate the AS awards? Do you get acknowledgements of the receipts of the AS awards?

    - How far in advance of the first interval (binding) does the Real-Time dispatch execute?

    - What is the periodicity of the Real-Time dispatch application (every 5 minutes)?

    - Is regulation deployed on a individual Resource level by Load Frequency Control (AGC)?

    - How accurate is the wind forecast? How have you managed inaccuracies in wind forecast as it affects the Real-Time dispatch.

    - What are, if any, Make whole settlements associated with a multi-interval dispatch?

  - Real-Time Commitment Features

    - What features or ongoing activity is there to minimize make-whole payments for Start-Up and Minimum Energy by incorporating these costs into the energy prices (LMP)?

    - Mixed Integer Programming (MIP) or Linear Programming (LP) or?

    - How many intervals are analyzed in each execution? (how many intervals and what is the length of each interval in minutes)

    - Are commitment instructions the only output as far as short notice (intra-hour) Generation Resources are concerned?

    - Are block-energy Resources (Load Resources that operate ON/OFF) committed by this application?

    - Are temporal constraints modeled in the optimization or addressed in pre and/or post processing

    - Is there AS co-optimization with energy?

      - If so, Which Ancillary services are co-optimized?

      - How do you communicate the AS awards? Do you get acknowledgements of the receipts of the AS awards?

    - How far in advance of the first interval does the Real-Time commitment execute?

    - What is the periodicity of the Real-Time commitment application (every 15 minutes)?

- Please provide any other thoughts on the complexity and benefits of “Look-Ahead SCED” functionalities.

- Please provide any other advice or demonstration.

- Note that the presentations and information provided will be made available to the public.  METF meetings are open meetings and are broadcasted through WEBEX.