## Slide 1: Reliability and Operations Subcommittee Report
4/5/2012

## Slide 2: Planning Guide and Nodal Operating Guides
ROS Recommendation for Approval (unopposed):
PGRR015, New Section 3, Regional Planning
PGRR016, Planning Reserve Margin Review
NOGRR084, Daily Grid Operations Summary Report
  0.25 FTE (0, if NPRR393 is approved by BOD - April)
  $300k - $500K
  2012 Priority / 680 Rank
NOGRR088, Synchronization with NPR424, Reactive Capability Testing Requirements for IRRs
NOGRR090, Change in Entity Responsible for Reporting Participation in Severe Weather Drills

## Slide 3: Status Update on SCR760 Changes Needed for Information Model Manager and Topology Processor for Planning Models
SCR Sub Part | SCR Description | Bundle | Status
SCR760-3 | Zero Impedance Line Ratings | 1 | Production
SCR760-7 | Assign valid PSSE IDs to Breakers/Switches/ Series Devices |  | Production
SCR760-8 | Phase shift of Autos for short circuit studies |  | Production
SCR760-2 | Distribution Capacitor banks | 2 | Production
SCR760-4 | Associate Loads and Capacitor banks with the correct CNG |  | Production
SCR760-9 | Multi-section Line Grouping |  | Production
SCR760-1 | Upgrade to PSS/E v32 | 4 | Planning
SCR760-6 | FACTS Devices |  | Planning
ERCOT and TSPs have identified new fields or records added between version 33 and version 30 of the PSS/E RAWD format. The evaluation process for Item 1 has been added to the SSWG Procedure Manual currently being updated. Planned for production early 2013. |  |  | 
SCR760-5 | Additional Transformer Data for Planning | 3 | Planning
Requirements completed by ERCOT and TSPs and agreed upon with vendor. Awaiting vendor estimate on cost for implementation so that SOW can be prepared. Planned for production prior to DSB. |  |  |