## Slide 1: PDCWG Report to ROS
David Kee
CPS Energy

## Slide 2: April 4th meeting
16 members attended representing 11 companies, ERCOT, TRE & PUC.
Duct burner review
  Established requirements for event analysis
  Additional telemetry may be required
ERS changes
  Possible reliability impact, further study needed
Reviewed 3 frequency disturbance events
  Begun review of wind resource PFR
ERCOT control performance
  Regulation performance review begun.
  Modified data set requirements to evaluate performance
Control metrics
  Frequency distribution change continues (slide 11)
  Distribution changes may warrant new metric

## Slide 16: Actions
Duct burner review – identify resources with duct burners in service during events
Add MW/.10HZ values back to control metrics report
Review regulation deviation when deployed
Review regulation deployment performance
Review/adjust time constants in LFC for ERCOT deployment
Telemetered frequency target proposal to ROS from PDCWG

## Slide 17: Questions?
?