2012 Five-Year Transmission Plan Study Scope and Process

- Five-Year Transmission Plan Goals

  - Identify projects to meet needs for ERCOT Operating Guide Section 5 and NERC TPL-001, TPL-002, TPL-003 and TPL-004 Reliability Standards in the years 2013, 2015 and 2017

  - Identify projects that meet the ERCOT economic criteria in the years 2015 and 2017

  - Projects identified will be based on a consensus between ERCOT Planning and the Transmission Planners (TP) with input from other market participants

  - Projects identified in the Five-Year Transmission Plan will normally be included in the 2013 SSWG Data Set B cases

  - Improve communication and understanding of transmission project additions among market participants

- Assumptions

  - Transmission Topology

    - The SSWG 2012 Data Set B 2013-2017 summer peak base cases, which include the CREZ projects will serve as the starting point for the study

    - All projects that require RPG review (Tier 1, 2 and 3 projects) but have not received it will be removed from the cases

    - Dynamic ratings will be used for the economic portion of the analysis, but will not be used for the reliability portion

    - Transmission outages scheduled for July or August in the years 2013 through 2017 will be included in the analysis

  - Generation

    - All existing generation plants and units with a signed generation interconnection agreement by the start of the analysis will be used in the study with the below exceptions

        - If needed to meet the load and reserve requirements, mothballed units will be placed in-service in the reliability analysis per the SSWG Procedure Manual Section 4.3.3.

        - All hydro-electric units will be turned off for all studies

        - Wind plants will be dispatched at the SSWG base case levels for the reliability analysis except as noted below

        - Wind plants will be dispatched according to AWS Truepower profiles selected for each plant for the economic analysis

        - ERCOT will check the output of DFW area units that do not have SCRs in the final cases to ensure that they do not exceed their NOx emission restrictions

    - The following fuel price related assumptions will be used:

        - Wind production cost  = $0/ MWh

        - No carbon tax

        - The natural gas price will be reevaluated prior to beginning the economic analysis

  - Load

    - The load will be evaluated by weather zone.  The higher of 1. the aggregated weather zone load in the SSWG base cases or 2. the ERCOT weather zone load forecast will be used for the reliability portion of the analysis. In addition, if there is not sufficient generation to meet the load and reserve requirements, the base cases may be the split into multiple study regions, defined by combinations of weather zones. For each region studied, the corresponding weather zone demand will be set to the higher of the either the SSWG or ERCOT econometric demand forecast.  For the weather zone outside the study area the demand will be set to the ERCOT econometric forecast.

    - The ERCOT load forecast plus self-serve load will be used for the economic portion of the analysis

    - ERCOT will identify “Flat” load by examining the eight 2012 Data Set A seasonal cases.  Any loads that of the eight seasonal loads have a maximum load value to minimum load value of 1.3 or lower will be considered Flat.  Flat loads will be extracted from the weather zone load and will not vary on an hourly basis in the economic portion of the analysis.  All self-serve loads will be included in the Flat load.

  - The latest SSWG ERCOT contingency list will be used

    - Pre-contingency conditions will be studied

    - The following post-contingency conditions will be studied for all cases:

      - Single transmission line or transformer (60 kV and above) – including breaker to breaker contingencies

      - Two circuits sharing towers for 0.5 miles or more

      - Single generation unit

      - Single generation unit plus any contingency listed in 2.4.2.1 and 2.4.2.2

    - The following post-contingency conditions will be studied for 2015:

      - Loss of a single transmission element (voltage 100 kV or above) with system redispatch/adjustments plus loss of a single transmission element (voltage 100 kV or above)

      - All other NERC Category C and D contingencies included in the SSWG contingency file

  - The following limits will be enforced in the reliability analysis:

    - Rate A under pre-contingency conditions for 60 kV and above transmission lines and transformers with a low side voltage of 60 kV and above

    - Rate B under post-contingency conditions for 60 kV and above transmission lines and transformers with a low side voltage of 60 kV and above

    - 0.95 pu voltage under pre-contingency conditions for 100 kV and above transmission lines and transformers with a low side voltage of 100 kV and

above in the 2013, 2015 and 2017 cases

    - 0.90 pu voltage under post-contingency conditions for 100 kV and above transmission lines and transformers with a low side voltage of 100 kV and above in the 2013, 2015 and 2017 cases

    - It will be noted in the report that Transmission Planner organizations may have different rating or voltage limit criteria than specified above.  ERCOT will use the above limits in the Five-Year Transmission Plan; however, Transmission Planners may apply different limits during their studies.

- Method of Study

  - Condition the SSWG base case topology

    - Identify all the RPG projects submitted by the TO’s in the Model on Demand (MOD) Project Model Change Request (PMCR) in creating the SSWG base cases and remove all projects that require RPG review but have not yet received it and create the condition case for 5YTP using MOD.

  - Reliability Analysis

    - Perform Powerworld SCOPF or TARA redispatch to identify unresolvable constraints in the 2017 conditioned case. Work with TPs to find projects to solve the constraints

    - Run generation outage analysis on the 2017 case to screen for generator unit outages that may cause unresolvable constraints.  Create Powerworld or TARA case for each generator identified in the screening with that generator placed out of service.  Work with TOs to find projects to solve the constraints

      - A low-wind scenario will be run to ensure the system is reliable if the peak load occurs on a low-wind hour

      - A scenario will be run will all DFW area units that do not have SCRs removed from service

    - Once all reliability projects have been identified (no more unresolvable constraints) perform one by one back out of projects to determine if each project is needed

    - Repeat the above process for 2013 and 2015

  - Stability Analysis

    - Use identified IROLs as interface limits in the cases

  - Economic Analysis

    - Import the final reliability case for 2015 and 2017 into UPLAN as the starting economic case.  Start the analysis with the 2017 case.  Update the load to the ERCOT forecast plus self-serve load.  Add dynamic ratings to transmission lines

    - Organize congestion in each case by rank and shadow price.  Work with TPs to develop projects to solve the highest congested elements

    - Once economic projects to solve highest congested elements have been identified perform one by one back out of projects to determine if each project is still economically justified. Repeat the above process for each previous year

    - Create an AC case for the peak load hour of the year with all identified reliability and economic projects.  Perform contingency analysis to verify case is secure

  - NERC Requirements

    - Compile data to adequately document Five-Year Transmission Plan for NERC Reliability Standards.

- Deliverables

  - A final report with documentation of reliability and economic projects is targeted to be completed by 12/21/2012

    - The report will include an explanation of congestion causes and congestion solutions that were tested but determined to be not economic

    - A draft report for review is targeted to be issued by 11/16/2012

  - Post intermediate cases and binding constraints and proposed reliability and economic projects as they become available.  AC cases modeling the problems will be provided to TPs upon request.

  - Steady-State AC base cases at yearly peak that include all reliability projects for each case (SCED) will be posted

  - Steady-State AC base cases at yearly peak that include all reliability and economic projects for each case (SCED) will be posted

  - A final congestion table will be posted for each study year.

  - The results of the analysis of any projects identified for 2013 that, after consultation with the appropriate TPs, are likely not to be in-service by the summer peak of 2013, will be forwarded to ERCOT Operations for possible Remedial Action Plan (RAP), Mitigation Plan (MP), or Special Protection System (SPS) development