| NPRR Number | 393 | NPRR Title | SCED Constraint Management Transparency |
| --- | --- | --- | --- |
| Date |  | April 16, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Eric Goff on behalf of the Wholesale Market Subcommittee (WMS) |  |
| E-mail Address |  | egoff@reliant.com |  |
| Company |  | Reliant Energy Retail Services, LLC |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-284-4908 |  |
| Market Segment |  | Not applicable |  |

Comments

At its April 11, 2012 meeting, WMS reviewed Nodal Protocol Revision Request (NPRR) 393.  After discussion, WMS unanimously voted to recommend that the following reason codes be used for the inactivation of constraints in the security violation reports required pursuant to NPRR393:

- Special Protection System (SPS);

- Remedial Action Plan (RAP);

- Temporary Outage Action Plan (TOAP);

- Mitigation Plan;

- No minimum Shift Factor;

- Dual binding constraints;

- Supervisory Control and Data Acquisition (SCADA) error;

- Management of an Energy Emergency Alert (EEA) event;

- Modeling error;

- Line ratings; and

- Other.

WMS also recommends that additional clarification be sought on the relationship between Mitigation Plans and Shift Factors.

Because these comments propose no revisions to the Protocol language, WMS recommends that NPRR393 remain on the Consent Agenda for the April 17, 2012 ERCOT Board meeting.

Revised Proposed Protocol Language

None.