| NPRR Number | 425 | NPRR Title | Creation of a WGR Group for GREDP and Base Point Deviation Evaluation |
| --- | --- | --- | --- |
| Date |  | April 16, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Michael Juricek |  |
| E-mail Address |  | michael.juricek@oncor.com |  |
| Company |  | Oncor Electric Delivery |  |
| Phone Number |  | 214.743.6671 |  |
| Cell Number |  | 214.490.0748 |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

Oncor supports the wind generators’ desire to improve the efficiency in modeling the WGRs in ERCOT’s commercial systems.  We have concerns similar to ERCOT’s concerns about the level of detail of the models used in Real-Time operations and off-line studies performed by ERCOT staff and the TSPs.  ERCOT’s use of TSAT and VSAT to manage west to north transfers requires WGR models with enough detail to produce reliable results.  The models must also be detailed enough to meet the modeling and study required as defined in the NERC standards.

Revised Cover Page Language

No language changes are proposed at this time.

Revised Proposed Protocol Language

No language changes are proposed at this time.