## Slide 1: NPRR 425 Compliance Concerns
30 APRIL 2012
JC Culberson
Manager – Standards, Compliance and Registration

## Slide 2: NPRR 425 – Compliance Concerns: NERC Standards
NPRR 425 Workshop
04/30/2012
TOP-0022.1b: Normal Operations Planning
R19. Each Balancing Authority and Transmission Operator shall maintain accurate computer models utilized for analyzing and planning system operations.
IRO-010-1a: Reliability Coordinator Data Specification and Collection
R1. The Reliability Coordinator shall have a documented specification for data and information to build and maintain models to support Real-time monitoring, Operational Planning Analyses, and Real-time Assessments of its Reliability Coordinator Area to prevent instability, uncontrolled separation, and cascading outages. The specification shall include the following:
R1.1. List of required data and information needed by the Reliability Coordinator to support Real-Time Monitoring, Operational Planning Analyses, and Real-Time Assessments.
R3. Each Balancing Authority, Generator Owner, Generator Operator, Interchange Authority, Load-serving Entity, Reliability Coordinator, Transmission Operator, and Transmission Owner shall provide data and information, as specified, to the Reliability Coordinator(s) with which it has a reliability relationship.

## Slide 3: NPRR 425 – Compliance Concerns: Operating Guides
NPRR 425 Workshop
04/30/2012
ERCOT Operating Guides 5.1 - System Modeling Information
(d) Each Generation Resource, or its Designated Agent, shall provide accurate modeling information for each existing or publicly-announced Generation Resource for which it is the majority owner. The information provided shall include, but not be limited to, the following:
  (i) Information necessary to represent the Generation Resource’s generation and interconnection facilities in any model of the ERCOT System whose creation has been approved by ERCOT, including modeling information detailed in procedures of the SSWG, DWG, and SPWG;
This is ERCOT ISO’s documented specification for data and information to build and maintain models, as detailed in IRO-010-1a

## Slide 4: NPRR 425 – Compliance Concerns:
NPRR 425 Workshop
04/30/2012
NERC Bulk Electric System Definition
Bulk Electric System (BES): Unless modified by the lists shown below, all Transmission Elements operated at 100 kV or higher and Real Power and Reactive Power resources connected at 100 kV or higher. This does not include facilities used in the local distribution of electric energy.
  Inclusions:
  • I2 - Generating resource(s) with gross individual nameplate rating greater than 20 MVA or gross plant/facility aggregate nameplate rating greater than 75 MVA including the generator terminals through the high-side of the step-up transformer(s) connected at a voltage of 100 kV or above.

## Slide 5: NPRR 425 – Compliance Concerns
NPRR 425 Workshop
04/30/2012
Regulatory Concerns
TEXAS RE has sent notification that these concerns are valid and accurate.
  This increases the risk of exposure to immediate findings of noncompliance and potential self reporting situations.

## Slide 6
Questions