| NPRR Number | 425 | NPRR Title | Creation of a WGR Group for GREDP and Base Point Deviation Evaluation |
| --- | --- | --- | --- |
| Date |  | February 15, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brad Schwarz |  |
| E-mail Address |  | bradley.schwarz@eon.com |  |
| Company |  | E.ON Climate & Renewables North America, LLC |  |
| Phone Number |  | 512-482-4003 |  |
| Cell Number |  | 512-289-7425 |  |
| Market Segment |  | Independent Generator |  |

Comments

E.ON Climate & Renewables North America, LLC (ECRNA) appreciates the opportunity to comment on this NPRR and ECRNA believes that three principles should be maintained or achieved by the NPRR.

- WGRs should not be required to register and operate multiple units solely from the use of multiple step-up transformers.  Multiple step-up transformers give flexibility to WGRs and allow WGRs achieve greater availability for the market.

- WGRs should not be required to register and operate multiple units from swapping out turbines or using turbines that have similar, if not exact characteristics, as long as it causes no material error in studies.

- WGRs should not be required to register and operate multiple units due to testing new technologies by installing a de minimis number of turbines that may have different characteristics from the majority of turbines in the unit.

Revised Proposed Protocol Language

None at this time.