NPGRTF Report to ROS

May 10, 2012

The Nodal Protocol and Guides Resolution Task Force (NPGRTF) meet on April 17, 2012.

On April 17th, the NPGRTF met for its regularly scheduled meeting. During the meeting the following items were discussed:

- ROS approved continuance of task force through Nov 2012

- The group reviewed draft NOGRR for Protection System Changes for Consistency with NERC Standards. NOGRR requires more work, will carry over to the next meeting

- The group reviewed Texas Reliability Entity Regional Criteria Procedure for Analysis, Mitigation and Reporting of Transmission and Generation Protection System Misoperations NERC Reliability Standards PRC-004-2a, PRC-016-0.1, and PRC-022-1. Andy Gallo will attempt to modify the Texas RE Procedure on the reporting process of both the Operation/Misoperation reports.

The group reviewed draft NOGRR on Minimum RRS Obligations, discussion around the additional 500 mw of RRS added to the 2300 MW RRS. Action:  ERCOT will come back with suggested language change to the ERCOT Methodologies for Determining Ancillary Service Requirements, section on RRS. No suggested changes to the Operating Guide at this time.

- The group also reviewed Task List Assignments.

  - Matt – FAC-009 Ratings must be reported to whom? Follow up with JC?

  - Small Group (Dylan, Jeff and Matt – PRC-004, PRC-005. Report on any issues found.

  - Jeff – TOP-002 Report on any issues found.

  - Frank – PRC-018 Report on any issues found.

  - Group – EOP-003 and OG 4.5.3.3 Load Shed Obligations? Follow up on NOGRR.

  - Matt & Pam – EOP-002 and NP 6.5.9.4 OG 4.5.3.3 compare for possibly conflicts with EEA implemtation.

  - Laura & Andy – Power Watch, Power Warning and Power Emergency as they are related to EEA?

  - Frank – Clarify Facilities as defined in the Protocols and the NERC Terms.

Next NPGRTF meeting – May 17, 2012 from 9:30 – 3:30 at the ERCOT Met Center room 168.