| NOGRR Number | 094 | NOGRR Title | Administrative Changes for June 1, 2012 Nodal Operating Guides |
| --- | --- | --- | --- |
| Date Posted | May 2, 2012 |
| Status | Administrative Change |

| Nodal Operating Guide Section Requiring Revision | 4.5.3.4, Load Shed Obligation |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Revision Description | This Administrative Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2012. |
| Reason for Revision | Administrative change to update the ERCOT Load Shed Table as allowed by Section 1.3, Process for Operating Guide Revision. |
| Overall Market Benefit | Market Participants benefit from up to date information. |
| Overall Market Impact | None. |
| Consumer Impact | None. |

| Business Case |
| --- |
| Business Case | 1 | Market Participants benefit from up to date information. |

| Sponsor |
| --- |
| Name | Leo Villanueva |
| E-mail Address | evillanueva@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3135 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |
| --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

4.5.3.4	Load Shed Obligation

Obligation for Load shed is by DSP.  Load shedding obligations need to be represented by an Entity with 24x7 operations and Hotline communications with ERCOT and control over breakers.  Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.  (Use TOs as list of Entities)

ERCOT Load Shed Table

| Transmission Operator | 2011 Total Transmission Operator Load (MW) |
| --- | --- |
| American Electric Power | 8.61 |
| Austin Energy | 3.92 |
| Brazos Electric Power Cooperative | 4.83 |
| CenterPoint Energy | 24.36 |
| City of Bryan | 0.79 |
| City of Denton | 0.52 |
| City of Garland | 1.00 |
| CPS Energy | 7.07 |
| Greenville Electric Utility Service | 0.17 |
| Lower Colorado River Authority | 5.41 |
| Oncor | 37.50 |
| Public Utility Board of Brownsville | 0.40 |
| Rayburn Country Electric Cooperative | 1.17 |
| South Texas Electric Coop | 1.83 |
| Texas New Mexico Power | 2.42 |
| ERCOT Total | 100.00 |