- Section 3:

NPRR434 - Increase the Capacity Limitation of a Generation Resource Providing RRS

- This Nodal Protocol Revision Request (NPRR) increases the amount of Responsive Reserve (RRS) that can be supplied by a Generation Resource to 24%.

- Revised Subsections:  3.16, 3.18 [unboxed due to system implementation]