| NOGRR Number |  | NOGRR Title | Clarification of Minimum RRS Obligation |
| --- | --- | --- | --- |
| Date Posted |  |  |  |

| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 2.3.1.1, Obligation |
| Protocol Section(s) Requiring Revision (If applicable) | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) adds clarifying language affirming that the minimum RRS obligation remains unchanged (2300 MW) but that additional Responsive Reserve Service (RRS) may be procured. |
| Reason for Revision | The Other Binding Document, “ERCOT Methodologies for Determining Ancillary Service Requirements”, was recently revised (effective date 1 April 2012) and describes a process that may be used to procure additional Responsive Reserve Service (RRS). The minimum RRS obligation, however, was not changed. This NOGRR adds clarifying language to section 2.3.1.1. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | This NOGRR will help eliminate confusion regarding the minimum RRS obligation. The clarifying language is generic so that if the RRS process described in the Ancillary Service document is modified in the future, the Operating Guides may not need to be modified. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of NPGRTF |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

- 2.3.1.1	Obligation

ERCOT operating reserve requirements are more restrictive than North American Electric Reliability Corporation (NERC) Reliability Standards.  The RRS obligation is a minimum of 2300 MW.  The amount of RRS procured may be adjusted as described in ERCOT Methodologies for Determining Ancillary Service Requirements or if ERCOT ISO determines a reliability need for additional Ancillary Service Resources.