Attendance:

Matt Stout – ERCOT, 	Curtis Crews – Texas RE, 	David Penney – Texas RE,

Andrew Gallo – AE,		Dylan Preas – LCRA, 	Alan Bern – ONCOR,

Rick Keetch – Reliant,	Jeff Sims – CPS,		Frank Owens – TMPA,

Yvette Landin – ERCOT, 	Brenda Hampton – Luminant, Bill Blevins - ERCOT

- ROS approved continuance of task force through Nov 2012

- Texas RE’s procedure under compliance, data Texas Reliability Entity

Regional Criteria Procedure for Analysis, Mitigation and Reporting of Transmission and Generation Protection System Misoperations

NERC Reliability Standards

PRC-004-2a, PRC-016-0.1, and PRC-022-1

- Discussion on PRC-004 procedure adopted by Texas RE.

  - Luminant has some issues with what was drafted. She would like to discuss it further with David Penney.

  - David: Sudden pressure relays are included and failures to reclose are covered by Texas RE procedure. Those are not covered by NERC Standards.

  - Brenda: So, this increases the definition of “Protection System” per the NERC Standards.

  - David: Texas RE submits misops reports to NERC 45 days after receiving them. Texas RE pulls out the sudden pressure relays and failures to reclose before providing the data to NERC.

  - Brenda: Correct, but we’re concerned that NERC would audit us to the Texas RE procedure (and broadened definition of Protection System).

  - David: There’s a CAN specifically excluding sudden pressure relays from the NERC Standards.

  - Gallo: Is there some way Texas RE could re-write the procedure to make it clear that some parts of the procedure apply to ERCOT Op Guides and some apply to NERC Standard.

  - David: There are analysis and corrective action plan requirements. Language is pulled straight from PRC-004-3.

  - FERC Order 758 – read it.

Action Items:

- Matt Stout will work with internal process on a draft for NPRR434

- Andy Gallo will attempt to modify the Texas RE Procedure on the reporting process of both the Operation/Misoperation reports

- Yvette/Matt will work with determining ERCOT/Texas RE’s true needs for the reports

- Update the Nodal Op Guide Revision Request (group).

- Any urgent submittal (Frank).

Per ERCOT Operating Guides

Red = included in NOGRR

SPS Operation

SPS Mis-Operation/Failures

Report to ERCOT monthly

ERCOT consolidates and sends  to Texas RE monthly

Notify ERCOT immediately

Report to ERCOT monthly

ERCOT performs analysis

ERCOT creates Plan, if necessary

Report to ERCOT , as requested (3)

Report to NERC, as requested

ERCOT performs analysis

Prot. Relay Mis-Operations

Report to NERC, as requested

Report to NERC, as requested (3)

ERCOT consolidates and sends  to Texas RE monthly

Report to Texas RE quarterly

Report to Texas RE

Reviewed Draft NOGRR Minimum RRS Obligation:

- Discussions on additional 500 mw of RRS from Jimmy (ERCOT) on how it will affect the 2300mw of PRC? Is it an addition to or count against?

- RRS Issues

  - An additional 500MW off RRS has been added to the 2300 MW RRS requirement.

Action:  ERCOT will come back with suggested language change to the ERCOT Methodologies for Determining Ancillary Service Requirements, section on RRS. No suggested changes to the Operating Guide at this time.

Reviewed Task List Assignments:

- Matt – FAC-009 Ratings must be reported to whom? Follow up with JC?

- Small Group (Dylan, Jeff and Matt – PRC-004, PRC-005. Report on any issues found.

- Jeff – TOP-002 Report on any issues found.

- Frank – PRC-018 Report on any issues found.

- Group – EOP-003 and OG 4.5.3.3 Load Shed Obligations? Follow up on NOGRR.

- Matt & Pam – EOP-002 and NP 6.5.9.4 OG 4.5.3.3 compare for possibly conflicts with EEA implemtation.

- Laura & Andy – Power Watch, Power Warning and Power Emergency as they are related to EEA?

- Frank – Clarify Facilities as defined in the Protocols and the NERC Terms.

Next Meeting Date: May 17th from 9:30 – 3:30 at ERCOT Met Center Room 168.