## Instructions
ERCOT Confidential
| BLTRF V5.0 | 2012-05-10
ERCOT Block Load Transfer Registration Form (BLTRF)
"Network Model / Data Aggregation / Settlements"
A BLTRF should be submitted for each transmission or distribution scheme that can be used to implement a Block Load Transfer.
The BLTRF has been provided for ERCOT Transmission Service Providers to properly register and submit data needed to acknowledge the capability to transfer load from or to non-ERCOT Control Areas in accordance with Section 6.5.9.5, Block Load Transfer between ERCOT and Non-ERCOT Control. The ERCOT Control Area TSP or DSP associated with the BLT Point has the responsibility for registering the BLT and the creation and maintenance of BLT Resource IDs for Settlement purposes.
BLT Registration may take two iterations depending whether the BLT will be required for the Network Operations Model. The TSP is welcomed to discuss circumstances in advance before submitting the initial information. Step 1 provides basic information on the BLT for which ERCOT will review for possible inclusion in the Network Operations Model. ERCOT will return the findings and recommendation. If the BLT will not be set up in the Network Operations Model then the process can be concluded with Step 1.
Please keep in mind the following as you complete this form:
STEP 1: | Initial BLT Registration for ERCOT Review
1. | Complete General information and BLT Information tabs .
2. | Provide one-line diagrams for applicable stations with proposed BLTs.
3. | This information is needed to evaluate BLT for requirements in Network Operations Model.
STEP 2: | Operational BLT Registration - If Required
1. | Complete remaining Load Data, Breaker_Switch Data, Line Data, Series Device Data tabs as applicable.
2. | This information will be used to set up the BLT in Network Operations Model.
GENERAL INSTRUCTIONS
1. | The BLT Registration Form is formatted to register up to 8 BLT systems. Please use additional forms to complete more than 8.
2. | After completion of this form, please submit electronically attached to a SERVICE REQUEST through ERCOT Market Information System (MIS) LINK. See explanation below for submitting form through MIS. See the MP User Security Administrator to obtain a digital certificate.
3. | Submitted BLT Registration Forms are to be used to make revisions as needed.
INSTRUCTIONS FOR SUBMITTING BLTRF THROUGH ERCOT MIS LINK: |  |  | ERCOT MIS SECURE
1. | ERCOT requests the TSP Entity attach the BLTRF to a Service Request through ERCOT MIS Link by the Primary or Secondary
Authorized Representative of the TSP Entity.
2. | Access to ERCOT MIS requires a user digital certificate with minimal role that allows access to "Create Service Request" on the
"Applications" page. The "user digital certificate" is authorized by the Market Participant's User Security Administrator.
3. | Upon accessing MIS go to the "Applications" page and select "Service Request". Be advised that the Service Request
will display in a new window as a pop-up, which may be impacted by user's browser settings.
4. | Complete the required fields on the "Service Request" screen (annotated by red asterisk).
The following Request Type and Sub-Type are essential to proper submittal.
Request Type: Select "MP Registration" from the drop-down list
Request Sub-Type: Select "Resource/Asset Registration" from the drop-down list
Short Description: Complete with a descriptive subject
Long Description: Complete with additional details if needed
Click "Submit" (you will add the BLTRF (XLS) file on the next screen)
From the "Activities and Attachments" screen
Click "Add" under the Attachments heading of the Service Request
Select "Browse" icon and find the completed BLTRF file on your computer
Click "Submit" (comments are optional)
If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or
email Wholesale Client Services at ClientServices@ercot.com with the subject "Block Load Transfer Registration Form".
ALTERNATIVE Submittal Process: If MIS access is not possible this form may be submitted to ERCOT as follows: After completion of this form, please submit electronically to MPAPPL@ERCOT.COM, signature page may be sent in "PDF" format Revisions to this document shall be approved by ERCOT.
LINK

## General Information
ERCOT Confidential
General Information - Transmission Service Provider and/or Distribution Service Provider Entities
This worksheet tab contains information on the TSP or DSP Entity responsible for registering the BLT.
STEP 1 | If applicable for Settlement Regisration purposes, ERCOT may share the information on this form with applicable RE and/or LSE registering for the applicable BLT settlement.
This submittal is for:
Network Modeling Status
Submittal Information
Date Form Completed:
TSP/DSP Entity Submitting Form:
TSP/DSP Entity DUNS #: | 0
Resource Entity Authorized Representative (as registered with ERCOT) - NOT NEEDED
Signature: | NOT NEEDED
Printed Name: | NOT NEEDED
Title: | NOT NEEDED
Phone Number: | NOT NEEDED
E-mail Address: | NOT NEEDED
Fax Number: | NOT NEEDED
Primary Contact (name of person ERCOT can contact with questions regarding this form)
Printed Name:
Title:
Phone Number:
E-mail Address:
Secondary Contact (optional)
Printed Name:
Title:
Phone Number:
E-mail Address:
Comments
General Information - ALL
Site Information - GEN CC WIND
Unit Info - GEN
Unit Info - CC
Unit Info - WIND
Resource Parameters - GEN
Resource Parameters - CC
Resource Parameters - CC CFG
Resource Parameters - WIND
Operational Resource Parameters - GEN
Operational Resource Parameters - CC CFG
Operational Resource Parameters - WIND
Reactive Capability - GEN
Reactive Capability - CC
Reactive Capability - WIND
Ownership - GEN
Ownership - CC
Ownership - WIND
Configurations - CC1
Transitions - CC1
Configurations - CC2
Transitions - CC2
Configurations - CC3
Transitions - CC3
Planning - GEN
Planning - CC
Planning - WIND
Protection - GEN
Protection - CC
Protection - WIND
Subsynchronous Resonance - GEN
Subsynchronous Resonance - CC
Private Network - PUN
Line Data
Breaker_Switch Data
Capacitor and Reactor Data
Transformer Data
Static_Var_Compensator Data
Series Device Data
Load Data
PUN_LOAD
One Line
Note on A11: This is the registered name of the TSP/DSP Entity registered with ERCOT.

## BLT Information
ERCOT Confidential
Block Load Transfer Information
This worksheet tab contains general BLT site-specific information.
| The necessary Market Participant registration, agreements, metering, and ERCOT Settlement systems, as applicable, must be in place before implementation of any BLT. At its sole discretion, ERCOT may exclude a BLT of ten MW or less from the Network Operations Model and associated telemetry requirements. For BLTs occurring on NOIE TSP or DSP systems, the NOIE may designate NOIE metering point(s), a Resource Entity or Load Serving Entity, and a QSE for Settlement purposes in accordance with Section 16.3 or 16.5. For BLTs occurring on TSP or DSP systems open to Customer Choice, the non-ERCOT Control Area Entity associated with the transferred Load shall designate a registered Resource Entity or Load Serving Entity and acknowledge a QSE for Settlement purposes in accordance with Section 16.3 or 16.5. |  | STEP 1 If more than Eight BLTs are to be registered please use additional form. REMINDER: Provide associated ONE-LINE diagrams for associated stations with proposed BLTs.
| ERCOT Determination of Network Operations Model Requirement | NOM Status | NOM Status | NOM Status | NOM Status | NOM Status | NOM Status | NOM Status | NOM Status
Upon review ERCOT will return form with NOM Status
GENERAL BLT INFORMATION | ERCOT COMMENTS
| Block Load Transfer Locational Information | BLT 1 | BLT 2 | BLT 3 | BLT 4 | BLT 5 | BLT 6 | BLT 7 | BLT 8
Block Load Transfer Name (include reference to non-ERCOT TSP):
Street Address:
City:
State
Zip code
County:
ERCOT Transmission Operator For BLT
ERCOT Transmission Station Name
ERCOT Transmission Station Code
BLT Site Code:
BLT Start Date:
BLT Stop Date:
Congestion Management Zone for 2003:
BLT is on NOIE System?
Is BLT behind a NOIE Settlement Meter Point?
Number of EPS Primary meters associated with BLT:
Is BLT Uni or Bi-Directional?
Estimated Max Load Transferable TO Non-ERCOT Control Area (MW)
Estimated Max Load Transferable FROM Non-ERCOT Control Area (MW)
NON-ERCOT TSP | Non-ERCOT Transmission Service Provider Information
TSP/DSP which BLT Load Served through if other than registering TSP:
TDSP DUNS Number:
Street Address:
City:
State
Zip code
County:
Other Power Region (CFE, SPP, SERC)
Non-ERCOT TSP Primary Contact (name of person ERCOT can contact regarding BLT coordination)
Printed Name:
Title:
Phone Number:
E-mail Address:
Fax Number:
Non-ERCOT Transmission Operations Phone Number:
BLT Load Settlement | Complete this section ONLY if BLT will set up for settlement of Load transfer TO ERCOT Control Area.
The associated Load Serving Entity is required to complete the BLT Registration Settlement Form separately.
ESI ID 1 (Unique Load Meter Identifier):
Estimated Max MVA Transfer to ERCOT control area
Distribution Loss Factor Code
Profile ID
Meter Reading Entity (ERCOT TDSP)
Meter Reading Entity (Duns Number)
BLT Resource Settlement | Complete this section ONLY if BLT will set up for settlement of Load transfer FROM ERCOT Control Area.
The associated Resource Entity is required to complete the BLT Registration Settlement Form separately.
Resource ID (Unique Load Meter Identifier):
BLT Site Code (If different than default specified above)
BLT Unit Code
Estimated Max MW Transfer to Non-ERCOT control area
Meter Reading Entity (ERCOT TDSP)
Meter Reading Entity (Duns Number)
TSP COMMENTS
Note on B11: BLT site or main name (i.e.. MID SOUTH EC - ENTERGY)
Note on B12: OPTIONAL
Note on B13: Closest municipality to station BLT will effect or City of TSP's control center
Note on B14: Enter STATE Name this Site is located
Note on B15: Enter Zip code that this Site is located
Note on B17: Name of ERCOT Transmission Operator as Designated by ERCOT TSP in accordance with ERCOT Operating Guide Section 3.7.
Note on B20: BLT Site Code is created by preceding the 1st 5 characters of the Station Code with BL_
Note on B21: BLT Start Date is the date when TSP gave ERCOT notice BLT capability was available.
Note on B22: BLT Stop-Service Date is the date when TSP gave ERCOT notice BLT capability is no longer available.
Note on B23: This information can be found in the ERCOT Data Dictionary. Otherwise, please contact ERCOT.
Note on B26: If BLT is used five or more times per year, as monitored by the TSP, BLT required to have ERCOT-Polled Settlement (EPS) Metering.
Note on B31: Name of Transmission Company who coordinates BLT in Non-ERCOT Control Area
Note on B32: TDSP DUNS number is automatically populated by selecting the TDSP above.
Note on B45: 24x7 Phone Number of non-ERCOT TSP's Transmission Operations
Note on B50: Provide maximum MW transfer capability to ERCOT control area.
Note on B51: Provide Distribution Loss Factor Code to adjust BLT load transfer at distribution voltage.
Note on B52: Required to profile MWH's across 15 minute intervals.
Note on B53: Enter the name of TDSP that provides meter readings for BLT.
Note on B59: BLT Site Code is created by preceding the 1st 5 characters of the Station Code with BL_
Note on B60: BLT Unit Code is created by adding _BLT to the BLT Site Code
Note on B61: Provide maximum MW transfer capability to Non-ERCOT control area.
Note on B62: Enter the name of TDSP that provides meter readings for BLT.

## Load data
ERCOT Confidential |  | FOR MODELING PURPOSE
Load Data |  | STEP2
Modeled Loads are expected to have MW/MVAR telemetry. Block Load Transfer load from a non-ERCOT Control Area needs to have MW and MVAR telemetry. Add ICCP Names below based on ERCOT ICCP Handbook. This form may be used for multiple BLT points and associated Load information. ERCOT WILL SET UP BLT MODEL AND ICCP IN LIEU OF TSP NOMCR
|  |  | BLT 1 | BLT 2 | BLT 3 | BLT 4 | BLT 5 | BLT 6 | BLT 7 | BLT 8
SITE
| GENERAL |  | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
Description of change (eg: ADD, CHANGED, TERMINATE)
| Modeled Load Data from which BLT is derived from | Labels | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
ERCOT Station Name (Station Code or Station Mnemonic)
Load Name (as it appears in the ERCOT model)
| Load Voltage Level | kV
| PTI Bus Number | Integer
Device Name(s) - that this load is physically connected to
| Average Load Under Normal Operations | MW
| Average MVAR Under Normal Operations | MVAR
Comments
| ICCP Point Name (in accordance with ICCP Handbook) |  | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
| BLT MW Value | MW
| BLT MVAR Value | MVAR
EFFECTIVE DATE:
Note on B9: This is the substation Mnemonic as determined by character limitations between Planning and Operations Models. Currently listed in "Data Dictionary"
Note on B10: This is the name provided by the owner and meets the ERCOT Character limitation.
Note on B13: List up to 10 Switching Device Names
Note on B23: Transmission Level Voltage that this device is being operated to control.
Note on B24: Transmission Level Voltage that this device is being operated to control.

## Breaker_Switch Data
ERCOT Confidential |  |  |  | FOR MODELING PURPOSE
Breaker_Switch Data |  |  |  | STEP2
Please submit one-line diagram together with this Breaker/Switch request form.
Block Load Transfers may be set up with psuedo devices to represent status of transfer. Add ICCP Names below based on ERCOT ICCP Handbook. This form may be used for multiple BLT points and associated Load information. IF MORE THAN ONE DEVICE IS NEEDED TO REPRESENT THE BLT PLEASE CONTACT ERCOT.
|  |  |  | BLT 1 | BLT 2 | BLT 3 | BLT 4 | BLT 5 | BLT 6 | BLT 7 | BLT 8
SITE
| GENERAL |  |  | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
Description of change (eg: ADD, CHANGED, TERMINATE)
| BREAKER / SWITCH |  | Labels | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
ERCOT Station Code Mnemonic
| Is this a Fault Isolating Device (e.g. Circuit Breaker) |  | Y/N
Switch Name
Normal Operating Status (when in-service) (Open or Closed)
| Voltage Level |  | kV
| SIDE 1 | Directly connected device name(s)
| SIDE 2 | Directly connected device name(s)
Comments
EFFECTIVE DATE:
Note on B11: This is the substation Mnemonic as determined by character limitations between Planning and Operations Models. Currently listed in "Data Dictionary"
Note on B13: Name of switch to be used in ERCOT model (will be seen in Outage Scheduler and on one-lines)
Note on C16: Enter up to 10 Connected device Names
Note on C26: Enter up to 10 Connected device Names

## Line Data
ERCOT Confidential |  |  |  | FOR MODELING PURPOSE
Line Data |  |  |  | STEP2
Please submit all station's one-lines which are affected by the line submittal.
If "Dynamic" then all rating cells including "Nominal" rating cells must be completed.
If "Static" then "Nominal" ratings must be filled out only
|  |  |  | BLT 1 | BLT 2 | BLT 3 | BLT 4 | BLT 5 | BLT 6 | BLT 7 | BLT 8
SITE
| GENERAL |  |  | Line 1 | Line 2 | Line 3 | Line 4 | Line 5 | Line 6 | Line 7 | Line 8
Description of change (eg: ADD, CHANGED, DELETE)
| LINE (any length) |  | Labels | Line 1 | Line 2 | Line 3 | Line 4 | Line 5 | Line 6 | Line 7 | Line 8
ERCOT Line Name
| Line Voltage Level kV |  | kV
| TO Station | ERCOT Station Code Mnemonic
|  | Internal Line | Y/N
TSP Name
Connected Device Name(s)
|  | Bus Number (PTI Bus Number) | (integer)
Weather Zone / Weather Station (used for Dynamic Ratings)
| FROM Station | ERCOT Station Code Mnemonic
Connected Device Name(s)
|  | Bus Number (PTI Bus Number) | (integer)
Weather Zone / Weather Station (used for Dynamic Ratings)
| Resistance in p.u. (100 MVA Base) |  | p.u.
| Reactance in p.u. (100 MVA Base) |  | p.u.
| Charging Susceptance in p.u. (100 MVA Base) |  | p.u.
Type (overhead / underground / both)
| Segment Length |  | miles
Line Rating (Static or Dynamic)
| Nominal (Static) | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 20 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 25 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 30 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 35 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 40 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 45 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 50 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 55 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 60 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 65 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 70 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 75 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 80 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 85 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 90 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 95 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 100 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 105 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 110 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
| 115 °F | Continuous Rating | MVA
|  | 2-hr Emergency Rating | MVA
|  | 15-min Rating | MVA
Comments
EFFECTIVE DATE:
Note on B12: Line names must meet the character limitation of the ERCOT system. They must be UNIQUE within ERCOT. Line data is provided monthly and posted.
Note on C14: This is the substation Mnemonic as determined by character limitations between Planning and Operations Models. Currently listed in "Data Dictionary"
Note on C17: Enter up to 10 switching device names that this line is connected to at the "To Station".
Note on C27: Bus Number for Line termination point being modeled in the "To" station (Bus number as determined by Planning groups)
Note on C29: This is the substation Mnemonic as determined by character limitations between Planning and Operations Models. Currently listed in "Data Dictionary"
Note on C30: Enter up to 10 switching device names that this line is connected to at the "From Station".
Note on C40: Bus Number for Line termination point being modeled in the "From" station (Bus number as determined by Planning groups)

## Series Device Data
ERCOT Confidential |  |  |  | FOR MODELING PURPOSE
Series Device Data |  |  |  | STEP2
Please submit one-line diagrams associated with the change request. |  |  |  | IF MORE THAN ONE DEVICE IS NEEDED TO REPRESENT THE BLT PLEASE CONTACT ERCOT.
Series devices are impedance element which may be series reactors
and capacitors or may be short lines within a station.
|  |  |  | BLT 1 | BLT 2 | BLT 3 | BLT 4 | BLT 5 | BLT 6 | BLT 7 | BLT 8
SITE
| GENERAL |  |  | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
Description of change (eg: ADD, CHANGED, DELETE)
| SERIES DEVICE DATA |  | Labels | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Device 7 | Device 8
Series Device Name
ERCOT Station Name (Station Code or Station Mnemonic)
| Voltage Level (kV |  | kV
| SIDE 1 | Connected Device Name(s)
|  | Bus Number (PTI Bus Number) | (integer)
| SIDE 2 | Connected Device Name(s)
|  | Bus Number (PTI Bus Number) | (integer)
| Resistance |  | p.u.
| Reactance |  | p.u.
| Continuous Rating |  | MVA
| 2-hr Emergency Rating |  | MVA
| 15-min Rating |  | MVA
Comments
EFFECTIVE DATE:
Note on B12: Serial Device Name- Must be unique within ERCOT (including uniqueness with Lines in the ERCOT system…in other words can not be named the same as a line)
Note on B13: This is the substation Mnemonic as determined by character limitations between Planning and Operations Models. Currently listed in "Data Dictionary"
Note on C15: List up to 10 connected switching devices
Note on C26: List up to 10 connected switching devices

## One Line
ERCOT Confidential
One Line Diagram
Embed a PDF or CAD One Line Diagram below:

## Dropdowns (hidden)
Data Validations: | TDSP | TDSPDuns | RESCAT | REP | REPDuns | RE | RE-Duns
Yes No | AEP TEXAS CENTRAL COMPANY | 007924772 | Nuclear | 10K ENERGY LLC DBA MISSION POWER (LSE) | 8305623801000 | AES DEEPWATER INC | 556966828
| AEP TEXAS NORTH COMPANY | 007923311 | Hydro | ACACIA ENERGY LLC (LSE) | 787476634 | AIR LIQUIDE LARGE INDUSTRIES US LP (RE) | 180015062
CMZone | AEP TEXAS NORTH COMPANY SPP | 053693388 | Coal and Lignite | ACCENT ENERGY TEXAS LP DBA DYNOWATT POWERED BY ACCENT ENERGY | 133305370 | AMERICAN ELECTRIC POWER TEXAS NORTH COMPANY | 0079233113000
| BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | Combined Cycle <= 90 MW* | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP (LSE) | 038738451 | AMPROP FINANCE COMPANY (RE) | 8289175473000
Unit Type | BARTLETT ELECTRIC CO OP INC | 002781813 | Combined Cycle > 90 MW* | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP DBA AEP RETAIL ENERGY | 0387384511000 | ANADARKO PETROLEUM CORPORATION | 026409797
| BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | Gas Steam - Supercritical Boiler | ALLIANCE POWER COMPANY LLC | 136249187 | ASH GROVE TEXAS LP | 620060129
FUELTYPE | BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | Gas Steam - Reheat Boiler | AMBIT ENERGY LP (LSE) | 604792791 | ASPEN POWER LLC (RE) | 7912936863000
| BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | Gas Steam - Non-reheat or Boiler without air-preheater | AMERIPOWER LLC | 140780003 | BARNEY M DAVIS LP (RES) | 146130021
TRANSPTYPE | BRAZOS ELECTRIC POWER CO OP INC (TDSP) | 0037722904000 | Simple Cycle <= 90 MW | ANDELER CORPORATION DBA ANDELER POWER (LSE) | 039471953 | BARNEY M DAVIS UNIT 1 | 1461300213000
| BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP) | 6063470374000 | Simple Cycle > 90 MW | ANDELER CORPORATION DBA ANDELER RETAIL | 0394719531000 | BARTON CHAPEL WIND LLC (RE) | 8082046273000
OFFSET | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | Reciprocating Engine | AP GAS AND ELECTRIC (TX) LLC DBA APG AND E (LSE) | 171841633 | BASA RESOURCES INC (RES) | 601438849
| CAP ROCK ENERGY (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | Wind Generation Resource | APN STARFIRST LP | 141081328 | BASA RESOURCES INC 2 (RES) | 6014388493001
RESCAT | CAP ROCK ENERGY (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | Power Storage | APNA HOLDINGS LLC | 784260866 | BASF CORP | 071014385
| CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | Other | BANDERA ELECTRIC CO OP INC (LSE) | 0089451491000 | BASS ENTERPRISES PRODUCTION CO | 008948440
WYE | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 |  | BIG COUNTRY ELECTRIC CO OP INC (LSE) | 0058630481000 | BASTROP ENERGY PARTNERS LP | 029496531
| CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 |  | BLU POWER OF TEXAS LLC | 604182134 | BIG BROWN POWER COMPANY LLC (RE) | 6062523933000
TAPLOC | CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 |  | BLUEBONNET ELECTRIC CO OP INC (LSE) | 0524834351000 | BIO ENERGY (AUSTIN) L.L.C. | 041237764
| CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 |  | BLUESTAR ENERGY SERVICES INC DBA BLUESTAR ENERGY SOLUTIONS (LSE) | 0777789541000 | BIO ENERGY (TEXAS) LLC (RESOURCE) | 0412377643000
SUBMITTAL | CITY OF BARTLETT (TDSP) | 074618935 |  | BOUNCE ENERGY INC (LSE) | 8263032781000 | BOSQUE POWER COMPANY LLC (RES) | 133844212
| CITY OF BASTROP (TDSP) | 0851553724000 |  | BP ENERGY COMPANY (LSE) | 6252757551000 | BP AMERICA PRODUCTION COMPANY (RE) | 0089668893000
NWMODEL | CITY OF BELLVILLE (TDSP) | 0935648704000 |  | BP ENERGY COMPANY (SUB-LSE-CNE) | 8797234681100 | BRAZOS ELECTRIC POWER CO OP INC (RES) | 0037722903000
| CITY OF BOERNE (TDSP) | 0052470694000 |  | BRAZOS ELECTRIC POWER CO OP INC (LSE) | 0037722901000 | BRAZOS ELECTRIC POWER CO OP INC FOR MORRIS SHEPPARD DAM | 0037722903100
NOM STATUS | CITY OF BOWIE (TDSP) | 8094182964000 |  | BRAZOS ELECTRIC POWER CO OP INC LCRA | 0037722901100 | BRAZOS ELECTRIC POWER CO OP INC FOR WHITNEY DAM | 0037722903300
TSP expects some or all BLT(s) to be in Network Operations Model | CITY OF BRADY (TDSP) | 070804877 |  | BRAZOS ELECTRIC POWER CO OP INC-OAK GROVE | 0037722901200 | BRAZOS SANDY CREEK ELECTRIC COOPERATIVE INC (RE) | 9617940263000
TSP requests BLT(s) be excluded from Network Operations Model | CITY OF BRENHAM (TDSP) | 0741649224000 |  | BRILLIANT ENERGY LLC | 800312048 | BRAZOS VALLEY ENERGY LP | 122527893
| CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 |  | BROWNSVILLE PUBLIC UTILITIES BOARD (LSE) | 6063470371000 | BRAZOS WIND LP | 129468067
| CITY OF BURNET (TDSP) | 0746121514000 |  | BRYAN TEXAS UTILITIES (LSE) | 0793907791000 | BROWNSVILLE PUBLIC UTILITIES BOARD AEP (RES) | 6063470373100
| CITY OF CASTROVILLE (TDSP) | 797816378 |  | CALPINE POWER AMERICA LP | 1127108761000 | BROWNSVILLE PUBLIC UTILITIES BOARD CALPINE (RES) | 6063470373200
| CITY OF COLEMAN (TDSP) | 1024920064000 |  | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (LSE) | 0079370971100 | BROWNSVILLE PUBLIC UTILITIES BOARD OKLA J3 (RES) | 6063470373300
| CITY OF COLLEGE STATION (TDSP) | 0403303004000 |  | CAP ROCK ENERGY (MCCULLOCH DIVISION) (LSE) | 0079370971000 | BROWNSVILLE PUBLIC UTILITIES BOARD SILAS RAY (RES) | 6063470373000
| CITY OF CUERO (TDSP) | 0526842144000 |  | CENTRAL TEXAS ELECTRIC CO OP INC (LSE) | 0079302741000 | BRYAN TEXAS UTILITIES (RES) | 0793907793000
| CITY OF FARMERSVILLE (TDSP) | 1903494984000 |  | CHAIN LAKES POWER LP DBA SIMPLE POWER (LSE) | 806949835 | BUFFALO GAP WIND FARM 2 LLC | 603768792
| CITY OF FLATONIA (TDSP) | 0626890134000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES I (LSE) | 1599884061100 | BUFFALO GAP WIND FARM 3 LLC (RE) | 809617223
| CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR | 008948374 |  | CHAMPION ENERGY INDUSTRIAL SERVICES III (LSE) | 1599884061300 | BUFFALO GAP WIND FARM LLC | 603399457
| CITY OF FREDERICKSBURG (TDSP) | 0769243074000 |  | CHAMPION ENERGY SERVICES LLC | 159988406 | BULL CREEK WIND LLC (RE) | 8268407743000
| CITY OF GARLAND (TDSP) | 6011012564000 |  | CIRRO GROUP INC | 034441449 | CALPINE CORP | 1127108763000
| CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 |  | CITY OF AUSTIN DBA AUSTIN ENERGY (LSE) | 8008717661000 | CALPINE POWER MANAGEMENT LLC (RES) | 1127108763100
| CITY OF GEORGETOWN (TDSP) | 0895923724000 |  | CITY OF BASTROP (LSE) | 0851553721000 | CAPRICORN RIDGE WIND II LLC (RE) | 802761499
| CITY OF GIDDINGS (TDSP) | 0096899514000 |  | CITY OF BELLVILLE (LSE) | 0935648701000 | CAPRICORN RIDGE WIND LLC (RE) | 796685712
| CITY OF GOLDSMITH (TDSP) | 0888946704000 |  | CITY OF BOERNE (LSE) | 0052470691000 | CARDINAL CG COMPANY | 609392514
| CITY OF GOLDTHWAITE (TDSP) | 1558252764000 |  | CITY OF BOWIE (LSE) | 8094182961000 | CEDRO HILL WIND LLC (RE) | 8323457353000
| CITY OF GONZALES (TDSP) | 0937385404000 |  | CITY OF BRADY (LSE) | 0708048771000 | CEMEX CEMENT INC | 189840945
| CITY OF HALLETTSVILLE (TDSP) | 0090811834000 |  | CITY OF BRENHAM (LSE) | 0741649221000 | CEMEX CEMENT INC 2 (RE) | 1898409453000
| CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 |  | CITY OF BRIDGEPORT MUN ELEC SYS (LSE) | 0842801711000 | CER COLORADO BEND ENERGY PARTNERS LP (RE) | 788152085
| CITY OF HEMPSTEAD (TDSP) | 1272175604000 |  | CITY OF BURNET (LSE) | 0746121511000 | CER-QUAIL RUN ENERGY PARTNERS LP (RE) | 788151350
| CITY OF HONDO (TDSP) | 091703843 |  | CITY OF COLEMAN (LSE) | 1024920061000 | CHAMPION WIND FARM LLC (RE) | 808022755
| CITY OF LA GRANGE (TDSP) | 0607085184000 |  | CITY OF COLLEGE STATION (LSE) | 0403303001000 | CHEVRON MIDCONTINENT LP | 118258180
| CITY OF LAMPASAS (TDSP) | 0203311204000 |  | CITY OF CUERO (LSE) | 0526842141000 | CHEVRON USA INC | 020345526
| CITY OF LEXINGTON (TDSP) | 0081817324000 |  | CITY OF FARMERSVILLE (LSE) | 1903494981000 | CITATION OIL AND GAS CORP | 058778853
| CITY OF LLANO (TDSP) | 0916952054000 |  | CITY OF FLATONIA (LSE) | 0626890131000 | CITICORP NORTH AMERICA INC (RE) | 0552326563000
| CITY OF LOCKHART (TDSP) | 0746168634000 |  | CITY OF FREDERICKSBURG (LSE) | 0769243071000 | CITY OF AUSTIN DBA AUSTIN ENERGY (RES) | 8008717663000
| CITY OF LULING (TDSP) | 0105539984000 |  | CITY OF GARLAND (LSE) | 6011012561000 | CITY OF GARLAND (RES) | 6011012563000
| CITY OF MASON (TDSP) | 1561267084000 |  | CITY OF GEORGETOWN (LSE) | 0895923721000 | CITY OF ROBSTOWN UTILITY SYSTEMS (RES) | 9387911423000
| CITY OF MOULTON (TDSP) | 0091871544000 |  | CITY OF GIDDINGS (LSE) | 0096899511000 | COLETO CREEK POWER LP | 146129908
| CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 |  | CITY OF GOLDSMITH (LSE) | 0888946701000 | COLLIN POWER COMPANY LLC | 602935145
| CITY OF SAN MARCOS (TDSP) | 0694628694000 |  | CITY OF GOLDTHWAITE (LSE) | 1558252761000 | COMISION FEDERAL DE ELECTRICIDAD (RES) | 8100082433000
| CITY OF SAN SABA (TDSP) | 0248592254000 |  | CITY OF GONZALES (LSE) | 0937385401000 | CONSTELLATION ALLIANCE II LP (RE) | 1918066403000
| CITY OF SANGER | 058956020 |  | CITY OF HALLETTSVILLE (LSE) | 0090811831000 | CPOWER INC (RE) | 0587400153000
| CITY OF SCHULENBURG (TDSP) | 0532950364000 |  | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (LSE) | 0897458891000 | CPS ENERGY (RE) | 0079360733000
| CITY OF SEGUIN (TDSP) | 0862819794000 |  | CITY OF HEMPSTEAD (LSE) | 1272175601000 | DECORDOVA POWER COMPANY LLC (RE) | 6062523933100
| CITY OF SEYMOUR | 166319145 |  | CITY OF LA GRANGE (LSE) | 0607085181000 | DELAWARE MOUNTAIN WIND FARM LLC LCRA (RE) | 015453751
| CITY OF SHINER (TDSP) | 1504533714000 |  | CITY OF LAMPASAS (LSE) | 0203311201000 | DELAWARE MOUNTAIN WIND FARM LLC RELIANT (RE) | 0154537513100
| CITY OF SMITHVILLE (TDSP) | 0916978134000 |  | CITY OF LEXINGTON (LSE) | 0081817321000 | DENBURY ONSHORE LLC (RE) | 0610529863000
| CITY OF WAELDER (TDSP) | 0541779694000 |  | CITY OF LLANO (LSE) | 0916952051000 | DENISON DAM | 1234567013000
| CITY OF WEIMAR (TDSP) | 0214974584000 |  | CITY OF LOCKHART (LSE) | 0746168631000 | DENTON MUNICIPAL ELECTRIC (RES) | 0713801903000
| CITY OF WHITESBORO | 134546522 |  | CITY OF LULING (LSE) | 0105539981000 | DESERT SKY WIND FARM LP (RE) | 039440420
| CITY OF YOAKUM (TDSP) | 0694557724000 |  | CITY OF MASON (LSE) | 1561267081000 | EC AND R PANTHER CREEK WIND FARM I AND II LLC (RE) | 8080228963000
| COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 |  | CITY OF MOULTON (LSE) | 0091871541000 | EC AND R PANTHER CREEK WIND FARM III LLC (RE) | 8293960713000
| COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 |  | CITY OF ROBSTOWN UTILITY SYSTEM (LSE) | 9387911421000 | EC AND R PAPALOTE CREEK I LLC (RE) | 8293956023000
| COMISION FEDERAL | 8100082434000 |  | CITY OF SAN MARCOS (LSE) | 0694628691000 | EC AND R PAPALOTE CREEK I LLC CPS (RE) | 8293956023100
| CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 |  | CITY OF SAN SABA (LSE) | 0248592251000 | EC AND R PAPALOTE CREEK II LLC (RE) | 8332436993000
| CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 |  | CITY OF SANGER TEXAS (LSE) | 0589560201000 | EDF TRADING NORTH AMERICA LLC (RE) | 1091142513000
| COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 |  | CITY OF SCHULENBURG (LSE) | 0532950361000 | ELBOW CREEK WIND PROJECT LLC (RE) | 8274295103000
| CPS ENERGY (TDSP) | 0079360734000 |  | CITY OF SEGUIN (LSE) | 0862819791000 | ENCHANTED ROCK RELIABILITY SERVICES LLC (RE) | 8300687353000
| CROSS TEXAS TRANSMISSION LLC (TSP) | 8296282914000 |  | CITY OF SEYMOUR (LSE) | 1663191451000 | ENCOGEN ONE PARTNERS LTD | 794368423
| DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 |  | CITY OF SHINER (LSE) | 1504533711000 | ENERGEN RESOURCES CORPORATION | 147871420
| DEEP EAST TEXAS ELECTRIC CO OP INC (BLT TDSP) | 0478456234000 |  | CITY OF SMITHVILLE (LSE) | 0916978131000 | ENNIS POWER COMPANY LLC (RE) | 1855422683000
| DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 |  | CITY OF WAELDER (LSE) | 0541779691000 | ENTERGY GULF STATES INC (BLT RE) | 8274383833000
| DENTON MUNICIPAL ELECTRIC (TDSP) | 0713801904000 |  | CITY OF WEIMAR (LSE) | 0214974581000 | EQUISTAR CHEMICAL LP | 969557263
| EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265 |  | CITY OF YOAKUM (LSE) | 0694557721000 | EXTEX LAPORTE LP 2 | 0170117713100
| ELECTRIC TRANSMISSION TEXAS LLC (TDSP) | 808160514 |  | CLEARVIEW ELECTRIC INC | 785129219 | EXTEX-LAPORTE LP | 017011771
| FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 |  | COLEMAN COUNTY ELECTRIC CO OP INC (LSE) | 0079246731000 | EXXON MOBIL CORP (RESOURCE) | 001213214
| FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 |  | COMISION FEDERAL DE ELECTRICIDAD | 810008243 | EXXONMOBIL REFINING AND SUPPLY COMPANY | 0012132143000
| FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 |  | CONCHO VALLEY ELECTRIC CO OP INC (LSE) | 0038666621000 | FOREST CREEK WIND FARM LLC (RE) | 617529636
| FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 |  | CONOCOPHILLIPS COMPANY (LSE) | 001368265 | FORMOSA PLASTICS CORPORATION AMERICA (RES) | 039942144
| GEUS (TDSP) | 8062449354000 |  | CONSOLIDATED EDISON SOLUTIONS INC | 809887904 | FORMOSA UTILITY VENTURE LTD | 927788786
| GOLDEN SPREAD ELECTRIC COOPERATIVE INC (TSP) | 1864707794000 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS (LSE) | 8098879041100 | FORT WORTH METHANE LLC (RE) | 0152039723000
| GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 1 (LSE) | 8098879041200 | FPL ENERGY CALLAHAN WIND LP (RES) | 168786981
| GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 2 (LSE) | 8098879041300 | FPL ENERGY HORSE HOLLOW WIND II LLC (RE) | 603589305
| GRAYSON COLLIN ELECTRIC CO OP INC (AEP AS QSE) | 0089538124000 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONEDISON SOLUTIONS (LSE) | 8098879041000 | FPL ENERGY HORSE HOLLOW WIND LLC (RE) | 194756214
| GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 |  | CONSTELLATION NEWENERGY INC (LSE) | 8797234681000 | FPL ENERGY PECOS WIND I AND II LP | 782659171
| HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 |  | CONSTELLATION NEWENERGY INC DBA NEWENERGY (LSE) | 8797234681200 | FPL ENERGY UPTON WIND I LLC (RE) | 7826591713100
| HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 |  | CPL RETAIL ENERGY LP (LSE) | 017740544 | FPL ENERGY UPTON WIND II LLC (RE) | 7826591713200
| HEART OF TEXAS ELECTRIC COOPERATIVE INC (DSP) | 012074558 |  | CPL RETAIL ENERGY LP 1100 | 0177405441100 | FPL ENERGY UPTON WIND III LLC (RE) | 7826591713300
| HILCO ELECTRIC CO OP INC (TDSP) | 008950545 |  | CPL RETAIL ENERGY LP DBA CPL | 0177405441200 | FPL ENERGY UPTON WIND IV LLC (RE) | 7826591713400
| HOUSTON COUNTY ELEC COOP INC (TDSP) | 005777206 |  | CPS ENERGY (LSE) | 0079360731000 | FPLE FORNEY LLC (RE) | 114740306
| HOUSTON COUNTY ELEC COOP INC TXU (TDSP) | 0057772064100 |  | DENTON MUNICIPAL ELECTRIC (LSE) | 0713801901000 | FPLE FORNEY LLC 2 (RE) | 1147403063100
| J A C ELECTRIC CO OP INC | 003890795 |  | DIRECT ENERGY BUSINESS LLC (LSE) | 800770810 | FRESNO ENERGY LLC (RE) | 8310668783000
| JACKSON ELECTRIC CO OP INC | 078423555 |  | DIRECT ENERGY BUSINESS LLC DBA EXPERT ENERGY (LSE) | 8007708101000 | FRONTERA GENERAL LIMITED PARTNERSHIP | 117207238
| JASPER NEWTON ELECTRIC CO OP INC | 007933518 |  | DIRECT ENERGY DBA 1300 | 0397133541300 | G2 ENERGY (FW REGIONAL) LLC | 779981765
| KARNES ELECTRIC CO OP INC | 006824106 |  | DIRECT ENERGY DBA 1400 | 0397133541400 | G2 ENERGY (TRINITY OAKS) LLC (RE) | 8289615293000
| KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 |  | DIRECT ENERGY LP DBA DIRECT ENERGY | 039713354 | GDF SUEZ ENERGY RESOURCES NA INC (RE) | 0996683323000
| LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 |  | DIRECT ENERGY LP DBA DIRECT ENERGY BUSINESS SERVICES | 0397133541000 | GEN TEX POWER CORP | 071023449
| LAMAR COUNTY ELEC COOP DBA LEC RC HOUPL (TDSP) | 0048060974100 |  | DIRECT ENERGY LP DBA DIRECT ENERGY MULTI FAMILY | 0397133541200 | GEUS (RES) | 8062449353000
| LCRA TRANSMISSION SERVICES CORPORATION | 0432268854000 |  | DPI ENERGY LLC (LSE) | 785092292 | GIM CHANNELVIEW COGENERATION LLC (RE) | 8269657533000
| LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 |  | DTE ENERGY SUPPLY INC (LSE) | 8328770421000 | GOAT WIND LP (RE) | 809226603
| LIGHTHOUSE ELECTRIC CO OP TXU (TDSP) | 0028252894100 |  | DTE ENERGY TRADING INC (LSE) | 383323526 | GREGORY POWER PARTNERS LP | 158590716
| LONE STAR TRANSMISSION LLC (TSP) | 8001203834000 |  | EDF INDUSTRIAL POWER SERVICES (TX) I LLC (LSE) | 7887078471100 | GUADALUPE POWER PARTNERS LP | 160934308
| LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 |  | EDF INDUSTRIAL POWER SERVICES (TX) II LLC (LSE) | 7887078471200 | GUADALUPE-BLANCO RIVER AUTHORITY (RES) | 0563116083000
| MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 |  | EDF INDUSTRIAL POWER SERVICES (TX) III LLC (LSE) | 7887078471300 | HACKBERRY WIND LLC (RE) | 806691528
| MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100 |  | EDF INDUSTRIAL POWER SERVICES (TX) LLC (LSE) | 788707847 | HAYS ENERGY LP | 016574134
| MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 |  | EDF INDUSTRIAL POWER SERVICES (TX) V LLC (LSE) | 7887078471500 | HENRY PETROLEUM LP | 932319791
| MID SOUTH ELECTRIC CO OP ASSOC | 061278594 |  | EDF INDUSTRIAL POWER SERVICES TX IV LLC (LSE) | 7887078471400 | HILEX POLY CO LLC (RE) | 177863644
| NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 |  | EN TOUCH SYSTEMS INC (LSE) | 155807808 | HORSE HOLLOW GENERATION TIE 2 LLC (RE) | 8299549523100
| NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 |  | ENERGY PLUS HOLDINGS LLC | 8048918491000 | HORSE HOLLOW GENERATION TIE LLC (RE) | 8299549523000
| NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 |  | ENERGY TRANSFER RETAIL POWER LLC (LSE) | 8071242141000 | IGLOO PRODUCTS CORP | 062118427
| NUECES ELECTRIC CO OP INC | 008828857 |  | ENOW LP (LSE) | 144817595 | INADALE WIND FARM LLC (RE) | 8080228543000
| NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 |  | ENTERGY GULF STATES INC (BLT LSE) | 8274383831100 | INDIAN MESA WIND FARM LLC LCRA (RE) | 015453918
| NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 |  | ENTERGY TEXAS INC (LSE) | 8012610531000 | INDIAN MESA WIND FARM LLC TXU (RE) | 0154539183100
| ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP) | 1039940674000 |  | ENTRUST ENERGY INC (LSE) | 9640468611000 | INEOS USA LLC (RE) | 6238048093000
| PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 |  | ERCOT TEST LSE ACCOUNT 07212010 (LSE) | 8524567531000 | INGLESIDE COGENERATION LIMITED PARTNERSHIP | 742861564
| PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 |  | ERCOT TEST LSE ACCOUNT 07212010 PAST DATE (LSE) | 9639639631000 | INNOVENE USA LLC | 0039834833000
| RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000 |  | ERCOTTEST_LSE_5 | 111111115 | INTELLIGEN RESOURCES LP (RE) | 8328273853000
| RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 |  | EXTEX RETAIL SERVICES COMPANY LLC | 131494440 | INVISTA INC | 001315704
| RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 |  | FAYETTE ELECTRIC CO OP INC (LSE) | 0593309771000 | INVISTA SARL | 048421247
| RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 |  | FIRST CHOICE POWER SPECIAL PURPOSE LIMITED PARTNERSHIP | 008613791 | JNC ENERGY SYSTEMS LLC (RE) | 0075787093000
| SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER POL | 0086137911000 | KERR MCGEE CORPORATION | 110721003
| SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER-AMS | 0086137911100 | KIOWA POWER PARTNERS LLC (RES) | 112752865
| SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 |  | FRONTIER UTILITIES INC (LSE) | 8094344211000 | LAMAR POWER PARTNERS LLC (RE) | 118615058
| SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 |  | FRONTIER UTILITIES INC DBA RODEO ENERGY (LSE) | 8094344211100 | LANGFORD WIND POWER LLC (RE) | 0072633243000
| SHARYLAND UTILITIES LP (TDSP) | 105262336 |  | FRONTIER UTILITIES INC DBA SOL ENERGY (LSE) | 8094344211200 | LAREDO WLE LP (LAREDO ENERGY CENTER) (RE) | 1461305593000
| SHARYLAND UTILITIES LP BRADY (TDSP) | 1052623364200 |  | FULCRUM RETAIL ENERGY LLC DBA AMIGO ENERGY (LSE) | 141047543 | LAREDO WLE LP (RES) | 146130559
| SHARYLAND UTILITIES LP CELESTE (TDSP) | 1052623364300 |  | FULCRUM RETAIL ENERGY LLC DBA TARA ENERGY RESOURCES (LSE) | 1410475431000 | LCY ELASTOMERS LP (RES) | 142355051
| SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100 |  | GATEWAY ENERGY SERVICES CORP DBA GATEWAY POWER SERVICES (LSE) | 013876508 | LONE STAR INDUSTRIES INC DBA BUZZI UNICEM USA | 001265321
| SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 |  | GDF SUEZ ENERGY MARKETING NA INC (LSE) | 9689097391000 | LORAINE WINDPARK PROJECT LLC (RE) | 8317486083000
| SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 |  | GDF SUEZ ENERGY RESOURCES NA INC (LSE) | 099668332 | LOWER COLORADO RIVER AUTHORITY (RES) | 0432268853000
| SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 |  | GDF SUEZ ENERGY RESOURCES NA INC DBA GSERNA POLR (LSE) | 0996683322222 | LUFKIN INDUSTRIES INC | 008090375
| SOUTHWESTERN ELECTRIC POWER COMPANY BLT (TDSP) | 0069487644000 |  | GEUS (LSE) | 8062449351000 | LUMINANT ENERGY COMPANY LLC LH2 (RE) | 6062523933700
| SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672 |  | GEXA ENERGY LP (LSE) | 108114542 | LUMINANT ENERGY COMPANY LLC RMR (RE) | 6062523933600
| TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 |  | GEXA ENERGY LP DBA GEXA ENERGY (LSE) | 1081145421000 | LUMINANT GENERATION COMPANY LLC (RE) | 6062523933200
| TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 |  | GEXA ENERGY LP III (LSE) | 1081145421100 | MARATHON OIL COMPANY | 055122568
| TEXAS MUNICIPAL POWER AGENCY | 071374052 |  | GEXA ENERGY LP IV (LSE) | 1081145421200 | MATHESON TRI_GAS | 179092028
| TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 |  | GIM RETAIL ENERGY LLC (LSE) | 8269652091000 | MAVERICK COUNTY WATER CONTROL AND IMPROVEMENT DISTRICT NO. 1 | 861499895
| TRI COUNTY ELECTRIC CO OP INC | 008945123 |  | GLACIAL ENERGY OF TEXAS INC | 605515472 | MCADOO WIND ENERGY LLC (RE) | 8787320283000
| TRINITY VALLEY ELEC CO OP | 009844564 |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC AEP AS QSE (LSE) | 1864707791000 | MCKINNEY LFG LLC (RE) | 8323084853000
| TRINITY VALLEY ELEC CO OP (AEP AS QSE) | 0098445644000 |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC TXU AS QSE (LSE) | 186470779 | MEDINA ELECTRIC CO OP INC (RES) | 0081378123000
| UNITED ELECTRIC CO OP SERVICES INC | 008945826 |  | GRANBURY MUNICIPAL UTILITIES (LSE) | 0952141691000 | MESQUITE WIND LLC | 784353448
| VICTORIA ELECTRIC CO OP INC | 008953861 |  | GREEN MOUNTAIN ENERGY COMPANY (LSE) | 176871481 | MIDLOTHIAN ENERGY LP | 077015803
| VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 |  | GREEN MOUNTAIN ENERGY COMPANY - COMMERCIAL | 1768714811200 | NACOGDOCHES POWER LLC (RE) | 8323861193000
| WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 |  | GREEN MOUNTAIN ENERGY COMPANY CSA (LSE) | 1768714811500 | NOTREES WINDPOWER LP (RE) | 8251689463000
| WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 |  | GREEN MOUNTAIN ENERGY COMPANY RES 2 (LSE) | 1768714811400 | NRG SOUTH TEXAS LP (RES) | 1208072553000
| WHARTON COUNTY ELECTRIC CO OP INC | 118487958 |  | GREEN MOUNTAIN ENERGY COMPANY-MULTIFAMILY (LSE) | 1768714811100 | NRG TEXAS POWER LLC (RE) | 1684560493000
| WIND ENERGY TRANSMISSION TEXAS LLC (TSP) | 8306765114000 |  | GREEN MOUNTAIN ENERGY COMPANY-POLR (LSE) | 1768714811300 | NUECES BAY WLE LP (RES) | 146131011
| WISE ELECTRIC CO OP | 041405408 |  | GUADALUPE VALLEY ELECTRIC CO OP INC (LSE) | 0079305891000 | OAK GROVE MANAGEMENT COMPANY LLC (RE) | 8282081603000
| WOOD COUNTY ELECTRIC COOPERATIVE INC (TDSP) | 008952491 |  | HINO ELECTRIC POWER COMPANY (LSE) | 026533844 | OCCIDENTAL CHEMICAL CORPORATION | 067271981
| NOT LISTED | 0 |  | HUDSON ENERGY JV LLC (LSE) | 8029612891000 | OCCIDENTAL PERMIAN LTD | 795956205
|  |  |  | HUDSON ENERGY SERVICES LLC (LSE) | 121359595 | OCOTILLO WINDPOWER LP (RE) | 8251691003000
|  |  |  | ILUMINAR ENERGY LLC (LSE) | 8292445521000 | ODESSA-ECTOR POWER PARTNERS LP | 096003871
|  |  |  | ILUMINAR ENERGY LLC DBA ALLTEX POWER AND LIGHT (LSE) | 8292445521100 | OKLAHOMA MUNICIPAL POWER AUTHORITY | 148268782
|  |  |  | ILUMINAR ENERGY LLC DBA PREMIUM POWER AND LIGHT (LSE) | 8292445521200 | OPTIM ENERGY ALTURA COGEN LLC (RE) | 137551321
|  |  |  | INFINITE ELECTRIC LLC (LSE) | 9636606881000 | OPTIM ENERGY CEDAR BAYOU 4 LLC (RE) | 8287364913000
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY (LSE) | 110569998 | OPTIM ENERGY TWIN OAKS LP (RE) | 622797277
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY TEXAS RGV | 1105699981000 | ORANGE COUNTY CONTAINER GROUP LLC (RE) | 0557607223000
|  |  |  | KERRVILLE PUBLIC UTILITY BOARD (LSE) | 1248248061000 | OWENS CORNING (LAAR) | 007332570
|  |  |  | KINETIC ENERGY LLC | 792535846 | OXY USA INC (RE) | 8004009593000
|  |  |  | LEHMAN POWER SERVICES LLC (LSE) | 8263033511000 | OXY USA WTP LP | 133260518
|  |  |  | LIBERTY POWER CORP. | 112361204 | OXY VINYLS LP | 061805003
|  |  |  | LIBERTY POWER DELAWARE LLC | 625111021 | PACTIV CORPORATION | 005211768
|  |  |  | LIBERTY POWER HOLDINGS LLC | 784087293 | PARALLEL PETROLEUM LLC (RE) | 021937438
|  |  |  | LIBERTY POWER TEXAS LLC | 785076246 | PARIS GENERATION LP (RE) | 019931419
|  |  |  | LIGHTHOUSE ELECTRIC CO OP (LSE) | 0028252891000 | PATTERN GULF WIND LLC (RE) | 8328495613000
|  |  |  | LOWER COLORADO RIVER AUTHORITY (LSE) | 0432268851000 | PENASCAL II WIND PROJECT LLC (RE) | 8319703273000
|  |  |  | LPT LLC DBA LPT SP LLC | 6116339131000 | PENASCAL WIND POWER LLC (RE) | 8055242413000
|  |  |  | LUMINANT ET SERVICES COMPANY (LSE) | 1733370281500 | PENASCAL WIND POWER LLC B (RE) | 8055242413100
|  |  |  | LYNTEGAR ELECTRIC CO OP INC (LSE) | 0079371471000 | PIONEER NATURAL RESOURCES USA INC | 154679435
|  |  |  | MAGIC VALLEY ELECTRIC CO OP INC (LSE) | 0089515011000 | PIONEER NATURAL RESOURCES USA INC DBA PIONEER 2 | 1546794353000
|  |  |  | MEGA ENERGY LP | 801176327 | POST OAK WIND LLC | 791082162
|  |  |  | MIDAMERICAN ENERGY COMPANY (LSE) | 8847187681000 | POST WIND FARM LP | 615332074
|  |  |  | MONONGAHELA COMMUNICATIONS LLC (LSE) | 8307007661000 | POWER RESOURCES LTD | 021985348
|  |  |  | MP2 ENERGY TEXAS LLC (LSE) | 8281436311000 | PRIZE PETROLEUM LLC (RE) | 8097740083000
|  |  |  | MXENERGY ELECTRIC INC II (LSE) | 1480623541000 | PUBLIC SERVICE CO OF OKLAHOMA | 007907926
|  |  |  | MXENERGY ELECTRIC LSE | 148062354 | PYRON WIND FARM LLC (RE) | 8080226983000
|  |  |  | NATIONS POWER LLC (LSE) | 807179234 | QUANTUM RESOURCES MANAGEMENT LLC (RE) | 7838003083000
|  |  |  | NEUMIN PRODUCTION CO | 074606807 | RELIANT ENERGY POWER SUPPLY LLC - IDENTIFIED IN ERCOT AS REPS | 1213912183000
|  |  |  | NEW BRAUNFELS UTILITIES (LSE) | 0383461691000 | RHODIA INC | 002959810
|  |  |  | NEW MEXICO NATURAL GAS LP DBA TEXAS POWER | 807025689 | RIO GRANDE VALLEY SUGAR GROWERS INC (RE) | 066447418
|  |  |  | NEXTERA ENERGY POWER MARKETING LLC (LSE) | 0544813411000 | RIO NOGALES POWER PROJECT LP | 801232849
|  |  |  | NEXTERA RETAIL OF TEXAS LP (LSE) | 784382017 | ROSCOE WIND FARM LLC (RE) | 808022839
|  |  |  | NOBLE AMERICAS ENERGY SOLUTIONS LLC (LSE) | 968254276 | SAN MIGUEL ELECTRIC CO OP INC (RES) | 088484852
|  |  |  | NOORUDDIN INVESTMENTS LLC DBA DISCOUNT POWER (LSE) | 8254301971000 | SAND BLUFF WIND FARM LLC (RE) | 617540161
|  |  |  | NUECES ELECTRIC COOPERATIVE INC RETAIL DIVISION (NEC RD) | 0088288571000 | SANDOW POWER COMPANY LLC (RE) | 8094637433000
|  |  |  | OCCIDENTAL POWER MARKETING LP (LSE) | 052298721 | SANDY CREEK ENERGY ASSOCIATES LP (RE) | 1390201553000
|  |  |  | OCCIDENTAL POWER SERVICES INC (LSE) | 1118490501000 | SCURRY COUNTY WIND II LLC (RE) | 807685495
|  |  |  | OUR ENERGY LLC (LSE) | 8273832461000 | SCURRY COUNTY WIND LP | 7887170023000
|  |  |  | PEDERNALES ELEC CO OP INC AEP (LSE) | 0079241111100 | SEADRIFT COKE LP | 190593574
|  |  |  | PEDERNALES ELECTRIC CO OP INC (LSE) | 0079241111000 | SEADRIFT COKE LP (RES) | 138602581
|  |  |  | PEGASUS ALLIANCE CORPORATION DBA ONPAC ENERGY (LSE) | 136387466 | SHELL OIL COMPANY (RESOURCE) | 008090938
|  |  |  | PENNYWISE POWER LLC (LSE) | 8286293161000 | SHERBINO I WIND FARM LLC (RE) | 8081175143000
|  |  |  | PENSTAR POWER LLC (LSE) | 144991671 | SHERBINO II WIND FARM LLC (RE) | 9680300933000
|  |  |  | PENSTAR POWER LLC 1 (LSE) | 1449916711000 | SID RICHARDSON CARBON LTD | 008016495
|  |  |  | PEPCO ENERGY SERVICES INC (LSE) | 106173672 | SIGNAL HILL WICHITA FALLS POWER LP | 623880759
|  |  |  | PILOT POWER GROUP INC. | 930453365 | SILVER STAR I POWER PARTNERS LLC (RE) | 808472752
|  |  |  | POTENTIA ENERGY LLC (LSE) | 809047512 | SNYDER WIND FARM LLC (RE) | 806270901
|  |  |  | PRELECTRIC ENERGY SERVICES LLC (LSE) | 159059315 | SOLVAY CHEMICALS INC | 130868656
|  |  |  | PRIER ENERGY INC | 800805835 | SOUTH HOUSTON GREEN POWER LP | 809788672
|  |  |  | PRIER ENERGY INC DBA BUBBA POWER (LSE) | 8008058351200 | SOUTH TEXAS ELECTRIC CO OP INC (RES) | 0038663323000
|  |  |  | PRIER ENERGY INC DBA GENERAL POWER AND LIGHT (LSE) | 8008058351000 | SOUTH TEXAS ELECTRIC COOPERATIVE INC WIND RESOURCE ENTITY (RE) | 0038663323100
|  |  |  | PRIER ENERGY INC DBA TODAYS ENERGY (LSE) | 8008058351100 | SOUTH TRENT WIND LLC (RE) | 8261794213000
|  |  |  | PROTON ENERGY INC (LSE) | 8305909511000 | SOUTHWESTERN ELECTRIC POWER COMPANY BLT (RE) | 0069487643000
|  |  |  | PULSE ELECTRIC INC (LSE) | 8282993751000 | SPENCER STATION GENERATING COMPANY LP | 027178974
|  |  |  | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (LSE) | 6243686011000 | STANTON WIND ENERGY LLC (RE) | 808274604
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EPCO (LSE) | 6243686011200 | STEPHENS AND JOHNSON OPERATING CO | 926840646
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EXP (LSE) | 6243686011100 | SUEZ ENERGY GENERATION NA | 054447164
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC HOUPL (LSE) | 6243686011400 | SWEENY COGENERATION LP | 117207469
|  |  |  | REACH ENERGY LLC | 791894152 | SWEETWATER WIND 1 LLC (RES) | 137899477
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC | 799530915 | SWEETWATER WIND 2 LLC (RES) | 1378994773000
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC DBA RELIANT ENERGY SOLUTIONS | 616498114 | SWEETWATER WIND 3 LLC (RES) | 603943148
|  |  |  | RELIANT ENERGY TEXAS RETAIL LLC (LSE) | 8286294561000 | SWEETWATER WIND 3 LLC CPS (RES) | 6039431483000
|  |  |  | REPUBLIC POWER DBA ENERGY AMERICA II (TEST) | 0397133541100 | SWEETWATER WIND 4 LLC (RES) | 620989017
|  |  |  | RIO GRANDE ELEC CO OP (LSE) AEP | 0027819531100 | SWEETWATER WIND 5 LLC (RE) | 800324332
|  |  |  | RIO GRANDE ELECTRIC CO OP (LSE) TXU | 0027819531000 | TARGA CO-GENERATION LLC (RE) | 8303951793000
|  |  |  | SAN BERNARD ELECTRIC CO OP (LSE) | 0089453131000 | TENASKA FRONTIER PARTNERS LTD | 021680330
|  |  |  | SHARYLAND UTILITIES LP BRADY (LSE) | 1052623361100 | TENASKA GATEWAY PARTNERS LTD | 014875921
|  |  |  | SHARYLAND UTILITIES LP CELESTE (LSE) | 1052623361200 | TEXAS A AND M UNIVERSITY (RE) | 8023392343000
|  |  |  | SHELL ENERGY NORTH AMERICA (US) LP (LSE) | 9375172661100 | TEXAS BIG SPRING LP | 196803006
|  |  |  | SOLARO ENERGY MARKETING CORPORATION (LSE) | 128849358 | TEXAS MED CENTER CENTRAL HEATING AND COOLING SERVICES CORP (RE) | 0919431593000
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) | 0038663321000 | TEXAS PETROCHEMICALS LLC (RE) | 102647005
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) AEP | 0038663321100 | TEXAS PETROLEUM INVESTMENT COMPANY | 619010770
|  |  |  | SOUTH TEXAS ELECTRIC COOPERATIVE (POLR) | 0038663321300 | TEXAS PETROLEUM INVESTMENT COMPANY 2 (RE) | 6190107703000
|  |  |  | SOUTHWEST TEXAS ELECTRIC CO OP INC (LSE) | 0084158951000 | TEXAS STATE TECHNICAL COLLEGE | 0203177493000
|  |  |  | SOUTHWESTERN ELECTRIC POWER COMPANY BLT (LSE) | 0069487641000 | TEXOGA TECHNOLOGIES INC | 014653880
|  |  |  | SOUTHWESTERN PUBLIC SERVICE COMPANY (LSE) | 0073697131000 | THE DOW CHEMICAL CO | 001381581
|  |  |  | SPARK ENERGY LP | 037597437 | THE DOW CHEMICAL COMPANY LAAR | 0013815811000
|  |  |  | SPARK ENERGY LP - DBA FIRE FLY POWERED BY SPARK ENERGY | 0375974371000 | TICONA POLYMERS INC | 785971219
|  |  |  | STAR ELECTRICITY INC DBA STARTEX POWER (LSE) | 148055531 | TRADINGHOUSE POWER COMPANY LLC (RE) | 6062523933500
|  |  |  | STARLIGHT ENERGY LP | 181203170 | TRENT WIND FARM LP (RE) | 019125751
|  |  |  | STATE POWER COMPANY INC (LSE) | 801220844 | TRINITY OAKS ENERGY LLC (RE) | 9640619773000
|  |  |  | STREAM GAS AND ELECTRIC LTD (LSE) | 159008395 | TURKEY TRACK WIND ENERGY LLC (RE) | 8278100813000
|  |  |  | TARA ENERGY LLC (LSE) | 111950619 | TX LFG ENERGY LP (RE) | 930187393
|  |  |  | TARA ENERGY LLC DBA SMART PREPAID ELECTRIC (LSE) | 1119506191000 | TX SOLAR I LLC (RE) | 8332815903000
|  |  |  | TAYLOR ELECTRIC CO OP INC (LSE) | 0079344251000 | TXI OPERATIONS LP | 0410834033000
|  |  |  | TAYLOR ELECTRIC CO OP INC-ABILENE (LSE) | 0079344251100 | UNION CARBIDE CORP | 008073322
|  |  |  | TELECOM CONSULTING AND SERVICES LLC DBA TCS ENERGY (LSE) | 8293064921000 | UNION CARBIDE CORPORATION SEADRIFT | 001005623
|  |  |  | TENASKA POWER SERVICES CO (LSE) | 015016913 | VALERO REFINING - TEXAS LP (AEP AS QSE) (RES) | 0793912803000
|  |  |  | TENASKA POWER SERVICES CO DBA TPS I | 0150169131000 | VALERO REFINING COMPANY TEXAS | 079391280
|  |  |  | TENASKA POWER SERVICES CO DBA TPS II | 0150169131100 | VALLEY NG POWER COMPANY LLC | 602936218
|  |  |  | TENASKA POWER SERVICES CO DBA TPS III | 0150169131200 | VICTORIA WLE LP (RES) | 146130914
|  |  |  | TENASKA POWER SERVICES CO DBA TPS4 | 0150169131300 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (RES) | 0817196273000
|  |  |  | TENASKA TOPS REP LP | 109518444 | WEST TEXAS RENEWABLES LP | 196805787
|  |  |  | TENASKA TOPS REP LP DBA TOPS I | 1095184441000 | WEST TEXAS WIND ENERGY PARTNERS LP (RE) | 016106234
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (BLT LSE) | 6091700301300 | WG OPERATING INC | 017608972
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (LSE) | 609170030 | WHARTON COUNTY GENERATION LLC (RE) | 808022045
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS INC./TPS (LSE) | 6091700301100 | WHARTON COUNTY POWER PARTNERS LP (RES) | 141250287
|  |  |  | TEX-LA ELECTRIC COOPERATIVE OF TEXAS INC /AEP2 (LSE) | 6091700301200 | WHIRLWIND ENERGY LLC | 787093462
|  |  |  | TEXAS POWER LP (LSE) | 614848005 | WILSONART INTERNATIONAL INC | 198165458
|  |  |  | TEXAS POWER LP DBA PRE PAY POWER (LSE) | 6148480051000 | WIND MANAGEMENT LLC | 787853030
|  |  |  | TEXAS RETAIL ENERGY LLC (LSE) | 124238432 | WINDPOWER PARTNERS 1994 LP AUSTIN ENERGY (RES) | 9491182853100
|  |  |  | TEXPO POWER LP DBA YEP | 780061300 | WINDPOWER PARTNERS 1994 LP LCRA (RES) | 949118285
|  |  |  | TEXREP1 LLC DBA EPCOT ELECTRIC (LSE) | 788707912 | WISE COUNTY POWER COMPANY LLC | 0544471643000
|  |  |  | TEXREP3 LLC DBA MILAGRO ELECTRIC (LSE) | 8071239431000 | WM RENEWABLE ENERGY II LLC (RE) | 1946720853000
|  |  |  | TEXREP7 LLC (LSE) | 8292946981000 | WM RENEWABLE ENERGY III LLC (RE) | 1474490083000
|  |  |  | THE ROYAL BANK OF SCOTLAND PLC (LSE) | 229123146 | WM RENEWABLE ENERGY LLC (RE) | 194672085
|  |  |  | TRIEAGLE ENERGY LP (LSE) | 124769063 | WM RENEWABLE ENERGY LLC IV (RE) | 1474490083100
|  |  |  | TRIEAGLE ENERGY LP DBA EAGLE ENERGY | 1247690631100 | WM RENEWABLE ENERGY LLC VI (RE) | 1474490083200
|  |  |  | TRIEAGLE ENERGY LP DBA PILOT ENERGY | 1247690631200 | WOLF HOLLOW I LP | 018840392
|  |  |  | TRIEAGLE ENERGY LP DBA POWER HOUSE ENERGY | 1247690631300 | WOLF RIDGE WIND LLC (RE) | 8091299223000
|  |  |  | TRIEAGLE ENERGY LP DBA TRIEAGLE ENERGY SERVICES | 1247690631000 | NOT LISTED | 0
|  |  |  | TRUE ELECTRIC LLC | 793874822
|  |  |  | TRUE ELECTRIC LLC DBA MILAGRO ELECTRIC (LSE) | 7938748221100
|  |  |  | TRUE ELECTRIC LLC DBA MILAGRO POWER (LSE) | 7938748221200
|  |  |  | TWIN EAGLE RESOURCE MANAGEMENT LLC DBA TERM POWER AND GAS (LSE) | 9651778891000
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (LG NR POLR) | 1733370281300
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (RES POLR) | 1733370281100
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (SM NR POLR) | 1733370281200
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA TXU ENERGY | 1733370281000
|  |  |  | TXU SESCO CO (LSE) | 0079280961000
|  |  |  | TXU SESCO ENERGY SERVICES COMPANY (SUBLSE) | 1733370281400
|  |  |  | VETERAN ENERGY LLC (LSE) | 0102173951000
|  |  |  | WEATHERFORD MUNICIPAL UTILITY SYSTEM (LSE) | 0817196271000
|  |  |  | WEIR INVESTMENTS FUND LLC DBA APOLLO POWER AND LIGHT LLC (LSE) | 8282227731000
|  |  |  | WESTERN FARMERS ELECTRIC COOPERATIVE (LSE) | 072862407
|  |  |  | WOLVERINE ALTERNATIVE INVESTMENTS LLC (LSE) | 9683020211000
|  |  |  | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (LSE) | 0079233111000
|  |  |  | WTU RETAIL ENERGY LP (LSE) | 017741294
|  |  |  | WTU RETAIL ENERGY LP 1100 | 0177412941100
|  |  |  | WTU RETAIL ENERGY LP DBA WTU | 0177412941200
|  |  |  | XOOM ENERGY TEXAS LLC (LSE) | 9682901761000
|  |  |  | YOUNG ENERGY LLC DBA PAYLESS POWER (LSE) | 189069284
|  |  |  | NOT LISTED | 0