## Sheet1
TNMP Monthly Report to AMIT
2012-03-01
| 2012-03-01 | YTD 2012 | Comments/Description
1) Number of meters deployed | 3988 | 36123 | YTD reflects the total deployed since 9/19/11
2) Number of meters provisioned | 5852 | 33140
3) % of daily register reads | 99.83% | 99.87%
4) # of HAN devices provisioned | 0 | 0
5) % of service orders performed remotely: | 99.3% | 97%
Turn-Ons | 99.2% | 96.6%
Turn-Offs | 98.1% | 96.1%
Disconnects | 99.6% | 97.1%
Reconnects | 99.8% | 97.9%
Switches | 100% | 98.2%
Rereads | 93.3% | 95.1%
6) Number of service orders performed: | 2983 | 7579
Turn-Ons | 1566 | 3927
Turn-Offs | 216 | 484
Disconnects | 511 | 1348
Reconnects | 425 | 1130
Switches | 250 | 649
Rereads | 15 | 41
7) Number of meters replaced | 108 | 416 | YTD represents total count of all meters replaced since deployments began on 9/19/11.
8) AMS Upgrades
- TDU Head-End/Back-Office upgrade? | yes/no | No
- Meter Upgrade?
Software | yes/no | No
Firmware | yes/no | No
- Cell Relay or Data Collector upgrade? | yes/no | N/A
9) Meter Hardware Standardization
All residential meters currently deployed are of the same make/model (GE I210+C)
10) Meter Firmware Standardization
All deployed meters are currently on the same firmware version (I210C04.0.3.0.0)
11) Any education updates
Customer education campaign has received Staff approval and is targeted to begin use in Q2 2012 in conjunction with the deployments in Dickinson, TX
- Major enhancement is the inclusion of outdoor advertising
12) Any other deployment updates
No additional updates.