APPROVED

Protocol Revision Subcommittee (PRS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 29, 2012 – 9:30am

- Attendance

Members:

| Brod, Bill | AES |  |
| --- | --- | --- |
| Burke, Tom | Brazos Electric Power Cooperative |  |
| Durrwachter, Henry | Luminant |  |
| Lange, Clif | South Texas Electric Cooperative | Via Teleconference |
| Ögelman, Kenan | CPS Energy | Alt. Rep. for D. Detelich |
| Varnell, John | Tenaska Power Services |  |
| Wagner, Marguerite | Edison Mission |  |
| Walker, DeAnn | CenterPoint Energy |  |

Guests:

| Anklam, Robert | Cargill | Via Teleconference |
| --- | --- | --- |
| Berlinski, Mike | Beacon Power | Via Teleconference |
| Black, Julie | PUCT | Via Teleconference |
| Brandt, Adrianne | Austin Energy |  |
| Bryant, Mark | PUCT | Via Teleconference |
| Carter, Kevin | Duke Energy | Via Teleconference |
| Carter, Tim | Constellation | Via Teleconference |
| Gedrich, Brian | NextEra |  |
| Goff, Eric | Reliant |  |
| David Hastings |  | Via Teleconference |
| Hellinghausen, Bill | EDF Trading | Via Teleconference |
| Helton, Bob | IPR-GDF Suez Energy Marketing NA |  |
| Jones, Liz | Oncor |  |
| Jones, Randy | Calpine |  |
| Juricek, Michael | Oncor |  |
| King, Robert | NAPP |  |
| Kolodziej, Eddie | Customized Energy Solutions | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Martinez, Alberto | ECS Grid | Via Teleconference |
| McClellan, Suzi | Good Company/NAPP |  |
| McMurray, Mark | Direct Energy |  |
| Nease, Nelson | Nucor Steel – TX |  |
| Obillo, Joel | Enernoc | Via Teleconference |
| Perlman, Brett |  | Via Teleconference |
| Pieniazek, Adrian | NRG |  |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Smith, Mark |  |  |
| Stricklett, Rebecca | LCRA |  |
| Trostle, Kay | CMC |  |
| Wagner, Marguerite | Edison Mission |  |
| Watson, Markham | Platts | Via Teleconference |
| Whittle, Brandon |  | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Boren, Ann |  |  |
| Dumas, John |  |  |
| Garza, Thelma |  | Via Teleconference |
| Hobbs, Kristi |  |  |
| Potluri, Tejaswi |  | Via Teleconference |
| Roark, Dottie |  | Via Teleconference |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

2012 PRS Chair Tom Burke called the meeting to order at 9:33 a.m.

Antitrust Admonition

Mr. Burke directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.

Nodal Protocol Revision Request (NPRR) 451, Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS) (see Key Documents)

ERCOT Staff reviewed NPRR451 and the 3/27/12 ERCOT comments, and noted that Emergency Interruptible Load Service (EILS), now Emergency Response Service (ERS), is being opened to participation to Resources that are capable of injecting energy to the ERCOT Grid, are non-registered, non-intermittent, and dispatchable; that ERCOT Staff is evaluating compliance review for ERS at the Qualified Scheduling Entity (QSE) portfolio level; and that three areas of concern – implementation of a 30-minute Demand response product, an eight hour deployment limitation of ERS Resources, and the requirement for ERCOT to procure ERS Resources using a market clearing price methodology – will be addressed at a later time.

Regarding a 30-minute Demand response product, ERCOT Staff acknowledged there are many Loads that cannot meet a 10-minute requirement; that ERCOT is planning to run a 30-minute Demand response program in the form of a pilot; and that Project 40150, PUC Rulemaking Proceeding Concerning an ERCOT Pilot Project, is in flight and will allow ERCOT to run pilots with permission from the ERCOT Board.  Eric Goff expressed support for the project and encouraged ERCOT to develop a program rather than use pilot authority.  Randy Jones expressed concern for evaluating ERS Resource performance at the QSE portfolio level, opining that the measure would be a significant departure in the Nodal Market, which is strictly unit-specific; and that ERS Resources should have the most stringent compliance requirements, as they are deployed when the system is most vulnerable.

Market Participants raised concerns regarding compliance of backup generators with Environmental Protection Agency (EPA) or Texas Commission on Environmental Quality (TCEQ) Rules on air emissions.  ERCOT Staff noted that a number of comments had been received regarding environmental impact and that some amended language had been offered in response, but that while ERCOT shares concerns, ERCOT cannot take on an enforcement role.  Market Participants also discussed Real-Time opt/in, opt/out, and contract auto renewal.  Marguerite Wagner suggested that a written business process would help in understanding decision logic.

Market Participants discussed whether ERS Resources should be required to provide Primary Frequency Response and voltage support.  ERCOT Staff noted that the overriding concern at this time is to contract the necessary MWs to meet projected Resource adequacy concerns, and committed that should participation in ERS grow to a level where there is a perceived inability to provide Primary Frequency Response, the issue will be addressed.  ERCOT Staff added that it is known, anecdotally, that some of the units in question can provide Primary Frequency Response and voltage support.  Market Participants expressed concern for waiting to place such requirements on ERS Resources; modeling difficulties should only some units be able to provide; and jeopardizing equipment.  Mr. R. Jones suggested that the question of participation levels be put to the Reliability and Operations Subcommittee (ROS), Performance Disturbance Compliance Working Group (PDCWG) and the Dynamics Working Group (DWG).  ERCOT Staff offered to work with the ROS working groups, noting that as the Resources in question are unregistered, and a method for data collection will have to be developed.

Market Participants further discussed the necessity of ERS Resources to perform when called upon; that the most recent version of the Nodal Protocols will be applicable for each contract period, as opposed to units being “grandfathered”; and that testing and suspension will be at the Resource level.  Henry Durrwachter expressed concern that ERS Resources will not be required to meet performance requirements on their own; that QSEs bear the risk for performance violations; and that QSEs will be reluctant to take on ERS Resources.  Market Participants discussed whether penalty provisions in QSE contracts would be useful; and that monitoring performance at the QSE level is inconsistent with the Nodal Market design and with the goal of having a reliable product in Energy Emergency Alert (EEA) Step 2.   ERCOT Staff noted that the provision attends to suspensions only; that ERCOT does not wish to comment on the specifics of bilateral contracts; and that the intent of the language is to not suspend ERS Resources for minor infractions, but to provide QSEs the tool to manage their portfolios and provide ERCOT the necessary MWs when needed.

Market Participants proposed language revisions.

Mr. Durrwachter moved to recommend approval of NPRR451 as amended by the 3/27/12 ERCOT comments as revised by PRS, and to forward NPRR451 to TAC.  Mr. Goff seconded the motion.  The motion carried with three abstentions from the Independent Generator Market Segment.

Adjournment

Mr. Burke adjourned the March 29, 2012 Special PRS meeting at 12:00 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2012/03/20120329-PRS