| NOGRR Number | 096 | NOGRR Title | Clarification of RRS Obligation |
| --- | --- | --- | --- |
| Date Posted |  | May 22, 2012 |  |

| Requested Resolution | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 2.3.1.1, Obligation |
| Protocol Section(s) Requiring Revision | None. |
| Revision Description | The Other Binding Document, Methodologies for Determining Ancillary Service Requirements, describes a process that may be used to procure additional Responsive Reserve Service (RRS). This Nodal Operating Guide Revision Request (NOGRR) references that Other Binding Document and also adds clarifying language affirming that the minimum RRS obligation remains unchanged (2300 MW), but that additional RRS may be procured if there is a reliability need. |
| Reason for Revision | The clarifying language is generic so that if the RRS process described in the Methodologies for Determining Ancillary Service Requirements is modified, the Operating Guides may not need to be. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | This NOGRR will help eliminate confusion regarding the minimum RRS obligation. |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

Proposed Guide Language Revision

- 2.3.1.1	Obligation

ERCOT operating reserve requirements are more restrictive than North American Electric Reliability Corporation (NERC) Reliability Standards.  The RRS obligation is a minimum of 2300 MW.  The amount of RRS procured may be adjusted as described in ERCOT Methodologies for Determining Ancillary Service Requirements or if ERCOT determines a reliability need for additional Ancillary Service Resources.