- Section 2:

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- This Nodal Protocol Revision Request (NPRR) implements the provisions of P.U.C. Subst. R. 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS).  Project 39948, Rulemaking to Amend Subst. R. 25.507, Relating to Electric Reliability Council of Texas (ERCOT) Emergency Interruptible Load Service (EILS), was adopted by the Public Utility Commission of Texas (PUCT) on March 22, 2012.

- Revised Subsections:  2.1, 2.2 [unboxed due to effective date]

- Section 3:

NPRR441 – Revision of Dynamic Rating Recommendation Posting Timeline

- This NPRR changes the frequency of posting the list of transmission lines recommended for Dynamic Ratings from semi-annual to annual.

Revised Subsection:  3.10.8.4

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- See Section 2 above.

- Revised Subsections:  3.14, 3.14.3, 3.14.3.1 (new), 3.14.3.2 (new), 3.14.3.3 (new), 3.14.3.4 (new) [unboxed due to effective date]

- Section 4:

NPRR442 – Energy Offer Curve Requirement for Generation Resources Providing Reliability Must-Run Service

- This NPRR adds requirements for a Reliability Must-Run (RMR) Unit’s Energy Offer Curve to be set at the System-Wide Offer Cap (SWCAP) for Generation Resources providing RMR Service; and for ERCOT to construct a Mitigated Offer Cap curve for Resources contracted for capacity, such that those Resources are not mitigated in Security-Constrained Economic Dispatch (SCED) and hence will be Dispatched for local constraints only if the prices are higher than or equal to SWCAP.

- Revised Subsections:  4.4.8, 4.4.9.4.1 [effective upon system implementation]

- Section 6:

NPRR442 – Energy Offer Curve Requirement for Generation Resources Providing Reliability Must-Run Service

- See Section 4 above.

Revised Subsection:  6.4.3 [effective upon system implementation]

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- See Section 2 above.

- Revised Subsections:  6.5.9.4, 6.5.9.4.2, 6.5.9.4.3, 6.6.11, 6.6.11.1, 6.6.11.2 [unboxed due to effective date]

- Section 8:

NPRR412 – Quick Start Generation Resource Compliance Metric Adjustments

- This NPRR clarifies the requirements regarding the performance criteria of a Quick Start Generation Resource (QSGR).

Revised Subsection: 8.1.1.2

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- See Section 2 above.

- Revised Subsections:  8.1.3, 8.1.3.1, 8.1.3.1.1 (new), 8.1.3.1.2 (new), 8.1.3.1.3 (new), 8.1.3.1.3.1 (new), 8.1.3.1.3.2 (new), 8.1.3.1.3.3, (new) 8.1.3.1.4 (new), 8.1.3.2, 8.1.3.3, 8.1.3.3.1, 8.1.3.4 [unboxed due to effective date]

- Section 9:

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- See Section 2 above.

- Revised Subsection:  9.14.5 [unboxed due to effective date]

- Section 16:

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- See Section 2 above.

- Revised Subsection:  16.13 [unboxed due to effective date]

NPRR439 – Updating a Counter-Party’s Available Credit Limit for Current Day DAM

- This NPRR provides flexibility for Counter-Parties to increase the credit limit available for the Day-Ahead Market (DAM) on the day the DAM is running by posting additional Financial Security under certain circumstances after ERCOT has already set a daily credit limit.

- Revised Subsections: 16.11.4.6, 16.11.4.6.2 [effective upon system implementation]

- Section 22:

NPRR451 – Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS)

- See Section 2 above.

- Revised Subsection:  22G [unboxed due to effective date]