Load Provided Capacity

Demand Side Working Group

May 7, 2012

Introduction

NPRR 432 was written to give ERCOT additional authority to contract with owners of mothballed generating units in the event ERCOT determines that there is an “anticipated Emergency Condition” on the grid that could not otherwise be managed with existing available Resources. When TAC approved NPRR 432 on February 2, 2012, discussion occurred as summarized in the NPRR TAC Report as follows: “Participants also discussed … whether the procurement provision should include Load Resources, and if so, whether additional detail is needed regarding how contracts with Load Resources will be structured.”  This discussion resulted in a directive from WMS to the DSWG to review the language of the approved NPRR 432 and recommend any needed changes to the Protocols to determine how a Load Entity will contract with ERCOT under this new authority as an alternative to ERCOT procuring Generation Resources.

Subsequently, NPRR 450 “Revise Requirements for Contracts to Procure Additional Capacity to Alleviate Emergency Conditions (formerly “Revise Board Approval Requirement for Contracts to Procure Additional Capacity to Alleviate Emergency Conditions”) was approved by the Board on 4-17-12 which allows ERCOT to contract with loads for purposes similar to NPRR 432.  The Board discussion anticipates that TAC will address the following issues as concern loads providing this service to ERCOT:  performance requirements, settlement (including verifiable costs), and offer requirements to avoid price reversal when deployed.

This white paper addresses the basic parameters to be used when ERCOT contracts with Loads in meeting the service objectives for which NPRR 432 was intended.

Review of NPRR 432 and NPRR 450

The approved NPRR 432 uses the term “Resources”, as is done in many parts of the protocols, to imply that a provision applies to both Generation and Load Resources.  NPRR 450 adds clarification when provisions apply to Generation Resources and when provisions apply to Loads providing capacity.  In Section 6.5.1.1 (2) (a) and (c) NPRR 432 states four distinct criteria for ERCOT to use in procuring the service for which NPRR 432 and NPRR 450 are intended to identify potential Generation Resources or Load providing capacity considered by ERCOT to be acceptable for providing the additional capacity.

- Any capacity procured pursuant to this paragraph will be procured using an open process, and the terms of the procurement between ERCOT and the Entity will be memorialized in contracts that will be publicly available for inspection on the ERCOT website.

- Each contract will include specified financial terms and termination dates.  For purposes of Settlement, any contract associated with a Generation Resource will include substantially the same terms and conditions as an RMR Unit under a RMR Agreement, including the Eligible Cost budgeting process.

- Approval of ERCOT’s actions by the ERCOT Board must be obtained before ERCOT may execute such a contract.  The consideration of the merits of the contract will be considered at an open session of the ERCOT Board prior to its vote.  ERCOT shall provide notice to the ERCOT Board, at the next ERCOT Board meeting after ERCOT has signed the contract, that the actions required prior to execution of the contract, pursuant to paragraphs (2)(a) through (c) above, were completed by ERCOT before the contract was executed.

- Any information submitted by the Entity to ERCOT through the procurement process may be designated as Protected Information and treated in accordance with the provisions of Section 1.3, Confidentiality, provided that final contract terms must be made available for public inspection.

However, when discussing Settlement in the second criteria [see Section 6.5.1.1 (2) (c) (ii)], the terminology only applies to Generation Resources.  For purposes of settlement of Load providing capacity will be as described herein and described in any future NPRR.

The NPRR 432 states how settlement would occur for Generation Resources, as follows: “For purposes of Settlement, any contract associated with a Generation Resource will include substantially the same terms and conditions as an RMR Unit under a RMR Agreement, including the Eligible Cost budgeting process.”  The NPRR 432 is silent on how a contract for Capacity with a Load Entity might be settled.

The capital improvements provisions of NPRR 432 and 450 will not be applicable to Load providing capacity and will not be made available to loads due to the complexity involved.  Any changes to metering of Loads provided capacity will be as described in the agreement between ERCOT and Load provided capacity with the capital improvements associated with the metering paid by the Load Entity if such metering related costs are not covered under transmission/distribution metering tariffs.

ERCOT’s Intent When Procuring Additional Capacity from Loads

The Demand Side Working Group formed a subgroup to review how Load could be contracted to provide system Capacity for ERCOT’s use during anticipated “Emergency Conditions”.  At the first subgroup meeting, ERCOT staff explained that their intent was to negotiate agreements directly with a Load Entity that would require curtailment of the load when so directed by ERCOT.   This agreement would follow a generalized form stating certain high level parameters of the contract, but the details of the agreement would be negotiated between the parties.  To provide some consistency between differing Loads and establish an expectational framework for Load Entities who may be potential providers of Capacity for this purpose, ERCOT is asking Market Participants to describe generally the high-level parameters of such a contract.

The preceding paragraph causes concern for some Market Participants.  Some Market Participants believe there should be a single framework that Load Entities offer to provide capacity for anticipated Emergency Conditions.  Load providing capacity and Generation Resources should participate in the “Energy Only Market”.   NPRRs 432 and 450 provide for instances when Resources and Loads will not participate in the “Energy Only Market” but for a capacity contract with ERCOT.  Some Market Participants believe the intent of these NPRRs is for ERCOT to have the ability to purchase capacity from either Load Entities or Generation Resources.  Therefore the framework of both types of offers needs to be similar so that they are more easily compared.

Option 1A

ERCOT may contract with Load Entities providing capacity without using an RFP or a standardized contract. If time permits, ERCOT shall use a standardized RFP and standardized agreements.

Option 1B

ERCOT must always use a standardized RFP and standardized agreement for procurement of capacity from Load Entities providing capacity.

Option 1C

ERCOT shall develop a standardized RFP and standardized agreement for procurement of capacity from Load Entities.  These standardized documents will allow for diverse responses.  ERCOT shall use this RFP; however, ERCOT may consider and accept responses that do not conform to the standardized agreement or not accept any responses.

During discussion at the initial subgroup meeting, an apparent consensus was reached that ERCOT’s request would be best provided by drafting a “White Paper” describing the procurement process, while ERCOT drafted several changes to pending NPRR 450 to clarify how ERCOT would contract with Load Entities to provide capacity for the purposes suggested in paragraph (2) of Protocols Section 6.5.1.1, ERCOT Control Area Authority. This paper will evolve into either NPRRs or an “Other Binding Document” to serve as the vehicle to provide information to Market Participants and to ERCOT for their guidance when contracting with Load Entities for Capacity.

ERCOT staff also expressed their intent that only Loads not already registered and/or participating in ERCOT services (such as Response Reserve Service (RRS) and Emergency Response Service (ERS)) will be considered to provide capacity under Section 6.5.1.1.  Thus, current Load Resources and contracted ERS Loads would be excluded from eligibility so as not to diminish the importance of those ERCOT services.

Contracting for Capacity from Generators and Loads

As set forth in Protocols 6.5.1.1, ERCOT Control Area Authority, when ERCOT identifies “an anticipated Emergency Condition relating to serving Load in the current or next Season” ERCOT may undertake a competitive process to obtain Capacity potentially from both loads and generation.  After ERCOT determines there will be an “anticipated” Emergency Condition in the future, ERCOT would issue notice that it will consider offers from mothballed generators and from potential Load Entities that have expressed an interest in providing the requested Capacity to ERCOT.   ERCOT intends to consider proposals from all types of generation and loads.  ERCOT will evaluate proposals to identify which proposal provides the needed reliability service at least cost over the entire contract period.

By structuring the notice so that generator offers for Capacity can be value judged against potential offers from many different types of loads, a least cost solution can be developed to manage the potential emergency.  This likely will result in one offer price structure for Load-provided capacity and a different price structure for generation.  However, such differences can be evaluated by ERCOT by estimating the total cost of the Capacity over the length of the timeline of such contracting by making various assumptions concerning the anticipated deployment durations and overall cost of provision.  ERCOT would be expected to make a value judgment that is in the best interest of ERCOT consumers overall when contracting for Capacity to address anticipated Emergency Conditions.

Current protocols state that “For purposes of Settlement, any contract associated with a Generation Resource will include substantially the same terms and conditions as an RMR Unit under a RMR Agreement, including the Eligible Cost budgeting process.”

Option 2A

Capacity payments to load will represent the load’s willingness to be curtailed under the Emergency scenario described by ERCOT.  In addition, various settlement mechanisms must be included to avoid a double-payment.

Option 2B

Capacity payments to load will represent the load’s willingness to be curtailed under the Emergency scenario described by ERCOT.

Loads should also be forbidden from making arrangements to make up lost production using other facilities in the ERCOT region.  For example, a cement company may not shift production represented by the contract from one plant to another within the ERCOT region during the timeframe of the contract.  Doing so should be a violation of the contract and should be monitored by ERCOT to the extent feasible.

Structuring Settlement

Using a Load as an alternative to generation to provide capacity for an anticipated Emergency Condition will require recognition of the major differences in how settlement would have to work. Loads are most always “on-line” and would be dispatched off and remain off when committed to provide Load provided capacity.

The simplest way to structure settlement would be for ERCOT to negotiate an Agreement for a Load Entity to provide Load provided capacity with the terms and conditions very similar to the ones that ERCOT uses for ERS.  ERCOT will have significant latitude in structuring any contract, but would generally maintain the compensation parameters consistent with this white paper. A load’s cost to provide Load provided capacity is a function of that individual company’s lost production and product loss or wastage costs (“Lost Opportunity Costs”) incurred due to the interruption as well as costs to standby for such interruptions.  Such costs are highly variable from industry to industry, and even from company to company within the same industry producing the same or similar products.  Identification of a generic set of these Lost Opportunity Costs for loads or even subsets of loads is not practical and probably not even possible.  Lost Opportunity Costs are certainly incurred when the load is dispatched off.  Loads may also have costs to comply with the new contract for metering changes, labor, training, and restrictions on sales of the product they manufacture.  Therefore, the offers from load should be used instead of using cost-specific “fuel costs” or other mechanisms from the RMR settlement context.  In order to attract alternatives to de-mothballing Generation Units to provide Capacity, a settlement structure that controls the maximum time a contracted load can be dispatched, and subsumes all  costs within the negotiated capacity and interruption payments,  may be the best alternative.

Option 3A

In the proposal responses that ERCOT will evaluate for the service, each provider must set out the cost for the service. DSWG will develop a generic set of these Lost Opportunity Costs for loads to be used as guidance.

Option 3B

The Load Entity does not have to provide documented auditable costs as a basis for the offers to provide Load provided capacity.  [1 disagreement]

Contract Terms

As a starting point, settlement terms for Load Entities contracting for Load provided capacity could have the following basic terms to cover its “Lost Opportunity Costs:

Definition of interconnection point(s) _________ESID

Maximum Capacity Available: ________kW for the Load providing capacity

Baseline Load: _____________KW (as approved by ERCOT in measuring actual capacity deployed. This could be a range of load with the exact number to be defined by ERCOT on perhaps a seasonal basis for use in measuring performance after either deployment or testing.

Capacity to Remain On-line _____KW

Standby Capacity Payment: _______________$/KW/hr

Deployment Payment (if applicable) ____________$/Hour or $/kW/hr for variable hourly capacity

Option 4A

(There should be limit on this payment, as example: “Not to exceed the higher of $100/MWhr or 20 Heat Rate times Gas Daily”.  The intent is to be similar to the Generation Resource incremental costs.)

Option 4B

(There should not be a limit on the deployment payment to a Load Entity providing capacity subject to ERCOT’) – 2 in disagreement

Option 4C

No deployment payment – 1 in support

Option 5A

Deployment Charge:  SPP of the Load Zone associated with each Load times the amount curtailed.

Option 5B

(There would be no Deployment Charge)

Option 5C

Demand reduction value would be added back in to the customer meter data.

Maximum continuous hours dispatched off: _________________

Maximum total number of hours curtailed for the entire agreement: ___________

Hours of the day and day of the week load may be dispatched off: _________________

Notice Time for future deployments for Load Interruption: ______________________

Maximum number of unannounced testing per year: _________________________

The capacity to remain online for a facility during a curtailment would need to be negotiated and specified in the agreement.  Most Facilities have some minimal amount of Load that must remain on during the deployment of Load provided capacity for safety or similar reasons. The amount of that load would not be part of the Maximum Capacity Available.

Dispatches by ERCOT could be limited to the number of hours the service would be provided and the hours of the day and day of the week specified.

ERCOT, when negotiating with individual Load Entities, may structure additional terms as required to reach agreement.  . Any required changes to load metering or telemetry would be as described in the agreement. The communications between ERCOT and the Load Entity and its associated QSE would be described in agreement.

Next Steps

- Review and edit of this second draft of the White Paper by the DSWG Subgroup participants and attempt to reach consensus on a final draft of the White Paper.

- Present this White Paper to DSWG,

- Present White Paper to WMS

- Develop an NPRR

Appendix A

Examples of ERCOT Use of Load Provided Capacity

Background

The following example is provided to give a general conceptual framework of how ERCOT could use additional capacity authorized under current protocols to procure capacity from a Load Entity to alleviate an anticipated “Emergency Condition” in the ERCOT system.  ERCOT’s use of Load provided capacity may result from many different forces and the example herein is only meant to show the concept of how ERCOT could react for one such condition.

Example Event

On August 1st of the year in which generation capacity to serve load is projected to just meet system reserve requirements, a significant reduction of generation capacity occurs when two large nuclear powered plants are forced off line and are projected to be unavailable for the remainder of the summer load conditions.  ERCOT determines that an anticipated “Emergency Condition” is projected for the last two weeks of August and the first week of September requiring additional capacity to reliably serve the ERCOT load and issues a Market Notice to this effect.  The Market Notice shall detail the specific reliability concern and note that ERCOT intends to competitively procure capacity for that period.

In evaluating proposals from loads  ERCOT must research the past load consumption pattern of loads who have responded to the ERCOT RFP and indicated they may be willing to enter into an agreement to provide Load provided capacity.  ERCOT has as the central clearinghouse load information on all individual loads in ERCOT and can search knowing the unique identifier of Load Entities who have expressed interest. ERCOT may not contract with Load Entities who have shown in prior patterns of consumption that they would be off under the expected conditions.

Option 6A

Unless specifically given permission by a NOIE to do otherwise, ERCOT shall contract directly with the NOIE QSE for load located in a NOIE service area. – 4 agree

Option 6B

ERCOT may contract with any Load Entity to provide capacity without regard to its relationship to a NOIE. - 3 agree

As an example, ERCOT finds that it needs to procure 500 MW of Load provided capacity to replace the generation capacity that was lost due to forced outages.  ERCOT determines it will take multiple agreements from multiple Entities to cover this large shortage.

The research ERCOT had previously performed indicated one Load Entity consistently used 200 MW of generation capacity to serve its load.  After being contacted by ERCOT, the Load Entity indicates that it may be willing to force its facility off line during the entire contract timeframe.  To do so, the Load Entity requires a payment of $x.xx per KW based on actual capacity the load used during the average of the four highest 15-minute intervals in each week during the month of July.  The $x.xx per KW would be the total payment for the time in which ERCOT desires the plant to be off-line.  The agreement reached by ERCOT and the Load Entity would allow for the Load Entity to continue consumption of a minimal amount of KW for to support its maintenance activities during the event.

ERCOT is also approached by another Load Entity who would agree to interrupt its demand during the event timeframe.  ERCOT research of the Load Entity’s past consumption pattern indicated that typically 300 MW would be used during the event timeframe.  The Load Entity requires a standby payment of $y.yy per KWH for providing 275,000 KW interruption capability,  limited to a maximum of 100 hours total time off with a maximum number of hours of any one interruption of 8 hours. Validation and performance requirements of the agreement between ERCOT and the Load Entity specify that the consumption on the listed ESIDs must be entirely off during the deployment timeframe and an additional payment of $yyyy is to be made for each whole hour of the interruption.

ERCOT is approached by yet another Load Entity who would potentially agree to interrupt its demand during the event timeframe.  This Load Entity could provide up to 200 MW of interruption capacity from a fleet of its ESIDs from multiple load zones in ERCOT.  ERCOT validates the Load Entity’s claim and finds that the Load Entity’s total consumption is typically over 500 MW during peak conditions.  The Load Entity requires a payment of $z.zz per KW and has specified a total maximum number of hours of interruption of 200 hours with no specification on the duration of any individual outage. Validation and performance requirements of the agreement between ERCOT and the Load Entity specifies that the consumption on the listed ESIDs must show a reduction of each of the ESIDs from a specified base load consumption during the deployment timeframe  to be greater than 95% of the expected interruption.  The Load Entity requires a deployment payment of $zzzz to be made for each whole hour of the interruption. This is an option A or B voting item above.

In these examples, offers from Load Entities exceed the total amount ERCOT initially desired to procure.  ERCOT would perform a cost/benefit analysis and make a judgment of which Load Entities it desires to finalize an agreement potentially reducing parameters offered from some Entities or changing the overlap of the agreements.

Conclusion

The above examples are only an indication of how contracting for Load provided capacity may vary and actual offers and agreements will vary widely.  It is recognized that ERCOT must have some latitude when contracting for this type of service from many differing types of Load Entities.

Appendix B

Proposed Contract Terms

Resource Requirements

    - Minimum Size

    - Aggregation Rules

    - Telemetry

    - Network Modeling

    - Deployment

      - Triggers

      - Frequency

      - Dispatch Methodology

      - Notification Time

      - Ramp Period

      - Sustained Response Period Duration

      - Recovery Duration

Performance metrics

    - Availability

    - Deployments

    - Testing Requirements

      - Payment

    - Standby Price

    - Energy settlement Price

    - Volume Adjustments (for LMP-G). Voting item above

    - Payment Frequency

      - Contract Duration

    - Start Date

      - End Date