NPGRTF Report to ROS

June 14, 2012

The Nodal Protocol and Guides Resolution Task Force (NPGRTF) meet on May 17, 2012.

On May 17th, the NPGRTF met for its regularly scheduled meeting. During the meeting the following items were discussed:

- ROS approved continuance of task force through Nov 2012

- The group reviewed draft NOGRR for Protection System Changes for Consistency with NERC Standards. The group made changes to the NOGRR and is ready for submittal.

- The group reviewed Texas Reliability Entity Regional Criteria Procedure for Analysis, Mitigation and Reporting of Transmission and Generation Protection System Misoperations NERC Reliability Standards PRC-004-2a, PRC-016-0.1, and PRC-022-1. The group made suggested changes to the Texas RE procedure. Texas RE has the suggested changes.

The group reviewed draft NOGRR on Minimum RRS Obligations, discussion around the additional 500 mw of RRS added to the 2300 MW RRS. The group made some suggested changes to the NOGRR and is ready for submittal.

- The group also reviewed Task List Assignments. No action was taken on the tasks below.

  - Small Group (Dylan, Jeff and Matt – PRC-004, PRC-005. Report on any issues found.

  - Jeff – TOP-002 Report on any issues found.

  - Frank – PRC-018 Report on any issues found.

  - Group – EOP-003 and OG 4.5.3.3 Load Shed Obligations? Follow up on NOGRR.

  - Matt & Pam – EOP-002 and NP 6.5.9.4 OG 4.5.3.3 compare for possibly conflicts with EEA implemtation.

  - Laura & Andy – Power Watch, Power Warning and Power Emergency as they are related to EEA?

  - Frank – Clarify Facilities as defined in the Protocols and the NERC Terms.

Next NPGRTF meeting – June 12, 2012 from 9:30 – 3:30 at the ERCOT Met Center room 168.