## Slide 1: Reliability and Operations Subcommittee Report
6/7/2012

## Slide 2
Unopposed Recommendations for Approval
NOGRR092, Synchronization with NPRR451, Implementation of New PUC Subst. Rule 25.507 – Urgent
  Effective upon TAC approval
PGRR017, New Planning Guide Section 6.1, Steady-State Model Development
  8/1/12 Effective Date
Revisions to ICCP Handbook

## Slide 3: Status Update on SCR760 Changes Needed for Information Model Manager and Topology Processor for Planning Models
SCR Sub Part | SCR Description | Bundle | Status
SCR760-3 | Zero Impedance Line Ratings | 1 | Production
SCR760-7 | Assign valid PSSE IDs to Breakers/Switches/ Series Devices |  | Production
SCR760-8 | Phase shift of Autos for short circuit studies |  | Production
SCR760-2 | Distribution Capacitor banks | 2 | Production
SCR760-4 | Associate Loads and Capacitor banks with the correct CNG |  | Production
SCR760-9 | Multi-section Line Grouping |  | Production
SCR760-1 | Upgrade to PSS/E v32 | 4 | Production
SCR760-6 | FACTS Devices |  | Planning
ERCOT and TSPs have identified new fields or records added between version 33 and version 30 of the PSS/E RAWD format and have decided which new fields need to be implemented. The evaluation process for Item 1 has been added to the SSWG Procedure Manual as section 5.3. Planned for production early 2013. |  |  | 
SCR760-5 | Additional Transformer Data for Planning | 3 | Planning
Sample TP output produced by vendor and examined by ERCOT. TP Release expected during week of Apr 9th. Target June production date. |  |  |