## Slide 1: Pilot Project Concept 30-Minute Emergency Response Service (ERS)
Mark Patterson, ERCOT
Technical Advisory Committee (TAC)
June 7, 2012

## Slide 2: Background
Project No. 40150, PUC Rulemaking Proceeding Concerning an ERCOT Pilot Project:
  Amends PUC Subst. Rule § 25.361, Electric Reliability Council of Texas (ERCOT).
  Creates new Section (k) – Pilot Projects.
Proposed rule as published would require ERCOT to:
  Designate which ERCOT rules will be subject to temporary exceptions
  Estimate costs of the pilot project
  Estimate completion date for the pilot project
Rule approved for adoption at May 18, 2012 Open Meeting.
ERCOT staff would seek ERCOT Board of Directors approval of pilot project for 30-Minute Emergency Response Service (ERS) at its June 19, 2012 meeting.

## Slide 3: Purpose of 30-Minute ERS Pilot Project
Assess the operational benefits and challenges of deploying an ERS product with a 30-minute ramp period.
Study the optimal means of deploying 30-Minute ERS within an Energy Emergency Alert (EEA).
Gather data to analyze the operation and benefits of a clearing price mechanism.
Gather data to assist ERCOT in determining the appropriate price to pay for 30-Minute ERS.
Gather data to compare costs and benefits relative to 10-Minute ERS.
Determine overall market interest in 30-Minute ERS before making appropriate ERCOT rule changes.

## Slide 4: 30-Minute ERS Features
Open to Loads (demand response) only
30-minute ramp period following Dispatch Instruction
Dispatched as early as EEA Level 1
Procured via market clearing price mechanism
Tests will be designed to gain knowledge of fleet-wide Load performance
  Number of tests will depend on number of EEA events.
Maximum of 8 hours of obligation, including tests
No renewal Contract Periods
150 MW ceiling on procurement from competitive offers
  May be exceeded only by self-provided MW
Consequence of non-compliance will be financial only
  No suspensions

## Slide 5: 30-Minute ERS Additional Information
At the end of a deployment event, ERCOT operators will have discretion on whether to recall 30-Minute ERS or 10-Minute ERS first or at same time.
ERCOT will procure 30-Minute ERS under the $50 million ERS cost cap.
ERCOT will conduct the 30-Minute ERS pilot according to the following schedule:
  Initial Contract Period: 07/15/12 – 09/30/12
  Second Contract Period: 10/01/12 – 01/31/13
  Third Contract Period (if necessary): 02/01/13 – 05/31/13
Contract Periods will ensure bridge between pilot and implementation of appropriate ERCOT rules.

## Slide 6: ERCOT Response to Comments
Eligibility
  ERS Resources will be allowed to participate in both 10-Minute ERS and 30-Minute ERS during the same Pilot Contract Period but not during the same Time Period.
  Separately metered ESI-IDs and submetered Loads behind the same meter or Point of Interconnection will be allowed to offer some of these ERS Resources into 10-Minute ERS and others into 30-Minute ERS.
  ERS Resources can be offered into both 10-Minute ERS and 30-Minute ERS. ERCOT will develop a selection process to use during procurement.
  ERS Resources that are suspended due to 10-Minute ERS ramp violations may participate in Pilot upon successful completion of a 30-Minute reinstatement test.

## Slide 7: ERCOT Response to Comments
Posting of Settlement Extracts and Issuance of Invoices
  Payments and charges associated with the 30-Minute ERS pilot will be listed separately from 10-Minute ERS
Size of Pilot
  The pilot will remain with a maximum of 150 MWs
    Size necessary to demonstrate deployment behavior
    Significantly smaller pilot would reduce the statistical reliability of performance data
    Size of pilot should not restrict QSE’s ability to recruit participants
Estimated Cost of Pilot per Contract Period
  July 15 - Sept ≈ $2.5 million
  Oct-Jan ≈ $3.2 million
  Feb-May ≈ $3.2 million

## Slide 8: ERCOT Response to Comments
Potential for Price Reversal
  30-minute ERS will only be deployed during EEA
  Various solutions under stakeholder discussions concerning impacts to scarcity prices during deployment of out-of-market resources
  During non-scarcity conditions (test deployments) the impact should be minimal
  ERCOT reviewed some of the unannounced testing results for 2012 and found pricing impacts to be minimal during these tests which ranged from 120 – 340 MWs
Timing of Procurement
  No adjustment to the pilot start date (July 15, 2012)
  Some additional time for QSE’s since ERID process will begin on June 8th

## Slide 9: 30-Minute ERS
All documents pertaining to 30-Minute ERS can be located at
    http://www.ercot.com/mktrules/pilots/
June 19, 2012 – Anticipated ERCOT Board approval of 30-Minute ERS pilot.

## Slide 10: Questions?
ON
OFF
pilotprojects@ercot.com