ERCOT Operations Report

May 2012 ROS & OWG

Frequency Control

| Time | Freq(Hz) | Duration (s) |  |
| --- | --- | --- | --- |
| 5/7/2012 17:49 | 59.885 | 32 | Unit trips with 523 MW net online. |
| 5/9/2012 10:07 | 59.827 | 128 | Unit trip with 785 MW net online. |
| 5/27/2012 2:32 | 59.882 | 4 | Unit trip with 510 MW net online. |

Note: Time of frequency excursions outside the range of +/- 0.1 Hz.

Deployed Responsive (Reported Above)

| Time deployed | Stop Time | Duration | Max | Details |
| --- | --- | --- | --- | --- |
| 5/7/12 17:49:54 | 5/7/12 17:52:54 | 0:03:00 | 414.85 |  |
| 5/9/12 10:07:32 | 5/9/12 10:11:36 | 0:04:04 | 439.9 |  |
| 5/27/12 2:32:50 | 5/27/12 2:35:58 | 0:03:08 | 392.35 |  |

RUC Commitments

SCED Congestion Management Activity

Congestion affected by outages   Remedial action plan has been developed for the element

| Contingency | Overloaded Element | Days |
| --- | --- | --- |
| Moss Switch - Holt Switch & Amoco North Cowden 138 kV | Odessa North 138/69 kV AXFMR1 | 27 |
| Lewisville Switch - Carrolton Northwest 345 kV | Lewisville Switch - Jones Street Tnp 138 kV | 20 |
| Long Creek - Sweetwater East Switch 345 kV | Sweetwater East Switch - Abilene Mulberry Creek 345 kV | 19 |
| San Angelo Red Creek - Bluff Creek 345 kV | Nicole - Orient 138 kV | 18 |
| Meadow Sub - Ph Robinson 345 kV | Hastings Tnp - Friendswood Tnp 138 kV | 17 |
| Fort Stockton Plant - Barilla 138 kV | Fort Stockton Switch - Barilla 69 kV | 16 |
| Cagnon Axfmr3h (3) 345/138 kV | Cagnon Axfmr4h (3) 345/138 kV | 9 |
| Willow Valley Switch - Lamesa 138 kV | China Grove - Bluff Creek Switch 138 kV | 8 |
| DCKT Fayette Plant 2 - Lytton Springs & Holman Aen 345 kV | Fayetteville 345/138 kV XFMR 26At2 | 7 |
| Btu_Atkins Axfmr1 138/69 KV | Btu_Nall_Lane - Btu_Briarcrest 69 kV | 7 |
| Bracketville - Asphalt Mine 138 kV | Hamilton - Maverick 138 kV | 6 |
| Moss Switch Axfmr1h_H (3) 345/138 kV | Odessa North Axfmr1 138/69 kV | 5 |
| DCKT Austrop - Lost Pines 345 kV | Fayetteville 345/138 KV XFMR 26At2 | 5 |
| DCKT Garfield Aen - Stoney Ridge and Hicross Aen 138 kV | Austrop Au_At1h (3) 345/138 kV | 5 |
| Moss Switch Axfmr1h_H (3) 345/138 kV | Odessa North - Odessa Basin Switch 69 kV | 4 |
| Camp Springs Energy Center - Golden Switch 138 kV | China Grove - Bluff Creek Switch 138 kV | 4 |
| Lytton Springs 345/138 kV AXFMR 3 | Lytton Springs 345/138 kV AXFMR 1 | 4 |
| Aspermont Aep - Spur 138 kV | Spur 138_69_1 138/69 kV | 4 |
| DCKT Morgan Creek Ses - Bitter Creek & Champion Creek Switch 345 KV | Tonkawa Switch - Morgan Creek SES 345 kV | 4 |
| DCKT Austrop - Lost Pines 345 kV | Austrop (3) AU_At2h 345/138 kV | 3 |
| Aspermont Aep - Paint Creek 138 kV | Aspermont AEP - Aspermont Continental 69 kV | 3 |
| DCKT Chambers-King And Cedar Bayou Plant-NorthBelt 345 kV | Cedar Bayou Plant - Strang 138 kV | 3 |
| DCKT Odessa Ehv Switch - Longshore Switch & Quail Switch 345 kV | China Grove - Bluff Creek Switch 138 kV | 3 |
| Lobo - San Miguel 345_138 KV Switchyards 345 KV | Laquinta - Lobo 138 kV | 3 |
| DCKT Sandow Switch - Bell County East Switch 345 kV | Belton - Belton Southwest 138 kV | 3 |
| Fayetteville 26at2 345/138 kV | Austrop (3) AU_At1h 345/138 kV | 3 |
| Lewisville Switch Axfmr22 345/138 kV | Lakepoint Tnp - Jones Street TNP 138 kV | 3 |
| DCKT Roanoke Switch - West Denton and Lewisville 345 kV | Jim Christal Substation - North Denton Interchange 138 kV | 3 |
| Twin Buttes T1t (3) 345/138 kV | San Angelo Red Creek T2H (3) 345/138 kV | 2 |
| Wharton - East Bernanrd 138 kV | Pledger - West Columbia 138 kV | 2 |
| Morgan Creek Ses 345/138 kV Axfmr 4 | Morgan Creek Ses 345/138 kV Axfmr 1 | 2 |
| Oxychem Ingleside - Ingleside Cogen Switch 138 kV | Dupont Switch Ingleside - Dupont PP1 Ingleside 138 kV | 2 |
| China Grove Switch - Morgan Creek SES 138 kV (6220) | China Grove Switch - Morgan Creek Ses 138 KV (6225) | 2 |
| DCKT Austrop-Garfield Lcra & Zorn 345 kV | Garfield Aen - Hicross Aen 138 kV | 2 |
| DCKT Mt Enterprise - Trinidad Ses & Martin Lake Ses - Stryker Creek Ses 345 kV | Tyler Grande - Whitehouse 138 kV | 2 |
| DCKT Tri Corner - Tyler Grande & Martin Lake Ses - Elkton 345 kV | Shamburger Switch - Tyler Northwest 138 kV | 2 |
| Paloduro Sub - Batesville Switching Station 138 kV | Moore Switching Station - Downie Switching Station 138 kV | 2 |
| Graham Ses - Graham Switch 138 kV | Graham Switch - Graham 69 kV | 2 |
| DCKT Marion - Zorn and Clear Springs 345 KV | Seguin - Seguin West 138 kV | 2 |
| DCKT Garfield Lcra - Lyttton Springs and Austrop - Zorn 345 kV | Austrop (3) AU_At1h 345/138 kV | 2 |
| Midland East - Moss Switch 345 kV | Odessa North 138/69 kV AXFMR1 | 2 |
| Batesville Switching Station 138_69_1 138/69 kV | Moore Switching Station - Downie Switching Station 138 kV | 2 |
| Whitepoint 345/138 kV XFMR | Sinton - Skidmore 69 kV | 2 |
| Moss Switch - Holt Switch & Amoco North Cowden 138 kV | Odessa North - North Cowden 69 kV | 1 |
| Moss Switch - Holt Switch & Amoco North Cowden 138 kV | Odessa North - Odessa Basin Switch 69 kV | 1 |
| Aspermont Aep - Paint Creek 138 kV | Aspermont 138_69T1 138/69 kV | 1 |
| DCKT Chambers-King And Cedar Bayou Plant-NorthBelt 345 kV | Exxon - Lynchberg 138 kV | 1 |
| DCKT Odessa Ehv Switch - Longshore Switch & Quail Switch 345 kV | San Angelo Concho - San Angelo Mathis Field 69 kV | 1 |
| Lobo - San Miguel Switchyards 345 kV | San Diego - Freer 69 kV | 1 |
| Twin Buttes T1t (3) 345/138 kV | San Angelo Red Creek T2L (3) 345/138 kV | 1 |
| DCKT Watermill Switch - West Levee Switch and Sargent Road 345 kV | Cedar Hill Switch - Mountain Creek SES 138 kV | 1 |
| DCKT Watermill Switch - West Levee Switch and Sargent Road 345 kV | Simpson Stuart - Buntin Drive 138 kV | 1 |
| DCKT Watermill Switch - West Levee Switch and Sargent Road 345 kV | Cedar Hill Switch - Mountain Creek SES 138 KV | 1 |
| DCKT Graham - Parker Switch 345 kV | Barton Switch - Oran Sub 138 kV | 1 |
| DCKT Graham SES - Parker Switch 345 kV | Graham Ses - Graham East 138 kV | 1 |
| DCKT Fratt - Parkway LCRA and Randolph - Weiderstein 138 kV | Skyline - Nacogdoches 138 kV | 1 |
| DCKT Fratt - Parkway LCRA and Randolph - Weiderstein 138 kV | Skyline - Nacogdoches 138 kV | 1 |
| Scurry Switch - Sun Switch 138 kV | Aspermont AEP - Aspermont Continental 69 kV | 1 |
| Scurry Switch - Sun Switch 138 kV | Aspermont AEP 138/69 kV | 1 |
| Scurry Switch - Spur 138 kV | Aspermont AEP - Aspermont Continental 69 kV | 1 |
| Scurry Switch - Spur 138 kV | Aspermont AEP 138/69 kV | 1 |
| Kyle - San Marcos 138 kV | Turnersville - Buda 138 kV | 1 |
| Lufkin Switch - Stryker Creek SES 345 kV | Stryker Creek SES - Gresham Road Switch 138 kV | 1 |
| Castle – Medical Center & USAA2 138 kV | L_A_Hts - Buckeye 138 kV | 1 |
| Barton Switch - Oran Sub 138 kV | Graham Switch - Graham 69 kV | 1 |
| DCKT Norwood Switch - Liggett Switch and Cedar Hill Switch 345 kV | Amelia Street - UT Southwest Medical Center 138 kV | 1 |
| Yellow Jacket - Fort Mason 138 kV | Fort Mason - Mason 69 kV | 1 |
| Quanam Deerpark - Cedar Bayou Plant 138 kV | Port - Taylor 138 kV | 1 |
| DCKT Calmont Switch - Benbrook Switch 138 kV | Saginaw Switch - American Mfg Tap 138 kV | 1 |
| Mesa View Switch - Fort Lancaster 138 kV | North McCamey - Big Lake 138 kV | 1 |
| DCKT Jewett - Singleton 345 kV | Twin Oak Switch - BTU_Jack_Creek 345 kV | 1 |
| DCKT Cagnon-Kendall (345 kV) & Helotes-Cisco (138 KV) | Kendall CTEC - Mountain Top 138 kV | 1 |
| Long Creek - Sweetwater East Switch 345 kV | Sweetwater East Switch - Abilene Mulberry Creek 345 kV | 1 |
| Bell County East Switch - Temple Switch 345 kV (435) | Bell County East Switch - Temple Switch 345 kV (425) | 1 |
| Orange Grove Switching Station - Lon Hill 138 kV | Sinton - Skidmore 69 kV | 1 |
| Cagnon Axfmr4h 345/138 kV | Cagnon Axfmr3L (3) 345/138 kV | 1 |
| Hunt_Ln - Cagnon 138 kV | Broadview - Five_Pts 138 kV | 1 |
| Cedar Hill Switch Axfmr2L 345/138 kV | Sherry Switch - Park Row 138 kV | 1 |
| Paloduro Sub - Pearsall Switching Station 138 kV | Moore Switching Station - Downie Switching Station 138 kV | 1 |
| Cheyenne - Cheyenne Tap 138 kV | No Trees Switch - Dollarhide 138 kV | 1 |
| Bellaire At5_H (3) 345/138 kV | Jeanetta At3L_H (3) 345/138 kV | 1 |
| DCKT Allen Switch - Royse Switch and Monticello Ses 345 kV | Apollo - Richardson east 138 kV | 1 |
| DCKT Kirkland Park - Northaven Sw 138 kV | Kirkland Park - Judd Court Tap 138 kV | 1 |
| BTU_Dansby 138_69_2_L 138/69 kV | Dansby - Tabor 69 kV | 1 |
| DCKT Sherry Switch - Everman Switch & Venus Switch 345 kV | Everman Switch Axfmr3h (3) 345/138 kV | 1 |
| Ajo - Rio Hondo 345 kV | Nelson Sharpe - Celanese Bishop 138 kV | 1 |
| West Levee Switch Axfmr1h (3) 345/138 kV | Industrial Blvd - Compton Street 138 kV | 1 |
| Abilene Over Street - Abilene South 138 kV | Abilene South - Abilene W Tex Gulf Tap 69 kV | 1 |
| Rockport - Rincon 138 kV | Rincon - Gregory 69 kV | 1 |
| DCKT W.A. Parish - Jeanetta 345 kV | Smithers - Bellaire 345 kV | 1 |
| Brownwood - Comanche Switch 138 kV | Brownwood Switch - Camp Bowie 138 kV | 1 |
| Renner Switch Axfmr2h (3) 345/138 kV | Allen Switch Axfmr1h (3) 345/138 kV | 1 |
| DCKT Mountain Creek SES - Cedar Crest Switch 138 kV | Mountain Creek SES - Cedar Crest Switch 138 kV | 1 |
| Airpro - Shell 138 kV | Port - Taylor 138 kV | 1 |

Generic Transmission Limits (GTL’s)

| GTL | Days |
| --- | --- |
| West – North | 18 |

New RAP, PCAP (Date indicates last update of RAP, PCAP not implementation date.)

None

SPS (RAS) (New, Modified, Removed)

None

New Procedures/Forms/Operations Bulletins

| Date | Subject | Bulletin No. |
| --- | --- | --- |
| 05/14/2012 | Shift Supervisor Desk V1 Rev14 | 595 |
| 05/14/2012 | Resource Desk V1 Rev16 | 594 |
| 05/14/2012 | Real Time Desk V1 Rev17 | 593 |
| 05/01/2012 | Transmission and Security Desk V1 Rev16 | 592 |
| 05/01/2012 | Shift Supervisor Desk 13 | 591 |
| 05/01/2012 | Resource Desk V1 Rev15 | 590 |
| 05/01/2012 | Reliability Unit Commitment Desk V1 Rev15 | 589 |
| 05/01/2012 | Real Time Desk V1 Rev16 | 588 |
| 05/01/2012 | DC Tie Desk V1 Rev14 | 587 |

## Load Shed Incidences

None

EEA

None

System Voltage Problems

None

Application Issues

None

Communication Issues

None

## ERCOT peak (Unofficial)

05/29 17:00 59,031 MW

Yearly MTLF Error Comparison

| Yearly Mid-Term (Hourly) Load Forecast Error Comparison for the ERCOT Forecast |  |  |  |  |
| --- | --- | --- | --- | --- |
| Month | MAPE for MTLF at 16:00 Day-Ahead |  |  |  |
|  | 2009 | 2010 | 2011 | 2012 |
| January | 4.11 | 3.78 | 2.91 | 2.94 |
| February | 3.49 | 3.79 | 3.46 | 2.51 |
| March | 3.24 | 2.24 | 2.02 | 3.49 |
| April | 2.66 | 2.47 | 3.55 | 2.78 |
| May | 2.90 | 2.63 | 3.27 | 3.09 |
| June | 2.89 | 2.84 | 2.28 | NA |
| July | 2.83 | 2.39 | 1.63 | NA |
| August | 3.07 | 2.29 | 2.28 | NA |
| September | 3.68 | 3.14 | 2.70 | NA |
| October | 2.92 | 2.37 | 3.51 | NA |
| November | 1.93 | 3.46 | 3.38 | NA |
| December | 3.70 | 2.60 | 2.99 | NA |
| Annual Average | 3.11 | 2.83 | 2.83 | 2.96 |

OCN, Advisory, Watch & Emergency Notices

Capacity

| Date | Start | Event |
| --- | --- | --- |
| 5/7/2012 | 14:00 | ERCOT issued an OCN for a Projected Reserve Capacity Shortage for HE 15-18 |

Transmission Watch

None

Watch

None

Emergency Notice

None

Texas RE Event Analysis

None