| NPRR Number |  | NPRR Title | Modifications to Competitive Constraint Test |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Normal |  |
| Nodal Protocol Section(s) Requiring Revision (Include Section No. and Title) |  | 3.19 Constraint Competitiveness Tests 3.19.1 Annual Competitiveness Test 3.19.2 Monthly Competitiveness Test 3.19.3 Daily Competitiveness Test |  |
| Market Guide Section Requiring Revision (If applicable) |  |  |  |
| Revision Description |  | The NPRR proposes changes to the competitive constraint tests to resolve the issues with the current design |  |
| Reason for Revision |  | The current CCT identifies constraints which are clearly non-competitive as competitive |  |
| Credit Implications (Yes or No, and summary of impact) |  | None |  |

Business Case

| Business Case | 1 | Describe qualitative benefits - Examples: regulatory requirement, data transparency enhancement, etc. |
| --- | --- | --- |
|  | 2 | Explain in detail possible benefit calculations to support quantifiable benefits - Example: change is expected to save 50 market participants 25 hours/week at $65/hour |
|  | 3 | Comment on impacts to market segments - Example: potential positive impact to consumer segment in the form of lower energy prices |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Resmi Surendran |
| E-mail Address | rsurendran@ercot.com |
| Company | ERCOT |
| Phone Number | 512 248 3033 |
| Cell Number | 512 289 7131 |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | (512) 248-6464 |

Proposed Protocol Language Revision

3.19	Constraint Competitiveness Tests

(1)	A contingency/limiting Transmission Element pair is designated a Competitive Constraint by Technical Advisory Committee (TAC) approval.  Among other relevant factors, TAC shall consider the results of the Test Procedures 1 and 2, as described in Section 3.19.1, Annual Competitiveness Test, in reaching its determination as to whether or not a Transmission Element pair should be considered as a Competitive Constraint.  Any contingency/limiting Transmission Element pair not designated as a Competitive Constraint is deemed to be a non-competitive constraint.

(2)	An appropriate subcommittee approved by TAC (“TAC Subcommittee”) may develop an alternative list through the analysis described below for determining Competitive Constraints.

(3)	The TAC Subcommittee shall perform the following analysis with the goal of developing an objective standard for determining Competitive Constraints:

(a)	Contingency analysis – based on reasonable generation dispatch that would lead into a set of elements to be studied.

(b)	Constraint Competitiveness Test (CCT) - using the parameters described in Section 3.19.1, Annual Competitiveness Test; Section 3.19.2, Monthly Competitiveness Test; and Section 3.19.3, Daily Competitiveness Test.

(c)

At a minimum, the CCT should be performed at least once per month and the results compared to the existing TAC-approved Competitive Constraints list.  Based on the comparison, the TAC Subcommittee may evaluate alternative methodologies or alternative Competitive Constraints and report the results of these evaluations to the TAC.

(4)	The Independent Market Monitor (IMM) may suspend a Competitive Constraint from being designated as competitive for a specified period of time necessary to allow for analysis, but not to exceed 60 days.  The IMM shall notify the market of the estimated time needed to conduct the analysis.  The IMM shall notify the market of any suspended Competitive Constraint before suspension.

(5)	TAC shall approve the Competitive Constraints one month prior to the annual Congestion Revenue Right (CRR) Auction.  Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction.  Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive.

(6)	ERCOT shall post the Competitive Constraints to the Market Information System (MIS) Secure Area at least five Business Days before any change takes effect. ERCOT shall post any Competitive Constraints that have been suspended and the duration of the suspension as soon as practicable to the MIS Secure Area.

3.19.1	Constraint Competitiveness Test Definitions

The constraint Competitiveness Test checks the competitiveness of the constraint by evaluating market participant’s ability to exercise market power by physical withholding, economic withholding, predatory pricing etc.  The two procedures for the Competitiveness Test for a constrained Transmission Element evaluate whether there is sufficient competition to resolve the constraint on the import and export sides by calculating the Element Competitiveness Index (ECI) on the import and export sides of the constraint and determining the existence of a pivotal player for the constraint. The constraint is deemed non-competitive if the calculated ECI on either side is greater than the corresponding thresholds or if a pivotal player exists for the constraint. The competitiveness of a constraint is tested on an annual, monthly and daily basis. To conduct the test, various definitions are needed, including:

(1)	“Available Capacity for a Resource” is defined as:

(a)	The Seasonal Net Max Sustainable Rating of a Generation Resource, as specified in its ERCOT Resource Asset Registration Form, including a Switchable Generation Resource that is not on a Planned Outage (except wind powered generation) for the Annual and Monthly Competitiveness test; or COP HSL for the daily Competitiveness Test.

(b)	For wind generation,

(i)	for Annual Competitiveness Test, on the export side of a constraint, the Seasonal Net Max Sustainable Rating, as specified in its ERCOT approved Resource Asset Registration Form, and on the import side, the Seasonal Net Max Sustainable Rating multiplied by the percentage of installed wind capacity used to determine Effective Load-Carrying Capability in the latest Seasonal Assessment of Resource Capacity

(ii)	for Monthly and Daily Competitiveness Tests, the expected on-peak wind generation output on the export side and the expected on-peak wind generation output multiplied by the percentage of installed wind capacity used to determine Effective Load-Carrying Capability in the latest Seasonal Assessment of Resource Capacity report on the import side; or

OR

(b) 	For wind generation,

(i)	for Annual Competitiveness Test, on the export side, the Seasonal Net Max Sustainable Rating, as specified in its ERCOT approved Resource Asset Registration Form, and on the import side, zero MW.

(ii)	 For Monthly and Daily Competitiveness Test, the expected on-peak wind generation output on the export side and zero MW on the import side; or

(c)	The full import capability of the Direct Current Tie (DC Tie) lines on the import side and zero MW on the export side.

(2)	“Managed Capacity for an Entity” is a Resource or Split Generation Resource for which the Entity or its Affiliates has the decision-making authority over how the Resource or Split Generation Resource is offered or scheduled (e.g., Output Schedules), in accordance with subsection (e) of P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.  Each Resource Entity that owns a Resource shall submit a declaration to ERCOT, using a form designated by ERCOT, as to which Entity has the decision-making authority for each of its Resources.  The declaration shall be signed by the Authorized Representative of the Resource Entity.  In addition, each Resource Entity that owns a Resource shall notify ERCOT of any known changes in that declaration no later than 14 days prior to the date that the change takes effect or as soon as possible in a situation where the Resource Entity is unable to meet the 14-day notice requirement.  Upon ERCOT’s request, each Resource Entity that owns a Resource shall provide ERCOT with sufficient information or documentation to verify control of the Resource.  ERCOT shall apply decision-making authority to Managed Capacity effective the first Operating Hour of the Operating Day ERCOT satisfactorily confirms the Resource Entity’s most recent declaration, but not sooner than the effective date specified on the Resource Entity’s most recent declaration.

(3)	Shift Factors of all Electrical Buses are computed relative to the distributed load reference Bus.

(i)	For voltage, stability, and thermal-limited constraints, as well as interfaces represented by thermal limits, the Shift Factors should be computed with no other contingencies removed from the electrical network.

(ii)	For contingency-limited constraints, the Shift Factors used should be computed with the contingencies removed from the electrical network.

3.19.2	Element Competitiveness Index (ECI) Calculation

(1)	The Element Competitiveness Index (ECI) is one of several criteria used in the Annual, Monthly, and Daily Competitive Constraint Tests to determine the competitiveness of a constraint.

(2)	To compute the ECI on the import and export side, first determine the “ECI Effective Capacity” available to resolve the constraint on the import and export sides, as follows:

(a)	Determine the ECI Effective Capacity that each entity contributes to resolve the constraint on the import side by taking the sum of the products determined by multiplying, for each Managed Capacity of the Entity having negative Shift Factors with absolute values greater than the minimum of one-third of the highest absolute value of any Resource Shift Factor with a negative value and 2%, (A) the Available Capacity for that Resource times (B) the square of the Shift Factor of that Resource.

(b)	Determine the ECI Effective Capacity that each entity contributes to resolve the constraint on the export side by taking the sum of the products determined by multiplying, for each Managed Capacity of the Entity having positive Shift Factors greater than the minimum of one-third of the highest positive Resource Shift Factor and 2%, (A) the Available Capacity for that Resource times (B) the square of the Shift Factor of that Resource.

(3)	Determine the ECI on the import and export side of the constraint as follows:

(a)	Determine the total ECI Effective Capacity by each Entity and its Affiliates on the import and export side.

(b)	Determine the percentage of ECI Effective Capacity by each Entity and its Affiliates on the import and export side by taking each Entity and its Affiliates’ ECI Effective Capacity and dividing by the total ECI Effective Capacity on the import and export side.

(c)	The ECI on the import side is equal to the sum of the square of the percentages of ECI Effective Capacity by each Entity and its Affiliates on the import side.

(d)	The ECI on the export side is equal to the sum of the square of the percentages of ECI Effective Capacity by each Entity and its Affiliates on the export side.

3.19.3	Annual Constraint Competitiveness Test

(1)	The Annual Constraint Competitive Test uses the monthly peak case for all calculations. The monthly peak case must include planned transmission and generation Outages for the month.

(2)	A constraint is classified as competitive for the year if it is competitive with respect to all monthly cases for the year. A constraint is competitive for a monthly case if the constraint can be overloaded in the monthly case and it doesn’t meet any of the following conditions:

(a)	The ECI is greater than 2,000 on the import side or the ECI is greater than 2,500 on the export side of the constraint; or

(b)	The constraint cannot be resolved by eliminating all Available Capacity on the import side, except nuclear capacity and minimum-energy amounts of coal and lignite capacity, that is Managed Capacity by any one Entity or its Affiliates during peak Load conditions; or

(c)	There are no positive Shift Factors corresponding to Electrical Buses with Available Capacity that have a value greater than or equal to 2%, and there are no negative Shift Factors corresponding to Electrical Buses with Available Capacity that have an absolute value greater than or equal to 2%.

3.19.4	Monthly Constraint Competitiveness Test

(1)	The Monthly Constraint Competitive Test uses the peak case for the particular month for all calculations. The peak case must include planned transmission and generation Outages for the month.

(2)	Unless otherwise approved by TAC as a Competitive Constraint, the Monthly Competitiveness Test shall change the treatment of a Competitive Constraint to a non-competitive constraint for the particular month if the constraint meets any of the following conditions:

(a)	The ECI is greater than 2,500 on the import side or the ECI is greater than 3,000 on the export side; or

(b)	The constraint cannot be resolved by eliminating all Available Capacity on the import side, except nuclear capacity and minimum-energy amounts of coal and lignite capacity that is Managed Capacity by any one Entity or its Affiliates during peak Load conditions; or.

(c)	There are no positive Shift Factors corresponding to Electrical Buses with Available Capacity that have a value greater than or equal to 2%, and there are no negative Shift Factors corresponding to Electrical Buses with Available Capacity that have an absolute value greater than or equal to 2%.

3.19.5	Daily Constraint Competitiveness Test

(1)	The Daily Constraint Competitive Test uses the peak hour of the particular day under test. The peak hour case must include planned transmission and generation Outages for the day.

(1)	Based on the set of the Competitive Constraints as determined in the Monthly Competitive Test, the Daily Competitiveness Test shall change the treatment of a Competitive Constraint to a non-competitive constraint for the particular day if the constraints meets any of the following conditions:

(a)	The ECI is greater than 2,500 on the import side or the ECI is greater than 3,000 on the export side; or

(b)	The constraint cannot be resolved by eliminating all Available Capacity on the import side, except nuclear capacity and minimum-energy amounts of coal and lignite capacity, that is Managed Capacity by any one Entity or its Affiliates during the peak hour of the day; or

(c)	There are no positive Shift Factors corresponding to Electrical Buses with Available Capacity that have a value greater than or equal to 2%, and there are no negative Shift Factors corresponding to Electrical Buses with Available Capacity that have an absolute value greater than or equal to 2%.

(2)	ERCOT shall post the Competitive Constraints to the MIS Secure Area by 0600 in the Day-Ahead.