ALR SUBGROUP OF DSWG

June 11, 2012

QUESTIONS/ISSUES/BARRIERS/DESIGN CONCEPTS:

- Is there a limit on the number ICCP points that the ERCOT system can receive?  (irrespective of SCED limits)

- What is the largest topological area appropriate to qualify a Load Resource?

- Need to study potential configurations of Load Aggregation Points.  How can we enable such a study and what would it look like?

  - What are the impacts to Settlements?  Does the T-LAP become a new category of Settlement Price Point?

  - What are impacts to SCED?  Price output?  Congestion management?

- What level of granularity is needed to create a data set that can validate an accurate ALR telemetry signal?

  - Statistical sampling of end-use devices?

  - Compare to current Generation Resources as a benchmark.

  - What level of confidence will ERCOT require for telemetry validation?

  - How can 15-minute revenue meter data be used to validate the telemetry values?

  - Can ERCOT optionally create SPC values for ALRs?

- Measurement & verification methodologies:

  - Baseline

  - Meter Before/Meter After

- Can we have options for primary M&V?

  - A) device level

  - B) premise level

- Portfolio approach to multiple ALR offers?

  - Can they be System-wide for AS, locational only for energy (SCED)?

- Linked offers?

Next meeting:  July 19 (day before rescheduled DSWG) at Met Center:

- ERCOT:  Review and present current telemetry value requirements for each AS and for SCED.

- Manny:  review Brattle for relevance to this issue.

- ERCOT:  Potential option for ALR configurations

- Frank:  Review Loads in SCED white paper (DSWG 2011) to identify gaps

- ERCOT:  Statistical sampling/baselines/load profiles