| NPRR Number | 459 | NPRR Title | Better Matching Forward Collateralization with Forward Risk in the Real-Time Market |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Tabled |
| Date of Decision |  | May 17, 2012 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 16.11.4.3, Determination of Counter-Party Estimated Aggregate Liability 16.11.4.4, Determination of Counter-Party Aggregate Incremental Liability |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) more appropriately collateralizes for forward risk in the Real-Time Market (RTM). In NRG’s experience, ERCOT under-collateralized the risks associated with February and August of 2011, and over-collateralized the rest of the year since the multiplier is currently always 1.5. When prices have the potential to be $3,000 (or $6,000 or $9,000 or any future revised System-Wide Offer Caps (SWCAPs)) then 1.5 times the current prices is insufficient. At the same time, 1.5 is usually too high when forward prices are stable and less volatile. In addition, this NPRR instructs that ERCOT should exercise its judgment to remove Operating Days from credit calculations when the use of those Operating Days is leading to unreasonable results based on expected forward market outcomes. This occurs because ERCOT looks at the maximum Operating Day over the previous 60 days, which isn’t always appropriate. |  |  |
| Reason for Revision |  | With the Public Utility Commission of Texas (PUCT) considering increases to the SWCAP to support Resource adequacy, collateral requirements will need to be reconsidered in parallel. The current collateral requirements will tend to significantly under-collateralize forward Real-Time risk, since it can only multiply recent exposure by 1.5. For example, if natural gas is at $3 and market heat rates are around 12, then energy prices will typically clear at around $36/MWh. The 1.5 multiplier would only collateralize energy at approximately $54, which is low if and when shortage pricing occurs as energy prices could far exceed this level. While energy prices and gas prices are typically highly correlated, during shortage pricing conditions the correlation breaks down as energy prices are no longer based on underlying fuel costs. For the hours that have already reached the system wide cap price, the multiplier should be set to “1”, since prices cannot be higher than the cap and collateral should not be above price times volume. This will happen automatically after NPRR400, Eliminate Unsecured Credit for CRR Auctions and for Future Credit Exposure and Eliminate Netting of FCE with CCE, is implemented, but this summer ERCOT should exercise its authority to fix this error as it happens. Conversely, ERCOT may over-collateralize at other times, since the forward risk is typically far below 1.5 times the recent risk. Finally, continuing to use historic Operating Days that experienced shortage prices in future months can lead to unreasonable results. Last summer, ERCOT was using the August high price events for the next 60 days, despite the risk of shortage pricing being very low. This NPRR will allow ERCOT to have flexibility to manage this credit calculation based on its good judgment. Together, these changes should help to fix the under-collateralization going into a potential shortage pricing event and the over-collateralization following the event. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 5/1/12, NPRR459 was posted. - On 5/2/12, Morgan Stanley Capital Group comments were posted. - On 5/10/12, Calpine comments were posted. - On 5/15/12, WMS comments were posted. - On 5/15/12, NRG comments were posted. - On 5/17/12, PRS considered NPRR459. |  |  |
| PRS Decision |  | On 5/17/12, PRS unanimously voted to grant NPRR459 Urgent status. PRS then unanimously voted to table NPRR459 and to refer the issue to WMS. All Market Segments were present for both votes. |  |  |
| Summary of PRS Discussion |  | On 5/17/12, concerns were expressed regarding the calculation of the Average Daily Transaction Extrapolated (ADTE) including ERCOT’s discretion in determining the number of Operating Days and the associated seasonality; and that the PUCT has not yet issued the final order related to the SWCAP. It was noted that a Special WMS meeting will be held on May 21, 2012 to discuss NPRR459 and surrounding issues. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | This will help to avoid defaults due to high prices, but reduce the cost of collateral posting for all Market Participants on an annual basis. |
|  | 2 | In 2011, at least hundreds of millions of dollars in overcollateralization occurred as the August price event was unlikely occur again over the next few months. In addition, the increase in collateral requirements could reduce the cost or occurrence of a default from Real-Time market activity. Although we hope defaults are rare, avoiding a default results in real savings to the Market Participants. |

| Sponsor |  |
| --- | --- |
| Name | Eric Goff |
| E-mail Address | egoff@reliant.com |
| Company | NRG Texas LLC & Reliant Energy Retail Services, LLC (“NRG Companies”) |
| Phone Number |  |
| Cell Number | 512-284-4908 |
| Market Segment | Independent Generator & Independent Retail Electric Provider (IREP) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Morgan Stanley Capital Group 050212 | Requested that stakeholders further address issues due to proposed increases in the SWCAP. |
| Calpine 051012 | Encouraged examining all possible avenues for mitigating the potential outcomes due to increases in SWCAPs and proposed a set of principles to guide development of Protocol language. |
| WMS 051512 | Voted to refer NPRR459 to the Market Credit Working Group (MCWG) and to instruct MCWG to hold a joint meeting with WMS. |
| NRG 051512 | Proposed revisions in response to discussion at the 5/9/12 WMS meeting in regards to a desire for greater specificity and seasonality. |

Proposed Protocol Language Revision

16.11.4.3	Determination of Counter-Party Estimated Aggregate Liability

After a Counter-Party receives its first Invoice, ERCOT shall monitor and calculate the Counter-Party’s EAL based on the formula below.

EAL 	= 	Max [IEL during the first 60-day period, Max (ADTE during the previous 60-day period)] + OUT + PUL + DALE

ERCOT should use its discretion to adjust the number of days used in determining the highest ADTE, and/or to exclude specific Operating Days to calculate ADTE or DALE, if failure to do so would produce results that are not materially reasonable with respect to anticipated market conditions throughout the period in which the calculations would be in effect.

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| EAL | $ | Estimated Aggregate Liability—Estimated Aggregate Liability for the Counter-Party. |
| IEL | $ | Initial Estimated Liability—Initial Estimated Liability (as defined in Section 16.11.4.2, Determination of Counter-Party Initial Estimated Liability) for the Counter-Party. |
| ADTE | $ | Average Daily Transaction Extrapolated—40 days multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in Initial Settlement Statements included in the Counter-Party’s two most recent Real-Time Settlement Invoices divided by the number of Initial Settlement Statements included in those two Settlement Invoices. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation. |
| OUT | $ | Outstanding Unpaid Transactions—Outstanding, unpaid transactions of the Counter-Party, which include (1) outstanding Invoices to the Counter-Party, including Invoices for DAM activity and CRR Auction activity, and (2) estimated unbilled items to the Counter-Party, to the extent not adequately accommodated in the ADTE calculation (including resettlements and other known liabilities). Invoices will not be considered outstanding for purposes of this calculation the Business Day after that Invoice payment is received. |
| PUL | $ | Potential Uplift—Potential uplift to the Counter-Party, to the extent and in the proportion that the Counter-Party represents Entities to which an uplift of a short payment will be made pursuant to Section 9.19, Partial Payments by Invoice Recipients. It is calculated as the sum of: (a) Amounts expected to be uplifted within one year of the date of the calculation; and (b) 25%, or such other percentage based on available statistics regarding payment default under bankruptcy reorganization plans, of any short payment amounts being repaid to ERCOT under a bankruptcy reorganization plan that are due more than one year from the date of the calculation. |
| DALE | $ | Average Daily Day Ahead Liability Extrapolated—16 days multiplied by the sum of the net amount due to or from ERCOT in DAM Settlement Statements that includes Ancillary Services and Point-to-Point (PTP) Obligations bought in the DAM included in the seven most recent DAM Settlement Invoices divided by the number of DAM Settlement Statements included in those seven DAM Settlement Invoices. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation. |

[NPRR400: Replace Section 16.11.4.3 above with the following upon system implementation:] 16.11.4.3 Determination of Counter-Party Estimated Aggregate Liability After a Counter-Party receives its first Invoice, ERCOT shall monitor and calculate the Counter-Party’s EAL based on the formulas below. EAL q = Max [(IEL q during the first 60-day period + DALE q), (Max {RTLE q during the previous 60-day period} + DALE q), (RTLF q + DALE q) ] + Max [RTLCNS q, Max {URTA q during the previous 60 day period}] + OUT q + PUL q EAL a = Max [(Max {RTLE a during the previous 60-day period}), (RTLF a + Max [RTLCNS a, Max {URTA a during the previous 60 day period}] + OUT a + PUL a ERCOT should use its discretion to adjust the number of days used in determining the highest RDTE and/or URTA, and/or to exclude specific Operating Days to calculate RDTE, URTA, or DALE, if failure to do so would produce results that are not materially reasonable with respect to anticipated market conditions throughout the period in which the calculations would be in effect. The above variables are defined as follows: Variable; Unit; Description. EAL q; $; Estimated Aggregate Liability for the QSE—EAL for the QSE q represented by Counter-Party.. EAL a; $; Estimated Aggregate Liability for the CRR Account Holder—EAL for the CRR Account Holder a represented by Counter-Party.. IEL q; $; Initial Estimated Liability for the QSE—IEL (as defined in Section 16.11.4.2, Determination of Counter-Party Initial Estimated Liability) for the QSE q represented by the Counter-Party.. q; QSE represented by Counter-Party.. a; CRR Account Holder represented by Counter-Party.. RTLE; $; Real Time Liability Extrapolated—M1 multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in Real-Time Market (RTM) Initial Statements generated in the 14 most recent calendar days divided by the number of Real-Time Initial Settlement Statements generated for the Counter-Party in the 14 most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation.. URTA q; $; Unbilled Real Time Amount —M2 multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in RTM Initial Statements generated in the 14 most recent calendar days divided by the number of Real-Time Initial Settlement Statements generated for the Counter-Party in the 14 most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation.. RTL; $; Real-Time Liability—The estimated or settled amounts due from or to ERCOT due to activities in the Real-Time and Adjustment Period. Real-Time Liability (RTL) is the amounts for Load increased by amounts for awarded DAM energy offers, and Energy Trade sales and is decreased by amounts for awarded DAM Energy Bids, Energy Trade purchases, and estimated or settled amounts for generation. In addition RTL will be adjusted for CRRs settled in Real-Time and for other amounts due to or from ERCOT by the Counter-Party.. RTLCNS; $; Real Time Liability Completed and Not Settled— For each Operating Day that is completed but not settled or for which no Invoice has been issued, ERCOT shall calculate RTL as the higher of ERCOT’s estimate of the Counter-Party’s RTL for the day, multiplied by 110% if net due to ERCOT or multiplied by 90% if net due to Entity or the Counter-Party’s estimate of RTL for the day.. RTLF; $; Real Time Liability Forward— For seven Operating Days that are not yet completed, ERCOT shall calculate RTL as the forward risk multiplier times the Counter-Party’s RTL for the most recent seven days or the Counter-Party’s forecast of RTL for the next seven days. ERCOT should set the forward risk multiplier based on its view of the likelihood of dispatching high priced reserves based on the peak load forecast for two days from the current day plus 5% when compared to all COP statuses for the same period. If ERCOT’s forecast indicates that the load will be within 500 MW of the non-reserved capacity, then it should begin to raise the forward risk multiplier. The forward risk multiplier should consider the timeframe of the RTL (7 days) and the number of hours that may be priced at or near the System-Wide Offer Cap.. OUT; $; Outstanding Unpaid Transactions—Outstanding, unpaid transactions of the Counter-Party, which include (a) outstanding Invoices to the Counter-Party; (b) estimated unbilled items to the Counter-Party, to the extent not adequately accommodated in the RTLE calculation (including resettlements and other known liabilities); and (c) estimated CRR Auction revenue available for distribution for operating days in the previous two month, to the extent not invoiced to the Counter-Party. Invoices will not be considered outstanding for purposes of this calculation the Business Day after that Invoice payment is received.. PUL; $; Potential Uplift—Potential uplift to the Counter-Party, to the extent and in the proportion that the Counter-Party represents Entities to which an uplift of a short payment will be made pursuant to Section 9.19, Partial Payments by Invoice Recipients. It is calculated as the sum of: (a) Amounts expected to be uplifted within one year of the date of the calculation; and (b) 25%, or such other percentage based on available statistics regarding payment default under bankruptcy reorganization plans, of any short payment amounts being repaid to ERCOT under a bankruptcy reorganization plan that are due more than one year from the date of the calculation.. DALE; $; Average Daily Day Ahead Liability Extrapolated—M1multiplied by the sum of the net amount due to or from ERCOT by the Counter-Party in the DAM Settlement Statements generated in the seven most recent calendar days that includes Ancillary Services and Point-to-Point (PTP) Obligations bought in the DAM divided by the number of DAM Settlement Statements generated for the Counter-Party in the seven most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder’s activity is excluded from this calculation..

16.11.4.4	Determination of Counter-Party Aggregate Incremental Liability

ERCOT shall monitor and calculate an AIL for each Counter-Party using the formula below:

AIL	=	Σd (RTL d) – Max [0, (MAX (ADTE during previous 60-day period) / 40 * N * 0.9)]

Although ERCOT will typically use the maximum ADTE over the previous 60 day period during normal conditions, ERCOT should use its discretion to not use specific Operating Days’ ADTEs if they do not produce a reasonable result based on expected future market conditions.

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| AIL | $ | Aggregate Incremental Liability—The amount by which the calculated incremental liability of the Counter-Party for all relevant days, N, exceeds the ADTE. |
| RTL | $ | Real-Time Liability—The estimated or settled amounts due from or to ERCOT due to activities in the Real-Time and Adjustment Period. Real-Time Liability (RTL) is the amounts for Load increased by amounts for awarded DAM energy offers, and Energy Trade sales and is decreased by amounts for awarded DAM Energy Bids, Energy Trade purchases, and estimated or settled amounts for generation. In addition RTL will be adjusted for CRRs settled in Real-Time and for other amounts due to or from ERCOT by the Counter-Party. RTL is determined over all Settlement Points and all Settlement Intervals over all relevant days, as follows: (a) For each Operating Day that is completed and settled but for which no Invoice has been issued, ERCOT shall calculate RTL using Settlement Statement data; (b) For each Operating Day that is completed but not settled or for which no Invoice has been issued, ERCOT shall calculate RTL as the higher of ERCOT’s estimate of the Counter-Party’s RTL for the day or the Counter-Party’s estimate of RTL for the day; and (c) For seven Operating Days that are not yet completed, ERCOT shall calculate RTL as the forward risk multiplier times the ERCOT’s estimate of the Counter-Party’s RTL for the most recent seven days or the Counter-Party’s forecast of RTL for the next seven days. ERCOT should set the forward risk multiplier based on its view of the likelihood of Dispatching high priced reserves based on the peak Load forecast for two days from the current day plus 5% when compared to all COP statuses for the same period. If ERCOT’s forecast indicates that the Load will be within 500 MW of the non-reserved capacity, then it should begin to raise the forward risk multiplier. The forward risk multiplier should consider the timeframe of the RTL (seven days) and the number of hours that may be priced at or near the System-Wide Offer Cap. Ultimately, setting the forward-risk multiplier is at ERCOT’s discretion. |
| ADTE | $ | Average Daily Transaction Extrapolated—40 days multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in Initial Settlement Statements included in the Counter-Party’s two most recent Real-Time Settlement Invoices divided by the number of Initial Settlement Statements included in those two Settlement Invoices. |
| d | none | One Operating Day in the period of relevant days. |
| N | none | All relevant days, i.e., the number of Operating Days that have not been invoiced plus seven future days. |

[NPRR347: Replace Section 16.11.4.4 above with the following upon system implementation:] 16.11.4.4 [RESERVED]