| NPRR Number | 460 | NPRR Title | WGR Ramp Rate Limitations |
| --- | --- | --- | --- |
| Date |  | May 15, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Isabel Flores |  |
| E-mail Address |  | iflores@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6531 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT submits these comments to reiterate concerns expressed at the 5/9/12 Wholesale Market Subcommittee (WMS) meeting.  ERCOT believes that increasing the ramp rate limitation from 10% to 20% of nameplate rating could impact frequency control and subsequently grid reliability and therefore respectfully requests that PRS refer NPRR460 to the Reliability and Operations Subcommittee (ROS)/Performance Disturbance Compliance Working Group (PDCWG) for additional review.

Revised Proposed Protocol Language

None at this time.