## Sheet1
Current Curve |  | Anderson Proposal |  | CPS/TIEC Curve |  | Nelson Curve |  | WMS Curve |  | GPL Curve |  | TAC Curve
MW Violation | PBPC Level | MW Violation | PBPC Level | MW Violation | PBPC Level | MW Violation | PBPC Level | MW Violation | PBPC Level | MW Violation | PBPC Level | MW Violation | PBPC Level
<1 | 200 | <1 | 200 | <5 | 250 | <1 | 500 | <5 | 500 | <1 | 200 |  |  | Maintains original PBPC
1 to <5 | 250 | 1 to <5 | 250 | 5 to <10 | 300 | 1 to<5 | 500 | 5 to <10 | 500 | 1 to <5 | 250 | <5 | 250
5 to <10 | 300 | 5 to <10 | 300 | 10 to <20 | 350 | 5 to <10 | 500 | 10 to <20 | 500 | 5 to <10 | 300 | 5 to <10 | 300
10 to <20 | 400 | 10 to <20 | 350 | 20 to <30 | 400 | 10 to <20 | 1000 | 20 to <30 | 500 | 10 to <20 | 400 | 10 to <20 | 400
20 to <30 | 500 | 20 to <30 | 400 | 30 to <40 | 500 | 20 to <30 | 1000 | 30 to <40 | 500 | 20 to <30 | 500 | 20 to <30 | 500
30 to <40 | 1000 | 30 to <40 | 500 | 40 to <50 | 1000 | 30 to <40 | 3000 | 40 to <50 | 1000 | 30 to <40 | 1000 | 30 to <40 | 1000
40 to <50 | 2250 | 40 to <50 | 1000 | 50 to <100 | 2000 | 40 to <50 | 3000 | 50 to <100 | 2000 | 40 to <50 | 2250 | 40 to <50 | 2250
50 to <100000 | 3000 | 50 to <75 | 2000 | 100 to <150 | 3000 | 50 and More | 4500 | 100 to <150 | 3000 | 50 to <175 | 3000 | 50 to <100 | 3000 | Gradual increase to SWOC/ Correctly indicates scarcity Condition/ Allows load to react to scarcity condition
[10 empty] | 175 to <200 | 3500 | 100 to 150 | 3500
|  | 75 to <100 | 3400 | 150 to <200 | 3800 |  |  | 150 to <200 | 3800 | 200 or more | 4500 | 150 to <200 | 4000
|  | 100 to <150 | 3600 | 200 or more | 4500 |  |  | 200 or more | 4500 |  |  | 200 or more | 4501
|  | 150 to <200 | 3800
|  | 200 or more | 4500
10