## Instructions
ERCOT Confidential
RARF V 5.1
ERCOT Resource Asset Registration Form (RARF)
"Network Model / System Planning / Data Aggregation / Settlements - Asset Registration / Resource Data Form"
A RARF should be submitted for each Generation Resource site that contains all generation at the site.
The RARF has been provided for ERCOT Resource Entities to properly register and submit data needed to register the assets
of Generation Resources. The RARF is to also be completed for all active and mothballed generation resources inside ERCOT.
Your organization must have submitted a market participant application as a Resource Entity prior to submission of this form.
Please keep in mind the following as you complete this form:
1. Please submit a single RARF form for each 'Resource Site'. This form will accommodate Generation Resources located at a common site,
and will accommodate generation load splitting.
2. After completion of this form, please submit electronically attached to a SERVICE REQUEST through MARKET INFORMATION SYSTEM (MIS).
See explanation below for submitting form through MIS. See the MP User Security Administrator to obtain a digital certificate.
INSTRUCTIONS FOR SUBMITTING RARF THROUGH MARKET INFORMATION SYSTEM (MIS): |  | ERCOT MIS SECURE
1. ERCOT requests the Resource Entity attach the RARF to a Service Request through Market Information System (MIS) located at https://mis.ercot.com, by the Primary or Secondary
Authorized Representative of the Resource Entity.
2. Access to ERCOT MIS requires a user digital certificate with minimal role "MP_ASSETS" that allows access to "Create Service Request" on the
"APPLICATIONS" page. The "user digital certificate" is authorized by the Market Participant's User Security Administrator.
3. Upon accessing MIS go to the "APPLICATIONS" page and select "Create Service Request". Be advised that the Service Request
will display in a new window as a pop-up, which may be impacted by user's browser settings.
4. Complete the required fields on the "Service Request" screen (annotated by red asterisk).
The following Request Type and Sub-Type are essential to proper submittal.
Request Type: Select "MP Registration" from the drop-down list
Request Sub-Type: Select "Resource/Asset Registration" from the drop-down list
Short Description: Complete with a descriptive subject
Long Description: Complete with details regarding changes
Click "Submit" (you will add the RARF(XLS) or (ZIP) file on the next screen)
From the "Activities and Attachments" screen
Click "Add" under the Attachments heading of the Service Request
Select "Browse" icon and find the completed RARF file on your computer
Click "Submit" (comments are optional)
NOTE: if you have PSSE model files they will need to be compressed (zipped) and added to the same service request as the RARF form.
If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or
email Wholesale Client Services at ClientServices@ercot.com with the subject "Resource Asset Registration Form".
PROTOCOL DISCLAIMER
This registration document describes ERCOT processes and is not intended to be a substitute for the ERCOT Nodal Protocols
(available at http://www.ercot.com/mktrules/nprotocols/ ), as amended from time to time.
If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.
Revisions to this document shall be approved by ERCOT.
cc
LINK

## Unit Info - TRAIN
ERCOT Confidential
Unit Information
This worksheet tab applies to all Combined Cycle Train generation resources.
Must complete all applicable cells in this section.
Resource Site Code:
CC TRAIN DETAILS | [5 empty] | SITE AND UNIT DATES |  | FUEL INFORMATION |  | POWER AUGMENTATION |  |  |  | GEOGRAPHIC LOCATION (CENTER OF PLANT)
Train Name | Train Code | Non_Modeled Generator | PUC Registration Number | NERC Number | Qualifying Facility? | Train Unit Commercial Date | Train Unit End Date | Fuel Transportation Type | Resource Category | Is Train Augmented With Duct Burner(s)? | Is Train Augmented With Evap Cooler(s)? | Is Train augmented with Chiller(s)? | Other Augmentation? | Latitude of center of Plant | Longitude of center of Plant
List | Automatic | Y/N |  |  | Y/N | mm/dd/yyyy | mm/dd/yyyy | List | List | Y/N | Y/N | Y/N | Y/N | decimal degrees (N) | decimal degrees (W)
Note on A5: Resource Site Code is a Required field.
Note on C7: Non-Modeled Generator A generator that is: 1. Capable of providing net output of energy to the ERCOT System; 2. Ten MW or less in size; or greater than ten MW and registered with the PUCT according to P.U.C. SUBST. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator; and 3. Registered with ERCOT as a Non-Modeled Generator, which means that the generator may not participate in the Ancillary Service or energy markets, RUC, or SCED.
Note on D7: P.U.C. Subst. R. 25.109, Registration of Power Generation Companies (PGCs) and Self-Generators
Note on E7: Enter NERC ID#.
Note on F7: A qualifying co-generation facility or qualifying small power production facility under regulatory qualification criteria as defined in PURPA, 16 USC §796(18)(B) and §796(17)(C).
Note on G7: Date available for dispatch and all testing is complete MM/DD/YYYY. If full date is not known, enter the year YYYY.
Note on H7: Retirement Date in YYYY format. Leave blank if unknown.
Note on I7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on J7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.

## Unit Info - CC
ERCOT Confidential
Unit Information
This worksheet tab provides generator Unit information for Combined Cycle resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  |  | SITE AND UNIT DATES |  |  |  |  | POINT OF INTERCONNECTION |  |  | FUEL INFORMATION |  | RATINGS AND DESIGNS
UNIT NAME | SITE_CODE | Resource Name (Unit Code/Mnemonic) | ERCOT Interconnection Project Number - Only New Units | Transmission Only Date (POI) | Standard Generation Interconnection Agreement (SGIA) Signature Date | Unit Start Date (Model Ready Date) | Unit Commercial Date | Unit End Date | SubStation Code/SubStation Mnemonic | Voltage Level | PTI Bus Number | Primary Fuel Type | Secondary Fuel Type | Physical Unit Type | Name Plate Rating | Real Power Rating | Reactive Power Rating | Turbine Rating | Unit Generating Voltage | Governor Droop Setting | Governor Dead-band | Design Max Ambient Temperature | Design Min Ambient Temperature
all caps | Automatic | Automatic |  | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | All Caps | kV | # | List | List | List | MVA | MW | MVAR | MW | kV |  | Hz | degree F | degree F
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on D7: INR #, Generation Interconnection Request - only needed for new interconnections
Note on E7: Point of Interconnection (POI) commissioning date (Back Feed Date) in MM/DD/YYYY. This field is used only for new Resource(s) connecting to the ERCOT Grid
Note on G7: Date Resource added to ERCOT Network Operation Model (MM/DD/YYYY).
Note on H7: Date available for dispatch and commissioning testing is complete MM/DD/YYYY.
Note on I7: Retirement Date in mm/dd/YYYY format. Leave blank if unknown.
Note on J7: Please consult your Standard Generation Interconnection Agreement (SGIA) to obtain your Point of Interconnection. If you need assistance in determining the corresponding ERCOT Substation Code\Substation Mnemonic, please work with your TSP or ERCOT.
Note on K7: If you need assistance in determining the corresponding Voltage Level, please work with your TSP or ERCOT.
Note on L7: If you need assistance in determining the corresponding PTI Bus Number, please work with your TSP or ERCOT.
Note on M7: Please select from the drop down list of values. Definitions can be found in the RARF Glossary.
Note on N7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on O7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on P7: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on Q7: Maximum rated MW at rated Power Factor.
Note on R7: Maximum MVAR at rated Power Factor
Note on S7: Maximum gross designed MW of the turbine
Note on U7: Meet Nodal protocols.
Note on V7: Meet Nodal protocols.
Note on W7: This is the plant design maximum (high) air temperature.
Note on X7: This is the plant design minimum (low) air temperature.

## Ownership - CC
ERCOT Confidential
Representation of Facility Output
This worksheet tab applies to all Combined Cycle Generation Resources. This tab identifies the Resource Entities that represent the output of the facility to ERCOT.
Each CC Train must have a single owner. Complete all applicable cells in this section.
GENERATOR DETAILS
Train Name | Train Code | Resource Entity Name | Resource DUNS Number | Fixed Ownership | Master Owner | Ownership Start Date | Ownership Stop Date
List | Automatic |  | 9-13 digits | Percent | Y/N | mm/dd/yyyy | mm/dd/yyyy
Note on G7: mm/dd/yyyy
Note on H7: mm/dd/yyyy

## Parameters - CC
ERCOT Confidential
Resource Parameters
This worksheet tab provides resource parameters for Combined Cycle generation resources.
Must complete parameters for all units.
GENERATOR DETAILS |  | REASONABILITY LIMITS |  |  |  | SEASONAL RATINGS - SPRING |  |  |  | SEASONAL RATINGS - SUMMER |  |  |  | SEASONAL RATINGS - FALL |  |  |  | SEASONAL RATINGS - WINTER |  |  |  | UNIT DE-RATING VALUES FOR DIFFERENT TEMPERATURES
Unit Name | Resource Name (Unit Code/Mnemonic) | High Reasonability Limit | Low Reasonability Limit | High Reasonability Ramp Rate Limit | Low Reasonability Ramp Rate Limit | Seasonal Net Max Sustainable Rating - Spring | Seasonal Net Min Sustainable Rating - Spring | Seasonal Net Max Emergency Rating - Spring | Seasonal Net Min Emergency Rating - Spring | Seasonal Net Max Sustainable Rating - Summer | Seasonal Net Min Sustainable Rating - Summer | Seasonal Net Max Emergency Rating - Summer | Seasonal Net Min Emergency Rating - Summer | Seasonal Net Max Sustainable Rating - Fall | Seasonal Net Min Sustainable Rating - Fall | Seasonal Net Max Emergency Rating - Fall | Seasonal Net Min Emergency Rating - Fall | Seasonal Net Max Sustainable Rating - Winter | Seasonal Net Min Sustainable Rating - Winter | Seasonal Net Max Emergency Rating - Winter | Seasonal Net Min Emergency Rating - Winter | 0°f | 5°f | 10°f | 15°f | 20°f | 25°f | 30°f | 35°f | 40°f | 45°f | 50°f | 55°f | 60°f | 65°f | 70°f | 75°f | 80°f | 85°f | 90°f | 95°f | 100°f | 105°f | 110°f | 115°f | 120°f
List | List | MW | MW | MW/min | MW/min | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | bar: UNIT DE-RATING VALUES FOR DIFFERENT TEMPERATURES 0°f to UNIT DE-RATING VALUES FOR DIFFERENT TEMPERATURES 120°f
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: Per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on D7: Per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on E7: An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on F7: An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on G6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on K6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on O6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on S6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.

## CC Configurations
ERCOT Confidential
Combined Cycle Configurations
This worksheet tab applies to all Combined Cycle Generation Resources. This tab defines the operating configurations.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | CONFIGURATION DETAILS
TRAIN CODE | SITE CODE | Resource Name (Unit Code/Mnemonic) | Configuration # | Configuration Code | Configuration Type
List | Automatic | List | # | Automatic | List
OFFLINE
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on D7: Each operational CCP configuration should be registered as a Logical CCP Resource. Physical CCU Resources that are online in that CCP configuration are primary. Offline Physical CCU Resources can be alternate, i.e. they can be treated as online units if an online unit in that CCP configuration is outaged. This means the CCP configuration should be defined as a set of primary and alternate Physical CCU Resources.

## CC Transitions
ERCOT Confidential
Combined Cycle Transitions
This worksheet tab applies to all Combined Cycle Generation Resources. This tab defines the operating transitions.
Must complete CC Configurations tab data before the transitions data can be applied.
GENERATOR DETAILS
Sitecode | Mnemonic for Combined Cycle Train | Configuration Code From | Configuration Code To
List | List | List | List
Note on C7: The transition in which this Physical CCU Resource is started. (e.g. From OFFLINE, To CC1_1 or From CC1_1 to CC1_2)
Note on D7: The transition in which this Physical CCU Resource is turned off. (e.g. From CC1_1 to OFFLINE or From CC1_2 to CC1_1)

## Parameters - CFG
ERCOT Confidential
Resource Parameters
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the parameters data can be applied.
GENERATOR DETAILS |  |  | REASONABILITY LIMITS |  |  |  | SEASONAL RATINGS - SPRING |  |  |  | SEASONAL RATINGS - SUMMER |  |  |  | SEASONAL RATINGS - FALL |  |  |  | SEASONAL RATINGS - WINTER |  |  |  | UNIT DE-RATING VALUES FOR DIFFERENT TEMPERATURES
SITECODE | Train Code | Configuration Code | High Reasonability Limit | Low Reasonability Limit | High Reasonability Ramp Rate Limit | Low Reasonability Ramp Rate Limit | Seasonal Net Max Sustainable Rating - Spring | Seasonal Net Min Sustainable Rating - Spring | Seasonal Net Max Emergency Rating - Spring | Seasonal Net Min Emergency Rating - Spring | Seasonal Net Max Sustainable Rating - Summer | Seasonal Net Min Sustainable Rating - Summer | Seasonal Net Max Emergency Rating - Summer | Seasonal Net Min Emergency Rating - Summer | Seasonal Net Max Sustainable Rating - Fall | Seasonal Net Min Sustainable Rating - Fall | Seasonal Net Max Emergency Rating - Fall | Seasonal Net Min Emergency Rating - Fall | Seasonal Net Max Sustainable Rating - Winter | Seasonal Net Min Sustainable Rating - Winter | Seasonal Net Max Emergency Rating - Winter | Seasonal Net Min Emergency Rating - Winter | 0°f | 5°f | 10°f | 15°f | 20°f | 25°f | 30°f | 35°f | 40°f | 45°f | 50°f | 55°f | 60°f | 65°f | 70°f | 75°f | 80°f | 85°f | 90°f | 95°f | 100°f | 105°f | 110°f | 115°f | 120°f
List | List | List | MW | MW | MW/min | MW/min | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | bar: UNIT DE-RATING VALUES FOR DIFFERENT TEMPERATURES 0°f to UNIT DE-RATING VALUES FOR DIFFERENT TEMPERATURES 120°f
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on D7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on E7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on F7: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on G7: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on H6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on L6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on P6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on T6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.

## Operational Parameters - CFG
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the parameters data can be applied.
GENERATOR DETAILS |  |  | RESOURCE PARAMETERS
SITECODE | Train Code | Configuration Code | Minimum On Line Time | Minimum Off Line Time | Hot Start Time | Intermediate Start Time | Cold Start Time | Max Weekly Starts | Max On Line Time | Max Daily Starts | Max Weekly Energy | Hot-to-intermediate Time | Intermediate-to-cold Time
LIST | LIST | LIST | hours | hours | hours | hours | hours |  |  |  | MWh | hours | hours
Note on D7: The minimum number of consecutive hours the Resource must be On-Line before being shut down.
Note on E7: The minimum number of consecutive hours the Resource must be Off-Line before being restarted.
Note on F7: The time, in hours, from the ERCOT notice to LSL, for a Resource in its hot-temperature state. From Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on G7: The time interval, in hours, from the ERCOT notice to LSL, for a Resource in its intermediate temperature state. From Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on H7: The time interval, in hours, from the ERCOT notice to LSL, for a Resource in its cold-temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on I7: The maximum number of times a Resource can be started in seven consecutive days under normal operating conditions. From Protocols 3.7.1- Resource Parameter Criteria
Note on J7: The maximum number of consecutive hours a Resource can run before it needs to be shut down. From Protocols 3.7.1- Resource Parameter Criteria
Note on K7: The maximum number of times a Resource can be started in a 24 hour period under normal operating conditions. From Protocols 3.7.1- Resource Parameter Criteria
Note on L7: The maximum amount of energy, in MWh, a Resource can produce in seven consecutive days. From Protocols 3.7.1- Resource Parameter Criteria
Note on M7: The time, in hours, after shutdown that a hot-temperature-state Resource takes to cool down to intermediate-temperature state. From Protocols 3.7.1- Resource Parameter Criteria
Note on N7: The time, in hours, after shutdown that an intermediate-temperature-state Resource takes to cool down to cold-temperature state. From Protocols 3.7.1- Resource Parameter Criteria

## Operational Parameters - NRRC
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the NRRC data can be applied.
NORMAL RAMP RATE CURVE
Train Code | Configuration Code | MW Number | NRRC Code | NRRC MW | Upward Ramprate | Downward Ramprate
List | List | List | Automatic | MW | MW/min | MW/min
Note on A7: Select Train Code from list for this Ramp Rate
Note on B7: Select Configuration Code from list (e.g. Offline, CC1_1, CC1_2, etc.) for this Ramp Rate
Note on C7: MW Number for Ramp Rate Curve
Note on E7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on F7: Enter Emergency Rate at which resource can increase MW output in MW/minute for the given output level .
Note on G7: Enter Emergency Rate at which resource can decrease MW output in MW/minute for the given output level .

## Operational Parameters - ERRC
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the ERRC data can be applied.
EMERGENCY RAMP RATE CURVE
Train Code | Configuration Code | MW Number | ERRC Code | ERRC MW | Upward Ramprate | Downward Ramprate
LIST | LIST | List | Automatic | MW | MW/min | MW/min
Note on A7: Select Train Code from list for this Ramp Rate
Note on B7: Select Configuration Code from list (e.g. Offline, CC1_1, CC1_2, etc.) for this Ramp Rate
Note on C7: MW Number for Ramp Rate Curve
Note on E7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on F7: Enter Normal Rate at which resource can increase MW output in MW/minute for the given output level .
Note on G7: Enter Normal Rate at which resource can decrease MW output in MW/minute for the given output level .

## Private Network - Unit
ERCOT Confidential
Private Network - Unit Information
This worksheet tab applies to all Private Use Networks.
Must complete all cells in this section if this is a Private Network Site.
GENERATOR DETAILS |  |  | PRIVATE NETWORK - UNIT INFORMATION
Unit Name | SITE CODE | Resource Name (Unit Code/Mnemonic) | Average Amount Of Self-serve Private Load | Average Amount Of Self-serve Private Reactive Load | Expected Typical Private Network Net Interchange | Expected Typical Private Network Net Reactive Interchange | Private Network Gross Unit Capability | Private Network Gross Unit Reactive Capability | If Unit Trips, Does Load Trip? | If Yes, Approximate Percentage Of Load That Will Trip?
Automatic | Automatic | Automatic | MW | MVAR | MW | MVAR | MW | MVAR | Y/N
Note on C9: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Reactive Capability - CC
ERCOT Confidential
Reactive Capability
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | REACTIVE CAPABILITY CURVES DETAILS
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | Reactive Capability Data Provided is Gross Value? | Reactive Capability Data Provided is from NDCRC Test Data? | If Reactive Capability Data Provided Is From NDCRC test Data Then Enter The Date On Which The Test Was Performed. | Mw1 | Lagging MVAR Limit Associated With Mw1 Output | Leading MVAR Limit Associated With Mw1 Output | Mw2 | Lagging MVAR Limit Associated With Mw2 Output | Leading MVAR Limit Associated With Mw2 Output | Mw3 | Lagging MVAR Limit Associated With Mw3 Output | Leading MVAR Limit Associated With Mw3 Output | Mw4 | Lagging MVAR Limit Associated With Mw4 Output | Leading MVAR Limit Associated With Mw4 Output | Mw5 - Unity Power Factor | If Hydrogen Cooled, Indicate Hydrogen Pressure (PSI) Associated With Your Reactive Curve Submitted For ERCOT Studies | Maximum Lagging Operating Capability | Maximum Leading Operating Capability | Manufacturer's Capability Curve Submitted?
List | Automatic | Automatic | List | Y/N | mm/dd/yyyy | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | PSI | MVAR | MVAR | Y/N
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Dropdowns (hidden)
Data Validations: | TSP | TDSPDUNS | RESCAAT | REP | REPDUNS |  | DESC | CONFIG TYPE
Yes No | AEP TEXAS CENTRAL COMPANY | 007924772 | Nuclear | 10K ENERGY LLC (LSE) | 8305623801100 |  | ADD | A
| AEP TEXAS NORTH COMPANY | 007923311 | Hydro | 10K ENERGY LLC DBA MISSION POWER (LSE) | 8305623801000 |  | CHANGE | X
CMZone | AEP TEXAS NORTH COMPANY SPP | 053693388 | Coal and Lignite | ACACIA ENERGY LLC (LSE) | 787476634 |  | DELETE
| BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | Combined Cycle <= 90 MW* | ACCENT ENERGY TEXAS LP DBA DYNOWATT POWERED BY ACCENT ENERGY | 133305370
Unit Type | BARTLETT ELECTRIC CO OP INC | 002781813 | Combined Cycle > 90 MW* | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP (LSE) | 038738451
| BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | Gas Steam - Supercritical Boiler | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP DBA AEP RETAIL ENERGY | 0387384511000
FUELTYPE | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | Gas Steam - Reheat Boiler | AFFORDABLE POWER LP (LSE) | 171841633 | MM/DD/YYYY
| BRAZOS ELECTRIC POWER CO OP INC (TDSP) | 0037722904000 | Gas Steam - Non-reheat or Boiler without air-preheater | ALLIANCE POWER COMPANY LLC | 136249187
TRANSPTYPE | BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP) | 6063470374000 | Simple Cycle <= 90 MW | AMBIT ENERGY LP (LSE) | 604792791
| BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | Simple Cycle > 90 MW | AMBIT TEXAS LLC (LSE) | 8290437071000
OFFSET | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | Reciprocating Engine | AMERIPOWER LLC | 140780003
| CAP ROCK ENERGY (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | Wind Generation Resource | ANDELER CORPORATION DBA ANDELER POWER (LSE) | 039471953
RESCAAT | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | Duration Limited Resources | ANDELER CORPORATION DBA ANDELER RETAIL | 0394719531000
| CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | Solar | APN STARFIRST LP | 141081328
WYE | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | Other | APNA HOLDINGS LLC | 784260866
| CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 |  | BANDERA ELECTRIC CO OP INC (LSE) | 0089451491000
TAPLOC | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 |  | BIG COUNTRY ELECTRIC CO OP INC (LSE) | 0058630481000
| CITY OF BARTLETT (TDSP) | 074618935 |  | BLU POWER OF TEXAS LLC | 604182134
SUBMITTAL | CITY OF BASTROP (TDSP) | 0851553724000 |  | BLUEBONNET ELECTRIC CO OP INC (LSE) | 0524834351000
| CITY OF BELLVILLE (TDSP) | 0935648704000 |  | BLUESTAR ENERGY SERVICES INC DBA BLUESTAR ENERGY SOLUTIONS (LSE) | 0777789541000
NWMODEL | CITY OF BOERNE (TDSP) | 0052470694000 |  | BOUNCE ENERGY INC (LSE) | 8263032781000
| CITY OF BOWIE (TDSP) | 8094182964000 |  | BP ENERGY COMPANY (LSE) | 6252757551000
| CITY OF BRADY (TDSP) | 070804877 |  | BP ENERGY COMPANY (SUB-LSE-CNE) | 8797234681100
| CITY OF BRENHAM (TDSP) | 0741649224000 |  | BRAZOS ELECTRIC POWER CO OP INC (LSE) | 0037722901000
| CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 |  | BRAZOS ELECTRIC POWER CO OP INC LCRA | 0037722901100
| CITY OF BURNET (TDSP) | 0746121514000 |  | BRAZOS ELECTRIC POWER CO OP INC-OAK GROVE | 0037722901200
| CITY OF CASTROVILLE (TDSP) | 797816378 |  | BRILLIANT ENERGY LLC | 800312048
| CITY OF COLEMAN (TDSP) | 1024920064000 |  | BROWNSVILLE PUBLIC UTILITIES BOARD (LSE) | 6063470371000
| CITY OF COLLEGE Station (TDSP) | 0403303004000 |  | BRYAN TEXAS UTILITIES (LSE) | 0793907791000
| CITY OF CUERO (TDSP) | 0526842144000 |  | CALPINE POWER AMERICA LP | 1127108761000
| CITY OF FARMERSVILLE (TDSP) | 1903494984000 |  | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (LSE) | 0079370971100
| CITY OF FLATONIA (TDSP) | 0626890134000 |  | CAP ROCK ENERGY (MCCULLOCH DIVISION) (LSE) | 0079370971000
| CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR | 008948374 |  | CENTRAL TEXAS ELECTRIC CO OP INC (LSE) | 0079302741000
| CITY OF FREDERICKSBURG (TDSP) | 0769243074000 |  | CHAIN LAKES POWER LP DBA SIMPLE POWER (LSE) | 806949835
| CITY OF GARLAND (TDSP) | 6011012564000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES (LSE) | 1599884061000
| CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 |  | CHAMPION ENERGY INDUSTRIAL SERVICES I (LSE) | 1599884061100
| CITY OF GEORGETOWN (TDSP) | 0895923724000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES II (LSE) | 1599884061200
| CITY OF GIDDINGS (TDSP) | 0096899514000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES III (LSE) | 1599884061300
| CITY OF GOLDSMITH (TDSP) | 0888946704000 |  | CHAMPION ENERGY SERVICES LLC | 159988406
| CITY OF GOLDTHWAITE (TDSP) | 1558252764000 |  | CIRRO GROUP INC | 034441449
| CITY OF GONZALES (TDSP) | 0937385404000 |  | CITY OF AUSTIN DBA AUSTIN ENERGY (LSE) | 8008717661000
| CITY OF HALLETTSVILLE (TDSP) | 0090811834000 |  | CITY OF BASTROP (LSE) | 0851553721000
| CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 |  | CITY OF BELLVILLE (LSE) | 0935648701000
| CITY OF HEMPSTEAD (TDSP) | 1272175604000 |  | CITY OF BOERNE (LSE) | 0052470691000
| CITY OF HONDO (TDSP) | 091703843 |  | CITY OF BOWIE (LSE) | 8094182961000
| CITY OF LA GRANGE (TDSP) | 0607085184000 |  | CITY OF BRADY (LSE) | 0708048771000
| CITY OF LAMPASAS (TDSP) | 0203311204000 |  | CITY OF BRENHAM (LSE) | 0741649221000
| CITY OF LEXINGTON (TDSP) | 0081817324000 |  | CITY OF BRIDGEPORT MUN ELEC SYS (LSE) | 0842801711000
| CITY OF LLANO (TDSP) | 0916952054000 |  | CITY OF BURNET (LSE) | 0746121511000
| CITY OF LOCKHART (TDSP) | 0746168634000 |  | CITY OF COLEMAN (LSE) | 1024920061000
| CITY OF LULING (TDSP) | 0105539984000 |  | CITY OF COLLEGE Station (LSE) | 0403303001000
| CITY OF MASON (TDSP) | 1561267084000 |  | CITY OF CUERO (LSE) | 0526842141000
| CITY OF MOULTON (TDSP) | 0091871544000 |  | CITY OF FARMERSVILLE (LSE) | 1903494981000
| CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 |  | CITY OF FLATONIA (LSE) | 0626890131000
| CITY OF SAN MARCOS (TDSP) | 0694628694000 |  | CITY OF FREDERICKSBURG (LSE) | 0769243071000
| CITY OF SAN SABA (TDSP) | 0248592254000 |  | CITY OF GARLAND (LSE) | 6011012561000
| CITY OF SANGER | 058956020 |  | CITY OF GEORGETOWN (LSE) | 0895923721000
| CITY OF SCHULENBURG (TDSP) | 0532950364000 |  | CITY OF GIDDINGS (LSE) | 0096899511000
| CITY OF SEGUIN (TDSP) | 0862819794000 |  | CITY OF GOLDSMITH (LSE) | 0888946701000
| CITY OF SEYMOUR | 166319145 |  | CITY OF GOLDTHWAITE (LSE) | 1558252761000
| CITY OF SHINER (TDSP) | 1504533714000 |  | CITY OF GONZALES (LSE) | 0937385401000
| CITY OF SMITHVILLE (TDSP) | 0916978134000 |  | CITY OF HALLETTSVILLE (LSE) | 0090811831000
| CITY OF WAELDER (TDSP) | 0541779694000 |  | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (LSE) | 0897458891000
| CITY OF WEIMAR (TDSP) | 0214974584000 |  | CITY OF HEMPSTEAD (LSE) | 1272175601000
| CITY OF WHITESBORO | 134546522 |  | CITY OF LA GRANGE (LSE) | 0607085181000
| CITY OF YOAKUM (TDSP) | 0694557724000 |  | CITY OF LAMPASAS (LSE) | 0203311201000
| COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 |  | CITY OF LEXINGTON (LSE) | 0081817321000
| COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 |  | CITY OF LLANO (LSE) | 0916952051000
| COMISION FEDERAL | 8100082434000 |  | CITY OF LOCKHART (LSE) | 0746168631000
| CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 |  | CITY OF LULING (LSE) | 0105539981000
| CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 |  | CITY OF MASON (LSE) | 1561267081000
| COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 |  | CITY OF MOULTON (LSE) | 0091871541000
| CPS ENERGY (TDSP) | 0079360734000 |  | CITY OF ROBSTOWN UTILITY SYSTEM (LSE) | 9387911421000
| CROSS TEXAS TRANSMISSION LLC (TSP) | 8296282914000 |  | CITY OF SAN MARCOS (LSE) | 0694628691000
| DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 |  | CITY OF SAN SABA (LSE) | 0248592251000
| DEEP EAST TEXAS ELECTRIC CO OP INC (BLT TDSP) | 0478456234000 |  | CITY OF SANGER TEXAS (LSE) | 0589560201000
| DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 |  | CITY OF SCHULENBURG (LSE) | 0532950361000
| DENTON MUNICIPAL ELECTRIC (TDSP) | 0713801904000 |  | CITY OF SEGUIN (LSE) | 0862819791000
| EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265 |  | CITY OF SEYMOUR (LSE) | 1663191451000
| ELECTRIC TRANSMISSION TEXAS LLC (TDSP) | 808160514 |  | CITY OF SHINER (LSE) | 1504533711000
| FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 |  | CITY OF SMITHVILLE (LSE) | 0916978131000
| FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 |  | CITY OF WAELDER (LSE) | 0541779691000
| FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 |  | CITY OF WEIMAR (LSE) | 0214974581000
| FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 |  | CITY OF YOAKUM (LSE) | 0694557721000
| GEUS (TDSP) | 8062449354000 |  | CLEARVIEW ELECTRIC INC | 785129219
| GOLDEN SPREAD ELECTRIC COOPERATIVE INC (TSP) | 1864707794000 |  | COLEMAN COUNTY ELECTRIC CO OP INC (LSE) | 0079246731000
| GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 |  | COMISION FEDERAL DE ELECTRICIDAD | 810008243
| GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 |  | CONCHO VALLEY ELECTRIC CO OP INC (LSE) | 0038666621000
| GRAYSON COLLIN ELECTRIC CO OP INC (AEP AS QSE) | 0089538124000 |  | CONOCOPHILLIPS COMPANY (LSE) | 001368265
| GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 |  | CONSOLIDATED EDISON SOLUTIONS INC | 809887904
| HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS (LSE) | 8098879041100
| HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 1 (LSE) | 8098879041200
| HEART OF TEXAS ELECTRIC COOPERATIVE INC (DSP) | 012074558 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 2 (LSE) | 8098879041300
| HILCO ELECTRIC CO OP INC (TDSP) | 008950545 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONEDISON SOLUTIONS (LSE) | 8098879041000
| HOUSTON COUNTY ELEC COOP INC (TDSP) | 005777206 |  | CONSTELLATION NEWENERGY INC (LSE) | 8797234681000
| HOUSTON COUNTY ELEC COOP INC TXU (TDSP) | 0057772064100 |  | CONSTELLATION NEWENERGY INC DBA NEWENERGY (LSE) | 8797234681200
| J A C ELECTRIC CO OP INC | 003890795 |  | CPL RETAIL ENERGY DBA 1300 | 0177405441300
| JACKSON ELECTRIC CO OP INC | 078423555 |  | CPL RETAIL ENERGY DBA 1400 | 0177405441400
| JASPER NEWTON ELECTRIC CO OP INC | 007933518 |  | CPL RETAIL ENERGY LP (LSE) | 017740544
| KARNES ELECTRIC CO OP INC | 006824106 |  | CPL RETAIL ENERGY LP 1100 | 0177405441100
| KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 |  | CPL RETAIL ENERGY LP DBA CPL | 0177405441200
| LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 |  | CPS ENERGY (LSE) | 0079360731000
| LAMAR COUNTY ELEC COOP DBA LEC RC HOUPL (TDSP) | 0048060974100 |  | DENTON MUNICIPAL ELECTRIC (LSE) | 0713801901000
| LCRA TRANSMISSION SERVICES CORPORATION | 0432268854000 |  | DEVONSHIRE ENERGY LLC (LSE) | 9624939901000
| LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 |  | DIRECT ENERGY BUSINESS LLC (LSE) | 800770810
| LIGHTHOUSE ELECTRIC CO OP TXU (TDSP) | 0028252894100 |  | DIRECT ENERGY BUSINESS LLC 1 (LSE) | 8007708101100
| LONE STAR TRANSMISSION LLC (TSP) | 8001203834000 |  | DIRECT ENERGY BUSINESS LLC 2 (LSE) | 8007708101200
| LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 |  | DIRECT ENERGY BUSINESS LLC DBA EXPERT ENERGY (LSE) | 8007708101000
| MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 |  | DIRECT ENERGY DBA 1300 | 0397133541300
| MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100 |  | DIRECT ENERGY DBA 1400 | 0397133541400
| MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 |  | DIRECT ENERGY LP DBA DIRECT ENERGY | 039713354
| MID SOUTH ELECTRIC CO OP ASSOC | 061278594 |  | DIRECT ENERGY LP DBA DIRECT ENERGY BUSINESS SERVICES | 0397133541000
| NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 |  | DIRECT ENERGY LP DBA DIRECT ENERGY MULTI FAMILY | 0397133541200
| NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 |  | DPI ENERGY LLC (LSE) | 785092292
| NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 |  | DTE ENERGY TRADING INC (LSE) | 383323526
| NUECES ELECTRIC CO OP INC | 008828857 |  | EDF INDUSTRIAL POWER SERVICES (TX) I LLC (LSE) | 7887078471100
| NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 |  | EDF INDUSTRIAL POWER SERVICES (TX) II LLC (LSE) | 7887078471200
| NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 |  | EDF INDUSTRIAL POWER SERVICES (TX) III LLC (LSE) | 7887078471300
| ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP) | 1039940674000 |  | EDF INDUSTRIAL POWER SERVICES (TX) LLC (LSE) | 788707847
| PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 |  | EDF INDUSTRIAL POWER SERVICES (TX) V LLC (LSE) | 7887078471500
| PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 |  | EDF INDUSTRIAL POWER SERVICES TX IV LLC (LSE) | 7887078471400
| RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000 |  | EN TOUCH SYSTEMS INC (LSE) | 155807808
| RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 |  | ENERGY PLUS HOLDINGS LLC | 8048918491000
| RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 |  | ENERGY TRANSFER RETAIL POWER LLC (LSE) | 8071242141000
| RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 |  | ENOW LP (LSE) | 144817595
| SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 |  | ENTERGY GULF STATES INC (BLT LSE) | 8274383831100
| SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 |  | ENTERGY TEXAS INC (LSE) | 8012610531000
| SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 |  | ENTRUST ENERGY INC (LSE) | 9640468611000
| SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 |  | ERCOT TEST LSE ACCOUNT 07212010 (LSE) | 8524567531000
| SHARYLAND UTILITIES LP (TDSP) | 105262336 |  | ERCOT TEST LSE ACCOUNT 07212010 PAST DATE (LSE) | 9639639631000
| SHARYLAND UTILITIES LP BRADY (TDSP) | 1052623364200 |  | ERCOTTEST_LSE_1 | 111111111
| SHARYLAND UTILITIES LP CELESTE (TDSP) | 1052623364300 |  | ERCOTTEST_LSE_2 | 111111112
| SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100 |  | ERCOTTEST_LSE_2_POLR | 1111111121000
| SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 |  | ERCOTTEST_LSE_3 | 111111113
| SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 |  | ERCOTTEST_LSE_4 | 111111114
| SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 |  | ERCOTTEST_LSE_5 | 111111115
| SOUTHWESTERN ELECTRIC POWER COMPANY BLT (TDSP) | 0069487644000 |  | ESCO1 LLC (LSE) | 791327153
| SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672 |  | EXTEX RETAIL SERVICES COMPANY LLC | 131494440
| TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 |  | FAYETTE ELECTRIC CO OP INC (LSE) | 0593309771000
| TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 |  | FIRST CHOICE POWER SPECIAL PURPOSE LIMITED PARTNERSHIP | 008613791
| TEXAS MUNICIPAL POWER AGENCY | 071374052 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER POL | 0086137911000
| TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER-AMS | 0086137911100
| TRI COUNTY ELECTRIC CO OP INC | 008945123 |  | FRONTIER UTILITIES INC (LSE) | 8094344211000
| TRINITY VALLEY ELEC CO OP | 009844564 |  | FRONTIER UTILITIES INC DBA RODEO ENERGY (LSE) | 8094344211100
| TRINITY VALLEY ELEC CO OP (AEP AS QSE) | 0098445644000 |  | FRONTIER UTILITIES INC DBA SOL ENERGY (LSE) | 8094344211200
| UNITED ELECTRIC CO OP SERVICES INC | 008945826 |  | FULCRUM RETAIL ENERGY LLC DBA AMIGO ENERGY (LSE) | 141047543
| VICTORIA ELECTRIC CO OP INC | 008953861 |  | FULCRUM RETAIL ENERGY LLC DBA TARA ENERGY RESOURCES (LSE) | 1410475431000
| VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 |  | GATEWAY ENERGY SERVICES CORP DBA GATEWAY POWER SERVICES (LSE) | 013876508
| WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 |  | GDF SUEZ ENERGY MARKETING NA INC (LSE) | 9689097391000
| WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 |  | GDF SUEZ ENERGY RESOURCES NA INC (LSE) | 099668332
| WHARTON COUNTY ELECTRIC CO OP INC | 118487958 |  | GDF SUEZ ENERGY RESOURCES NA INC DBA GSERNA POLR (LSE) | 0996683322222
| WIND ENERGY TRANSMISSION TEXAS LLC (TSP) | 8306765114000 |  | GEUS (LSE) | 8062449351000
| WISE ELECTRIC CO OP | 041405408 |  | GEXA ENERGY LP (LSE) | 108114542
| WOOD COUNTY ELECTRIC COOPERATIVE INC (TDSP) | 008952491 |  | GEXA ENERGY LP DBA GEXA ENERGY (LSE) | 1081145421000
| NOT LISTED |  |  | GEXA ENERGY LP III (LSE) | 1081145421100
|  |  |  | GEXA ENERGY LP IV (LSE) | 1081145421200
|  |  |  | GIM RETAIL ENERGY LLC (LSE) | 8269652091000
|  |  |  | GLACIAL ENERGY OF TEXAS INC | 605515472
|  |  |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC AEP AS QSE (LSE) | 1864707791000
|  |  |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC TXU AS QSE (LSE) | 186470779
|  |  |  | GRANBURY MUNICIPAL UTILITIES (LSE) | 0952141691000
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY (LSE) | 176871481
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY - COMMERCIAL | 1768714811200
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY CSA (LSE) | 1768714811500
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY RES 2 (LSE) | 1768714811400
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY-MULTIFAMILY (LSE) | 1768714811100
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY-POLR (LSE) | 1768714811300
|  |  |  | GUADALUPE VALLEY ELECTRIC CO OP INC (LSE) | 0079305891000
|  |  |  | HINO ELECTRIC POWER COMPANY (LSE) | 026533844
|  |  |  | HUDSON ENERGY JV LLC (LSE) | 8029612891000
|  |  |  | HUDSON ENERGY SERVICES LLC (LSE) | 121359595
|  |  |  | ILUMINAR ENERGY LLC (LSE) | 8292445521000
|  |  |  | ILUMINAR ENERGY LLC DBA ALLTEX POWER AND LIGHT (LSE) | 8292445521100
|  |  |  | ILUMINAR ENERGY LLC DBA PREMIUM POWER AND LIGHT (LSE) | 8292445521200
|  |  |  | INFINITE ELECTRIC LLC (LSE) | 9636606881000
|  |  |  | INFINITE ENERGY INC (LSE) | 9687867491000
|  |  |  | JPMORGAN VENTURES ENERGY CORPORATION (LSE) | 6026672011000
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY (LSE) | 110569998
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY TEXAS RGV | 1105699981000
|  |  |  | KERRVILLE PUBLIC UTILITY BOARD (LSE) | 1248248061000
|  |  |  | KINETIC ENERGY LLC | 792535846
|  |  |  | LEHMAN POWER SERVICES LLC (LSE) | 8263033511000
|  |  |  | LIBERTY POWER CORP. | 112361204
|  |  |  | LIBERTY POWER DELAWARE LLC | 625111021
|  |  |  | LIBERTY POWER HOLDINGS LLC | 784087293
|  |  |  | LIBERTY POWER TEXAS LLC | 785076246
|  |  |  | LIGHTHOUSE ELECTRIC CO OP (LSE) | 0028252891000
|  |  |  | LOWER COLORADO RIVER AUTHORITY (LSE) | 0432268851000
|  |  |  | LPT LLC DBA LPT SP LLC | 6116339131000
|  |  |  | LUMINANT ET SERVICES COMPANY (LSE) | 1733370281500
|  |  |  | LYNTEGAR ELECTRIC CO OP INC (LSE) | 0079371471000
|  |  |  | MAGIC VALLEY ELECTRIC CO OP INC (LSE) | 0089515011000
|  |  |  | MEGA ENERGY LP | 801176327
|  |  |  | MIDAMERICan ENERGY COMPANY (LSE) | 8847187681000
|  |  |  | MONONGAHELA COMMUNICATIONS LLC (LSE) | 8307007661000
|  |  |  | MP2 ENERGY TEXAS LLC (LSE) | 8281436311000
|  |  |  | MXENERGY ELECTRIC INC II (LSE) | 1480623541000
|  |  |  | MXENERGY ELECTRIC LSE | 148062354
|  |  |  | NATIONS POWER LLC (LSE) | 807179234
|  |  |  | NEUMIN PRODUCTION CO | 074606807
|  |  |  | NEW BRAUNFELS UTILITIES (LSE) | 0383461691000
|  |  |  | NEW MEXICO NATURAL GAS LP DBA TEXAS POWER | 807025689
|  |  |  | NEXTERA ENERGY POWER MARKETING LLC (LSE) | 0544813411000
|  |  |  | NEXTERA RETAIL OF TEXAS LP (LSE) | 784382017
|  |  |  | NOBLE AMERICAS ENERGY SOLUTIONS LLC (LSE) | 968254276
|  |  |  | NOORUDDIN INVESTMENTS LLC DBA DISCOUNT POWER (LSE) | 8254301971000
|  |  |  | NOVA POWER LLC (LSE) | 8306908761000
|  |  |  | NUECES ELECTRIC COOPERATIVE INC RETAIL DIVISION (NEC RD) | 0088288571000
|  |  |  | OCCIDENTAL POWER MARKETING LP (LSE) | 052298721
|  |  |  | OCCIDENTAL POWER SERVICES INC (LSE) | 1118490501000
|  |  |  | OUR ENERGY LLC (LSE) | 8273832461000
|  |  |  | PEDERNALES ELEC CO OP INC AEP (LSE) | 0079241111100
|  |  |  | PEDERNALES ELECTRIC CO OP INC (LSE) | 0079241111000
|  |  |  | PEGASUS ALLIANCE CORPORATION DBA ONPAC ENERGY (LSE) | 136387466
|  |  |  | PENNYWISE POWER LLC (LSE) | 8286293161000
|  |  |  | PENSTAR POWER LLC (LSE) | 144991671
|  |  |  | PENSTAR POWER LLC 1 (LSE) | 1449916711000
|  |  |  | PEPCO ENERGY SERVICES INC (LSE) | 106173672
|  |  |  | PILOT POWER GROUP INC. | 930453365
|  |  |  | POTENTIA ENERGY LLC (LSE) | 809047512
|  |  |  | PRELECTRIC ENERGY SERVICES LLC (LSE) | 159059315
|  |  |  | PREMIER POWER LLC (LSE) | 8330896621000
|  |  |  | PRIER ENERGY INC | 800805835
|  |  |  | PRIER ENERGY INC DBA BUBBA POWER (LSE) | 8008058351200
|  |  |  | PRIER ENERGY INC DBA GENERAL POWER AND LIGHT (LSE) | 8008058351000
|  |  |  | PRIER ENERGY INC DBA TODAYS ENERGY (LSE) | 8008058351100
|  |  |  | PROTON ENERGY INC (LSE) | 8305909511000
|  |  |  | PULSE ELECTRIC INC (LSE) | 8282993751000
|  |  |  | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (LSE) | 6243686011000
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EPCO (LSE) | 6243686011200
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EXP (LSE) | 6243686011100
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC HOUPL (LSE) | 6243686011400
|  |  |  | REACH ENERGY LLC | 791894152
|  |  |  | RELIABLE POWER LLC (LSE) | 8330897461000
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC | 799530915
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC DBA RELIANT ENERGY SOLUTIONS | 616498114
|  |  |  | RELIANT ENERGY TEXAS RETAIL LLC (LSE) | 8286294561000
|  |  |  | REPUBLIC POWER DBA ENERGY AMERICA II (TEST) | 0397133541100
|  |  |  | RIO GRANDE ELEC CO OP (LSE) AEP | 0027819531100
|  |  |  | RIO GRANDE ELECTRIC CO OP (LSE) TXU | 0027819531000
|  |  |  | SAN BERNARD ELECTRIC CO OP (LSE) | 0089453131000
|  |  |  | SECURE ENERGY LLC (LSE) | 8330898861000
|  |  |  | SHARYLAND UTILITIES LP BRADY (LSE) | 1052623361100
|  |  |  | SHARYLAND UTILITIES LP CELESTE (LSE) | 1052623361200
|  |  |  | SHELL ENERGY NORTH AMERICA (US) LP (LSE) | 9375172661100
|  |  |  | SOLARO ENERGY MARKETING CORPORATION (LSE) | 128849358
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) | 0038663321000
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) AEP | 0038663321100
|  |  |  | SOUTH TEXAS ELECTRIC COOPERATIVE (POLR) | 0038663321300
|  |  |  | SOUTHWEST TEXAS ELECTRIC CO OP INC (LSE) | 0084158951000
|  |  |  | SOUTHWESTERN ELECTRIC POWER COMPANY BLT (LSE) | 0069487641000
|  |  |  | SOUTHWESTERN PUBLIC SERVICE COMPANY (LSE) | 0073697131000
|  |  |  | SPARK ENERGY LP | 037597437
|  |  |  | SPARK ENERGY LP - DBA FIRE FLY POWERED BY SPARK ENERGY | 0375974371000
|  |  |  | STAR ELECTRICITY INC DBA STARTEX POWER (LSE) | 148055531
|  |  |  | STARLIGHT ENERGY LP | 181203170
|  |  |  | STATE POWER COMPANY INC (LSE) | 801220844
|  |  |  | STREAM GAS AND ELECTRIC LTD (LSE) | 159008395
|  |  |  | TARA ENERGY LLC (LSE) | 111950619
|  |  |  | TARA ENERGY LLC DBA SMART PREPAID ELECTRIC (LSE) | 1119506191000
|  |  |  | TAYLOR ELECTRIC CO OP INC (LSE) | 0079344251000
|  |  |  | TAYLOR ELECTRIC CO OP INC-ABILENE (LSE) | 0079344251100
|  |  |  | TELECOM CONSULTING AND SERVICES LLC DBA TCS ENERGY (LSE) | 8293064921000
|  |  |  | TENASKA POWER SERVICES CO (LSE) | 015016913
|  |  |  | TENASKA POWER SERVICES CO DBA TPS I | 0150169131000
|  |  |  | TENASKA POWER SERVICES CO DBA TPS II | 0150169131100
|  |  |  | TENASKA POWER SERVICES CO DBA TPS III | 0150169131200
|  |  |  | TENASKA POWER SERVICES CO DBA TPS4 | 0150169131300
|  |  |  | TENASKA TOPS REP LP | 109518444
|  |  |  | TENASKA TOPS REP LP DBA TOPS I | 1095184441000
|  |  |  | TENASKA TOPS REP LP DBA TPS5 | 1095184445000
|  |  |  | TENASKA TOPS REP LP DBA TPS6 | 1095184446000
|  |  |  | TENASKA TOPS REP LP DBA TPS7 | 1095184447000
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (BLT LSE) | 6091700301300
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (LSE) | 609170030
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS INC./TPS (LSE) | 6091700301100
|  |  |  | TEX-LA ELECTRIC COOPERATIVE OF TEXAS INC /AEP2 (LSE) | 6091700301200
|  |  |  | TEXAS POWER LP (LSE) | 614848005
|  |  |  | TEXAS POWER LP DBA PRE PAY POWER (LSE) | 6148480051000
|  |  |  | TEXAS RETAIL ENERGY LLC (LSE) | 124238432
|  |  |  | TEXPO POWER LP DBA YEP | 780061300
|  |  |  | TEXREP1 LLC DBA EPCOT ELECTRIC (LSE) | 788707912
|  |  |  | TEXREP3 LLC DBA MILAGRO ELECTRIC (LSE) | 8071239431000
|  |  |  | TEXREP5 LLC DBA ALLSTAR ENERGY LLC (LSE) | 8292945321000
|  |  |  | TEXREP6 LLC (LSE) | 8292945991000
|  |  |  | TEXREP7 LLC (LSE) | 8292946981000
|  |  |  | TGT ENERGY LLC | 006961700
|  |  |  | THE ROYAL BANK OF SCOTLAND PLC (LSE) | 229123146
|  |  |  | TPS POWER HOLDINGS LLC (LSE) | 8306796631000
|  |  |  | TRIEAGLE ENERGY LP (LSE) | 124769063
|  |  |  | TRIEAGLE ENERGY LP DBA EAGLE ENERGY | 1247690631100
|  |  |  | TRIEAGLE ENERGY LP DBA PILOT ENERGY | 1247690631200
|  |  |  | TRIEAGLE ENERGY LP DBA POWER HOUSE ENERGY | 1247690631300
|  |  |  | TRIEAGLE ENERGY LP DBA TRIEAGLE ENERGY SERVICES | 1247690631000
|  |  |  | TRUE ELECTRIC LLC | 793874822
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (LG NR POLR) | 1733370281300
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (RES POLR) | 1733370281100
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (SM NR POLR) | 1733370281200
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA TXU ENERGY | 1733370281000
|  |  |  | TXU SESCO CO (LSE) | 0079280961000
|  |  |  | TXU SESCO ENERGY SERVICES COMPANY (SUBLSE) | 1733370281400
|  |  |  | UG AND E TEXAS INC (LSE) | 243434292
|  |  |  | VETERAN ENERGY LLC (LSE) | 0102173951000
|  |  |  | WEATHERFORD MUNICIPAL UTILITY SYSTEM (LSE) | 0817196271000
|  |  |  | WEIR INVESTMENTS FUND LLC DBA APOLLO POWER AND LIGHT LLC (LSE) | 8282227731000
|  |  |  | WESTERN FARMERS ELECTRIC COOPERATIVE (LSE) | 072862407
|  |  |  | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (LSE) | 0079233111000
|  |  |  | WTU RETAIL ENERGY DBA 1300 | 0177412941300
|  |  |  | WTU RETAIL ENERGY DBA 1400 | 0177412941400
|  |  |  | WTU RETAIL ENERGY LP (LSE) | 017741294
|  |  |  | WTU RETAIL ENERGY LP 1100 | 0177412941100
|  |  |  | WTU RETAIL ENERGY LP DBA WTU | 0177412941200
|  |  |  | YOUNG ENERGY LLC DBA PAYLESS POWER (LSE) | 189069284
NOT LISTED

## Planning - CC
ERCOT Confidential
Planning Information
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | PLANNING DETAILS | [20 empty] | GENERATOR AUXILIARY LOAD |  |  | Generation Auxiliary Load Characteristics For Mw Load |  |  |  |  | Generation Auxiliary Load Characteristics For MVAR Load |  |  |  | PSSE MODEL : THE FOLLOWING LIST OF FILES ARE REQUIRED TO BE SUBMITTED IF THIS IS AN INITIAL REGISTRATION OR IF THERE ARE CHANGES MODIFYING PREVIOUSLY SUBMITTED PSSE FILES. PLEASE INCLUDE ALL PSSE FILES IN A ZIP OR COMPRESSED FOLDER FILE ALONG WITH YOUR RARF SUBMITTAL IN THE SAME SERVICE REQUEST.
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | What Is The Mva Base That The Following Data Is Based On? | What Is The Kv Base That The Following Data Is Based On? | Direct Axis Subtransient Reactance, X"di (unsaturated) | Direct Axis Transient Reactance, X'di (unsaturated) | Positive Sequence Z (unsaturated) |  | Negative Sequence Z (unsaturated) |  | Does Zero Sequence Z exist? | Zero Sequence Z (unsaturated) |  | Direct Axis Subtransient Reactance, X"dv (saturated) | Direct Axis Transient Reactance, X'dv (saturated) | Positive Sequence Z (saturated) |  | Negative Sequence Z (saturated) |  | Zero Sequence Z (saturated) |  | Zero Sequence Grounding Resistance For An Impedance Grounded Generator In P.u. (100 Mva Base) | Zero Sequence Grounding Reactance For An Impedance Grounded Generator In P.u. (100 Mva Base) | Average Amount Of Auxiliary Real Power | Average Amount Of Auxiliary Reactive Power | Auxiliary Load Power Factor | Large Motor, Percent Of Total Mw Load | Small Motor, Percent Of Total Mw Load | Resistive (heating) Load, Percent Of Total Mw Load | Discharge Lighting, Percent Of Total Mw Load | Other, Percent Of Total Mw Load | Large Motor, Percent Of Total Mvar Load | Small Motor, Percent Of Total Mvar Load | Discharge Lighting, Percent Of Total Mvar Load | Other, Percent Of Total Mvar Load | Generator Form | Turbine-governor Form | Excitation Form | Power System Stabilizer Form (required If There Is A Power System Stabilizer) | Compensator Form (required If There Is A Compensator) | Over Excitation Limiter Form (required If There Is An Over Excitation Limiter) | Under Excitation Limiter Form (required If There Is An Under Excitation Limiter)
List | Automatic | Automatic | MVA | kV | pu | pu | R in p.u. | X in p.u. | R in p.u. | X in p.u. | Y/N | R in p.u. | X in p.u. | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | MW | MVAR
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on F7: Both saturated and unsaturated values are required as noted in the sheet.
Note on G7: Both saturated and unsaturated values are required as noted in the sheet.
Note on H7: Both saturated and unsaturated values are required as noted in the sheet.
Note on J7: Both saturated and unsaturated values are required as noted in the sheet.
Note on Q7: Both saturated and unsaturated values are required as noted in the sheet.
Note on S7: Both saturated and unsaturated values are required as noted in the sheet.

## Protection - CC
ERCOT Confidential
Protection Information
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | PLANT VOLTAGE PROTECTION | [18 empty] | PLANT FREQUENCY PROTECTION
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | Breaker Interruption Time | Instantaneous Undervoltage Trip | Undervoltage 1 | Time 1 | Undervoltage 2 | Time 2 | Undervoltage 3 | Time 3 | Undervoltage 4 | Time 4 | Instantaneous Overvoltage Trip | Overvoltage 1 | Time 1 | Overvoltage 2 | Time 2 | Overvoltage 3 | Time 3 | Overvoltage 4 | Time 4 | Instantaneous Underfrequency Trip | Underfrequency 1 | Time 1 | Underfrequency 2 | Time 2 | Underfrequency 3 | Time 3 | Underfrequency 4 | Time 4 | Instantaneous Overfrequency Trip | Overfrequency 1 | Time 1 | Overfrequency 2 | Time 2 | Overfrequency 3 | Time 3 | Overfrequency 4 | Time 4
List | Automatic | Automatic | cycles | p.u. | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | sec | Hz | Hz | sec | Hz | sec | Hz | sec | Hz | sec | Hz | Hz | sec | Hz | sec | Hz | sec | Hz | sec
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## SubSync - CC
ERCOT Confidential
SubSync Information
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | SUBSYNCHRONOUS RESONANCE
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | Mass # | Mass Code | Mass Name | Mass Inertia | Inertia Units | Associated Damping | Damping Units | Stiffness Between Masses Previous And Current Mass | Stiffness Units
List | Automatic | Automatic | List | Automatic
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Stability Study Model
ERCOT Confidential
Stability Study Model (if applicable)

## PSCAD Model
ERCOT Confidential
PSCAD Model (if applicable)
SSR/SSI Analysis

## Dynamic Data
ERCOT Confidential
DYNAMIC DATA