| NPRR Number | 461 | NPRR Title | Energy Storage Settlements Consistent With PUCT Project 39917 |
| --- | --- | --- | --- |
| Date |  | July 10, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Amanda Brown |  |
| E-mail Address |  | abrown@xtremepower.com |  |
| Company |  | Xtreme Power |  |
| Phone Number |  | 512-268-3949 X4409 |  |
| Cell Number |  | 512-924-4910 |  |
| Market Segment |  | Amanda Brown |  |

Comments

Xtreme Power offers these comments to address a narrow concern related to a proposed new data posting requirement in Section 11.5.2.2, General Public Generation Data Posting/Availability, as discussed at the 7/9/12 meeting of the Qualified Scheduling Entity Managers Working Group (QMWG).

NPRR461 creates a requirement for ERCOT to post total Energy Storage Resource (ESR) Wholesale Storage Load to the Market Information System (MIS) Secure Area.  While Xtreme Power understands the value of making total Wholesale Storage Load readily available to Market Participants on the MIS, there is concern that until a sufficient number of ESRs are participating in the ERCOT market, the availability of such data would conflict with the confidentiality provisions of Protocols Section 1.3.1.1, Items Considered Protected Information, specifically subsections:

(c) which protects “scheduled or metered Resource data” until 60 days after the Operating Day;

(g) which protects “Dispatch Instructions identifiable to a specific QSE or Resource” until 180 days after the Operating Day; and

(h) which protects “Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer” until 180 days after the Operating Day.

Because ESRs will be dually-registered as Generation Resources and Controllable Load Resources, subsection (c) is applicable.  Because the ESR Wholesale Storage Load may be withdrawn in accordance with a Dispatch Instruction in the provision of an Ancillary Service, subsection (g) applies.  If only one ESR participates in the market, then total Wholesale Storage Load will equal raw demand and energy data identifiable to a specific QSE in violation of subsection (h).  If only two ESRs are participating, then at least two Market Participants will see the raw data of another after backing out their own.  Xtreme Power also notes that if a limited number of ESRs of different technologies with very different charge/discharge profiles are engaged in the market, the raw demand and energy data identifiable to a specific QSE may still be readily transparent even if there are three or more ESRs charging and discharging in a given Operating Day.

Therefore, Xtreme Power first recommends the treatment of Wholesale Storage Load under Protocols Section 1.3.1.1 be clarified in a manner similar to other Market Participant-specific Load data and secondly suggests the proposed amendment to Protocols Section 11.5.2.2 be gray-boxed until such a time as the posting of total ESR Wholesale Storage Load will not allow Market Participants to disaggregate the data to a QSE- or Resource-specific level, to avoid conflict with the data confidentiality provisions of Protocols Section 1.3.1.1.  Xtreme Power suggests the criteria for removal of the gray-box be market participation by at least five ESRs with a nameplate capacity not less than 10 MW.

Language is suggested below as redline to the 6/20/12 ERCOT Comments.

Revised Cover Page Language

| Nodal Protocol Sections Requiring Revision (Include Section No. and Title) | 1.3.1.1, Items Considered Protected Information 2.1, Definitions 2.2, Acronyms and Abbreviations 3.4, Load Zones 3.8.1, Split Generation Resources 6.6.3.1, Real-Time Energy Imbalance Payment or Charge at a Resource Node 9.17.1, Billing Determinant Data Elements 10.2.3, ERCOT-Polled Settlement Meters 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters 10.3.2.5, Allocation of Net Load at Energy Storage Resource Facilities (new) 10.3.2.5.1, Calculation of Wholesale and Retail Load (new) 10.3.2.5.2, Energy Storage Resource Charging Telemetry (new) 11.4.6, Unaccounted for Energy Calculation and Allocation 11.5.1, Aggregate Retail Load Data 11.5.2.2, General Public Generation Data Posting/Availability |
| --- | --- |
| Market Guide Requiring Revision | Settlement Metering Operating Guide (SMOG) |
| Revision Description | This Nodal Protocol Revision Request (NPRR) modifies the Protocols to implement the process for Settlement of Energy Storage Resources (ESR) consistent with Public Utility Commission of Texas (PUCT) Project No. 39917, Rulemaking on Energy Storage Issues and adds transparency for current practices on 4-Coincident Peak (4CP) calculations. |
| Reason for Revision | This NPRR aligns ERCOT business practice with PUCT Project No. 39917 and adds transparency for current practices on 4CP calculations. |

Revised Proposed Protocol Language

- 1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, and in Section 3.2.5, Publication of Resource and Load Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(b)	Bids, offers, or pricing information identifiable to a specific Qualified Scheduling Entity (QSE) or Resource.  The Protected Information status of part of this information shall expire 60 days after the applicable Operating Day, as follows:

(i)	Ancillary Service Offers by Operating Hour for each Resource for all Ancillary Services submitted for the Day-Ahead Market (DAM) or any Supplemental Ancillary Services Market (SASM);

(ii)	The quantity of Ancillary Service offered by Operating Hour for each Resource for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.  The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (5) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5;

(c)	Status of Resources, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(d)	Current Operating Plans (COPs).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(e)	Ancillary Service Trades, Energy Trades, and Capacity Trades identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(f)	Ancillary Service Schedules identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(g)	Dispatch Instructions identifiable to a specific QSE or Resource, except for Reliability Unit Commitment (RUC) commitments and decommitments as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(h)	Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(i)	Wholesale Storage Load data identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(j)	Settlement Statements and Invoices identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(k)	Number of Electric Service Identifiers (ESI IDs) identifiable to a specific LSE.  The Protected Information status of this information shall expire 365 days after the applicable Operating Day;

(l)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.  The Protected Information status of this information shall expire when the generation interconnection agreement is executed or a financial arrangement for transmission construction is completed with a Transmission Service Provider (TSP);

(m)	Resource-specific costs, design and engineering data;

(n)	Congestion Revenue Right (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder.  The Protected Information status of this information shall expire as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own shall expire at the end of the CRR Auction in which the CRRs were first sold; and

(ii)	The Protected Information status of all other CRR information identified above in item (m) shall expire six months after the end of the year in which the CRR was effective.

(o)	Renewable Energy Credit (REC) account balances.  The Protected Information status of this information shall expire three years after the REC Settlement period ends;

(p)	Credit limits identifiable to a specific QSE;

(q)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information:

(i)	Submitted to or collected by ERCOT under the Protocols or Other Binding Documents; or

(ii) 	Provided to ERCOT in support of a Reliability Must-Run (RMR) application under Section 3.14.1, Reliability Must Run;

(r)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the Public Utility Commission of Texas (PUCT).  Information that is redacted or organized in such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(s)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(t)	QSE, TSP, and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(u)	Direct Current Tie (DC Tie) information provided to a TSP or DSP under Section 9.17.2, Direct Current Tie Schedule Information;

(v)	Any Texas Standard Electronic Transaction (TX SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Substantive Rules on performance measure reporting;

(ii)	These Protocols or Other Binding Documents; or

(iii)	Any Technical Advisory Committee (TAC)-approved reporting requirements;

(w)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.9, Generation Resource Return to Service Updates;

(x)	For purposes of capacity demand reserve reporting, the unavailability of Switchable Generation Resources to the ERCOT System and supporting documentation submitted pursuant to paragraph (2) of Section 16.5.4, Maintaining and Updating Resource Entity Information, except for reporting the aggregate capacity or except as may be required by Section 3.2.5;

(y)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity;

(z)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Watch, and as defined by the Operating Guides;

(aa)	Non-public financial information provided by a Counter-Party to ERCOT pursuant to meeting its credit qualification requirements as well as the QSE’s form of credit support; or

(bb)	ESI ID, identity of Retail Electric Provider (REP), and MWh consumption associated with transmission-level Customers that wish to have their Load excluded from the Renewable Portfolio Standard (RPS) calculation consistent with Section 14.5.3, End-Use Customers, and subsection (j) of P.U.C. Subst. R. 25.173, Goal for Renewable Energy.

2.1 	DEFINITIONS

- Load

. . .

Wholesale Storage Load

Energy that is separately metered from all other Facilities and withdrawn from the ERCOT System to charge an Energy Storage Resource (ESR), including losses for the energy conversion process.

- Load Zones

A group of Electrical Buses assigned to the same zone under Section 3.4, Load Zones.  Every Electrical Bus in ERCOT with a Load, except an Electrical Bus associated with an ESR designated as Wholesale Storage Load, must be assigned to a Load Zone for Settlement purposes.  A NOIE Load Zone is a type of Load Zone.

- Resource

. . .

Energy Storage Resource (ESR)

An All-Inclusive Resource with a capacity of one-tenth of a MW or greater that is capable of storing energy and may qualify to supply Ancillary Services.  The ESR at times may be charging (withdrawing) energy from the ERCOT System and at other times may be discharging (injecting) energy into the ERCOT System.

2.1 	ACRONYMS AND ABBREVIATIONS

ESR			Energy Storage Resource

- 3.4	Load Zones

ERCOT shall assign every Electrical Bus, except an Electrical Bus associated with an Energy Storage Resource (ESR) designated as Wholesale Storage Load, to a Load Zone for Settlement purposes.  ERCOT shall calculate a Settlement Point Price for each Load Zone as the Load-weighted average of the Locational Marginal Prices (LMPs) at all Electrical Buses assigned to that Load Zone.  The Load-weighting must be determined using the Load, if any, from the State Estimator at each Electrical Bus.

- 3.8.1	Split Generation Resources

(1)	When a generation meter is split, as provided for in Section 10.3.2.1, Generation Resource Meter Splitting, two or more independent Generation Resources must be created in the ERCOT Network Operations Model according to Section 3.10.7.2, Modeling of Resources and Transmission Loads, to function in all respects as Split Generation Resources in ERCOT System operation.  Combined Cycle Trains and Energy Storage Resources (ESRs) may not be registered in ERCOT as a Split Generation Resource.

(2)	Each Qualified Scheduling Entity (QSE) representing a Split Generation Resource shall collect and shall submit to ERCOT the Resource Parameters defined under Section 3.7, Resource Parameters, for the Split Generation Resource it represents.  The parameters provided must be consistent with the parameters submitted by each other QSE that represents a Split Generation Resource from the same Generation Resource.  The parameters submitted for each Split Generation Resource for limits and ramp rates must be according to the capability of the Split Generation Resource represented by the QSE.  Startup and shutdown times, time to change status and number of starts must be identical for all the Split Generation Resources from the same Generation Resource submitted by each QSE.  ERCOT shall review data submitted by each QSE representing Split Generation Resources for consistency and notify each QSE of any errors.

(3)	Each Split Generation Resource may be represented by a different QSE.  The Resource Entities that own or control the Split Generation Resources from a single Generation Resource must designate a Master QSE.  Each QSE representing a Split Generation Resource must comply in all respects to the requirements of a Generation Resource specified under these Protocols.

(4)	The Master QSE shall:

(a)	Serve as the Single Point of Contact for the Generation Resource, as required by Section 3.1.4.1, Single Point of Contact;

(b)	Provide real-time telemetry for the total Generation Resource, as specified in Section 6.5.5.2, Operational Data Requirements; and

(c)	Receive Verbal Dispatch Instructions (VDIs) from ERCOT, as specified in Section 6.5.7.8, Dispatch Procedures.

(5)	Each QSE is responsible for representing its Split Generation Resource in its Current Operating Plan (COP).  During the Reliability Unit Commitment (RUC) Study Periods, any conflict in the Resource Status of a Split Generation Resource in the COP is resolved according to the following:

(a)	If a Split Generation Resource has a Resource Status of OUT for any hour in the COP, then any other QSEs’ COP entries for their Split Generation Resources from the same Generation Resource are also considered unavailable for the hour;

(b)	If the QSEs for all Split Generation Resources from the same Generation Resource have submitted a COP and at least one of the QSEs has an On-Line Resource Status in a given hour, then the status for all Split Generation Resources for the Generation Resource is considered to be On-Line for that hour, except if any of the QSEs has indicated in the COP a Resource Status of OUT.

(6)	Each QSE representing a Split Generation Resource shall update its individual Resource Status appropriately.

(7)	Each QSE representing a Split Generation Resource may independently submit Energy Offer Curves and Three-Part Supply Offers.  ERCOT shall treat each Split Generation Resource offer as a separate offer, except that all Split Generation Resources in a single Generation Resource must be committed or decommitted together.

(8)	Each QSE submitting verifiable cost data to ERCOT shall coordinate among all owners of a single Generation Resource to provide individual Split Generation Resource data consistent with the total verifiable cost of the entire Generation Resource.  ERCOT may compare the total verifiable costs with other similarly situated Generation Resources to determine the reasonability of the cost.

6.6.3.1	Real-Time Energy Imbalance Payment or Charge at a Resource Node

(1)	The payment or charge to each QSE for Energy Imbalance Service is calculated based on the Real-Time Settlement Point Price for the following amounts at a particular Resource Node Settlement Point:

(a)	The energy produced, or consumed as Wholesale Storage Load, by all its Generation Resources or Energy Storage Resources (ESRs) at the Settlement Point; plus

(b)	The amount of its Self-Schedules with sink specified at the Settlement Point; plus

(c)	The amount of its Day-Ahead Market (DAM) Energy Bids cleared in the DAM at the Settlement Point; plus

(d)	The amount of its Energy Trades at the Settlement Point where the QSE is the buyer; minus

(e)	The amount of its Self-Schedules with source specified at the Settlement Point; minus

(f)	The amount of its energy offers cleared in the DAM at the Settlement Point; minus

(g)	The amount of its Energy Trades at the Settlement Point where the QSE is the seller.

(2)	The payment or charge to each QSE for Energy Imbalance Service at a Resource Node Settlement Point for a given 15-minute Settlement Interval is calculated as follows:

RTEIAMT q, p	= 	(-1) * {Σgsc(Σr(GSPLITPER q, r, gsc, p * NMSAMTTOT gsc) + Σr(LSPLITPER q, r, gsc, p *ESLAMTTOT gsc)) + RTSPP p * [(SSSK q, p * ¼) + (DAEP q, p * ¼) + (RTQQEP q, p * ¼) – (SSSR q, p * ¼) – (DAES q, p * ¼) – (RTQQES q, p * ¼)]}

Σr

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTEIAMTq, p | $ | Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval. |
| RTSPP p | $/MWh | Real-Time Settlement Point Price per Settlement Point—The Real-Time Settlement Point Price at Settlement Point p, for the 15-minute Settlement Interval. |
| SSSK q, p | MW | Self-Schedule with Sink at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with sink at Settlement Point p, for the 15-minute Settlement Interval. |
| DAEP q, p | MW | Day-Ahead Energy Purchase per QSE per Settlement Point—The QSE q’s DAM Energy Bids at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval. |
| RTQQEP q, p | MW | Real-Time QSE-to-QSE Energy Purchase per QSE per Settlement PointThe amount of MW bought by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval. |
| SSSR q, p | MW | Self-Schedule with Source at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with source at Settlement Point p, for the 15-minute Settlement Interval. |
| DAES q, p | MW | Day-Ahead Energy Sale per QSE per Settlement Point—The QSE q’s energy offers at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval. |
| RTQQES q, p | MW | Real-Time QSE-to-QSE Energy Sale per QSE per Settlement PointThe amount of MW sold by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval. |
| NMSAMTTOT gsc | $ | Net Metering Settlement Payment—The total payment or charge to a generation site code gsc when the net sum for all Settlement Meters included in the generation site is positive (i.e., the generation site is “net generation”). |
| ESLAMTTOT gsc | $ | Energy Storage Load Payment or Charge— The total payment or charge to generation site code gsc for Wholesale Storage Load at the Settlement Point where the ESR is located, for each 15-minute Settlement Interval. |
| GSPLITPER q, r, gsc, p | none | Generation Resource SCADA Splitting Percentage—The generation allocation percentage for Resource r . GSPLITPER is calculated by taking the Supervisory Control and Data Acquisition (SCADA) values (GSSPLITSCA) for a particular Generation Resource r that is part of a net metering configuration and dividing by the sum of all SCADA values for all Resources that are included in the net metering configuration for each interval. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| q | none | A QSE. |
| p | none | A Resource Node Settlement Point. |
| r | none | A Generation Resource or ESR. |
| gsc | none | A generation site code. |
| LSPLITPER q, r, gsc, p | none | Load SCADA Splitting Percentage—The Load allocation percentage for ESR r. LSPLITPER is calculated by taking the (SCADA) Load values (LSPLITSCA) for a particular ESR r that is part of a net metering configuration and dividing by the sum of SCADA Load values for all ESRs that are included in the net metering configuration for each interval. |

[NPRR419: Replace paragraph (2) above with the following upon system implementation:] (2) The payment or charge to each QSE for Energy Imbalance Service at a Resource Node Settlement Point for a given 15-minute Settlement Interval is calculated as follows: RTEIAMT q, p = (-1) * {Σgsc(Σr(RESREV q, r, gsc, p)) + (ΣrRESESREV q, r, gsc, p)) + RTSPP p * [(SSSK q, p * ¼) + (DAEP q, p * ¼) + (RTQQEP q, p * ¼) – (SSSR q, p * ¼) – (DAES q, p * ¼) – (RTQQES q, p * ¼)]} Where: RESREV q, r, gsc, p = GSPLITPER q, r, gsc, p * NMSAMTTOT gsc RESESREV q, r, gsc, p = LSPLITPER q, r, gsc, p * ESLAMTTOT gsc RESMEB q, r, gsc, p = GSPLITPER q, r, gsc, p * NMRTETOT gsc RESESMEB q r, gsc, p = LSPLITPER q, r, gsc, p *Σme (MEBV gsc,b + RNIMBAL q, p = ΣgscΣr(RESMEB q, r, gsc, p + RESESMEB q r, gsc, p) + (SSSK q, p * ¼) + (DAEP q, p * ¼) + (RTQQEP q, p * ¼) – (SSSR q, p * ¼) – (DAES q, p * ¼) – (RTQQES q, p * ¼) Σr Σr The above variables are defined as follows: Variable; Unit; Description. RTEIAMT q, p; $; Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval.. RNIMBAL q, p; MWh; Resource Node Energy Imbalance per QSE per Settlement Point—The Resource Node volumetric imbalance for QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval.. RTSPP p; $/MWh; Real-Time Settlement Point Price per Settlement Point—The Real-Time Settlement Point Price at Settlement Point p, for the 15-minute Settlement Interval.. SSSK q, p; MW; Self-Schedule with Sink at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with sink at Settlement Point p, for the 15-minute Settlement Interval.. DAEP q, p; MW; Day-Ahead Energy Purchase per QSE per Settlement Point—The QSE q’s DAM Energy Bids at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval.. RTQQEP q, p; MW; Real-Time QSE-to-QSE Energy Purchase per QSE per Settlement PointThe amount of MW bought by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval.. SSSR q, p; MW; Self-Schedule with Source at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with source at Settlement Point p, for the 15-minute Settlement Interval.. DAES q, p; MW; Day-Ahead Energy Sale per QSE per Settlement Point—The QSE q’s energy offers at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval.. RTQQES q, p; MW; Real-Time QSE-to-QSE Energy Sale per QSE per Settlement PointThe amount of MW sold by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval.. RESREV q, r, gsc, p; $; Resource Share Revenue —The Resource share of the total net metering Settlement payment to the entire Facility attributed to Resource r that is part of a generation site code gsc for the QSE q at Settlement Point p.. RESESREV q, r, gsc, p; $; Resource Share Energy Storage Revenue—The ESR share of the total energy storage Load payment or charge to the entire Facility attributed to ESR r that is part of a generation site code gsc for the QSE q at Settlement Point p.. MEBV gsc, b; MWh; Metered Energy for Virtual Storage Load at busThe metered energy at the Settlement Meter me for the 15-minute Settlement Interval for the Wholesale Storage Load (negative) associated with an ESR located at a generation site.. RESMEB q, r, gsc, p; MWh; Resource Share Net Meter Real-Time Energy Total—The Resource share of the net sum for all Settlement Meters attributed to Resource r that is part of a generation site code gsc for the QSE q at Settlement Point p.. RESESMEB q, r, gsc, p; MWh; Resource Share Energy Storage Real-Time Energy—The share of the Wholesale Storage Load net sum for all Settlement Meters associated with a generation site code gsc where ESR r is located for the QSE q at Settlement Point p.. NMSAMTTOT gsc; $; Net Metering Settlement Payment—The total payment or charge to a generation site code gsc when the net sum for all Settlement Meters included in the generation site is positive (i.e., the generation site is “net generation”).. ESLAMTTOT gsc; $; Energy Storage Load Payment or Charge—The total payment or charge to gensite gsc for Wholesale Storage Load at the Settlement Point where the ESR is located, for each 15-minute Settlement Interval.. NMRTETOT gsc; MWh; Net Meter Real-Time Energy Total—The net sum for all Settlement Meters included in generation site code gsc. A positive value indicates an injection of power to the ERCOT System.. GSPLITPER q, r, gsc, p; none; Generation Resource SCADA Splitting Percentage—The generation allocation percentage for Resource r. GSPLITPER is calculated by taking the Supervisory Control and Data Acquisition (SCADA) values (GSSPLITSCA) for a particular Generation Resource r that is part of a net metering configuration and dividing by the sum of all SCADA values for all Resources that are included in the net metering configuration for each interval. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.. LSPLITPER q, r, gsc, p; none; Load SCADA Splitting Percentage—The Load allocation percentage for ESR r. LSPLITPER is calculated by taking the SCADA Load values (LSPLITSCA) for a particular ESR r that is part of a net metering configuration and dividing by the sum of SCADA Load values for all ESRs that are included in the net metering configuration for each interval.. q; none; A QSE.. p; none; A Resource Node Settlement Point.. r; none; A Generation Resource or ESR.. gsc; none; A generation site code.. me; none; A Settlement Meter.. b; none; An Electrical Bus..

(3)	The total payments to a Facility for each 15-minute Settlement Interval, shall be calculated as follows:

NMRTETOT gsc 	= Σme MEB gsc, b

If NMRTETOT gsc = 0 for a 15-minute Settlement Interval, then

The retail Load is included in the Real-Time AML per QSE and is included in the Real-Time energy imbalance payment or charge at a Load Zone.

The Wholesale Storage Load associated with an ESR is settled as follows:

ESLAMTTOT gsc	= Σb (RTRMPRES b * MEBV gsc, b)

Where the price for Settlement Meter is determined as follows:

RTRMPRES b 	= (RNWFVSL b, y * RTLMP b, y)

Where the weighting factor for the Electrical Bus associated with the meter is:

RNWFVSL b, y 	= [Max (0.001, TL b, y)) * TLMP y] /

[Max (0.001, TL b, y)) * TLMP y]

Otherwise, when NMRTETOT gsc > 0 for a 15-minute Settlement Interval, then

NMSAMTTOT gsc	=	Σb (RTRMPR b * MEB gsc, b)

Where the price for Settlement Meter is determined as follows:

RTRMPR b 		=(RNWF b, y * RTLMP b, y)

Where the weighting factor for the Electrical Bus associated with the meter is:

RNWF b, y 		= [Max (0.001, ΣrBP y) * TLMP y] /

[Max (0.001, ΣrBP r, y) * TLMP y]

The summation is over all Resources r associated to the individual meter.  The determination of which Resources are associated to an individual meter is static and based on the normal system configuration of the generation site code, gsc.

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| NMRTETOT gsc | MWh | Net Meter Real-Time Energy Total—The net sum for all Settlement Meters me included in generation site code gsc. A positive value indicates an injection of power to the ERCOT System. |
| NMSAMTTOT gsc | $ | Net Metering Settlement Payment—The total payment to a generation site code gsc when the net sum for all Settlement Meters included in the generation site is positive (i.e., the generation site is “net generation”). |
| RTRMPR b | $/MWh | Real-Time Price for the Energy Metered for each Resource meter at busThe Real-Time price for the Settlement Meter at Electrical Bus b, for the 15-minute Settlement Interval. |
| MEB gsc, b | MWh | Metered Energy at busThe metered energy by the Settlement Meter me for the 15-minute Settlement Interval. A positive value represents energy produced, and a negative value represents energy consumed. |
| RTLMP b, y | $/MWh | Real-Time Locational Marginal Price at bus per intervalThe Real-Time LMP for the meter at Electrical Bus b, for the SCED interval y. |
| TLMP y | second | Duration of SCED interval per intervalThe duration of the SCED interval y. |
| RNWF b, y | none | Net meter Weighting Factor per intervalThe weight factor used in net meter price calculation for meters in Electrical Bus b, for the SCED interval y. The weighting factor used in the net meter price calculation shall not be recalculated after the fact due to revisions in the association of Resources to Settlement Meters. |
| ESLAMTTOT gsc | $ | Energy Storage Load Payment or Charge— The total payment or charge to generation site code gsc for Wholesale Storage Load at the Settlement Point where the ESR is located, for each 15-minute Settlement Interval. |
| RTRMPRES b | $/MWh | Real-Time Price for the Energy Metered as Wholesale Storage Load located at Energy Storage site Resource meter at busThe Real-Time price for the Settlement Meter at Electrical Bus b when the output for the generation site is Wholesale Storage Load, for the 15-minute Settlement Interval. |
| MEBV gsc, b | MWh | Metered Energy for Virtual Storage Load at busThe metered energy at the Settlement Meter me for the 15-minute Settlement Interval for the Wholesale Storage Load (negative) associated with an ESR located at a generation site. |
| BP r, y | MW | Base Point per Resource per intervalThe Base Point of Resource r, for the SCED interval y. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| RNWFVSL b, y | none | Net meter Weighting Factor per interval for the Energy Metered as Wholesale Storage Load The weight factor used in net meter price calculation for meters in Electrical Bus b, for the SCED interval y, for the Wholesale Storage Load (negative) associated with an ESR. The weighting factor used in the net meter price calculation shall not be recalculated after the fact due to revisions in the association of Resources to Settlement Meters. |
| TL b, y | MW | Telemetered Energy Storage Load at bus per intervalThe telemetered Load at energy storage Electrical Bus b, for the SCED interval y. |
| gsc | none | A generation site code. |
| me | none | A Settlement Meter. |
| r | none | A Generation Resource that is located at the Facility with net metering. The summation is over all the Generation Resources at the Facility. |
| y | none | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | none | An Electrical Bus. |

Σb

Σb

Σb

The above variables are defined as follows:

(4)	The Generation Resource SCADA Splitting Percentage for each Resource wor the 15-minute Settlement Interval is calculated as follows:

GSPLITPER q,  r, gsc, p = GSSPLITSCA r / ΣrGSSPLITSCA r

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| GSPLITPER q, r, gsc, p | none | Generation Resource SCADA Splitting Percentage—The generation allocation percentage for Resource r that is part of a generation site code gsc for the QSE q at Settlement Point p. GSPLITPER is calculated by taking the SCADA values (GSSPLITSCA) for a particular Generation Resource r that is part of a net metering configuration and dividing by the sum of all SCADA values for all Resources that are included in the net metering configuration for each interval. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| GSSPLITSCA r | MWh | Generation Resource SCADA Net Real Power provided via Telemetry—The net real power provided via telemetry per Resource integrated for the 15-minute Settlement Interval. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| gsc | none | A generation site code. |
| r | none | A Generation Resource that is located at the Facility with net metering. The summation is over all the Generation Resources at the Facility. |
| q | none | A QSE. |
| p | none | A Resource Node Settlement Point. |

(5)	The Energy Storage Resource Telemetered Load Splitting Percentage for each ESR Wholesale Storage Load for the 15-minute Settlement Interval is calculated as follows:

LSPLITPER q,  r, gsc, p = LSPLITSCA r / ΣrLSPLITSCA r

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| LSPLITPER q, r, gsc, p | none | Load SCADA Splitting Percentage—The Load allocation percentage for Energy Storage Resource r. LSPLITPER is calculated by taking the SCADA Load values (LSPLITSCA) for a particular ESR r that is part of a net metering configuration and dividing by the sum of SCADA Load values for all ESRs that are included in the net metering configuration for each interval. |
| LSPLITSCA r | MWh | Energy Storage Resource SCADA Net Real Power consumed via Telemetry—The net real power consumed via telemetry per ESR, integrated for the 15-minute Settlement Interval. |
| gsc | none | A generation site code. |
| r | none | A Generation Resource that is located at the Facility with net metering. The summation is over all the Generation Resources at the Facility. |
| q | none | A QSE. |
| p | none | A Resource Node Settlement Point. |

(6)	The total net payments and charges to each QSE for Energy Imbalance Service at all Resource Node Settlement Points for the 15-minute Settlement Interval is calculated as follows:

RTEIAMTQSETOT q	=	Σp RTEIAMT q, p

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| RTEIAMTQSETOT q | $ | Real-Time Energy Imbalance Amount QSE Total per QSEThe total net payments and charges to QSE q for Real-Time Energy Imbalance Service at all Resource Node Settlement Points for the 15-minute Settlement Interval. |
| RTEIAMT q, p | $ | Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval. |
| q | none | A QSE. |
| p | none | A Resource Node Settlement Point. |

- 9.17.1	Billing Determinant Data Elements

(1)	ERCOT shall calculate and provide to Market Participants on the Market Information System (MIS) Public Area the following data elements annually to be used by TSPs and DSPs as billing determinants for transmission access service.  This data must be provided by December first of each year.  This calculation must be made under the requirements of P.U.C. Subst. R. §5.192, Transmission Service Rates.  The data that is used to perform these calculations must come from the same systems used to calculate Settlement-billing determinants used by ERCOT.

(a)	The 4-Coincident Peak (4-CP) for each DSP, as applicable;

(b)	The ERCOT average 4-CP;

(c)	The average 4-CP for each DSP, as applicable, coincident to the ERCOT average 4-CP.

(2)	Average 4-CP is defined as the average Settlement Interval coincidental MW peak occurring during the months of June, July, August, and September.

(3)	Settlement Interval coincidental MW peak is defined as the highest monthly 15-minute MW peak for the entire ERCOT Transmission Grid as captured by the ERCOT Settlement system, excluding Block Load Transfer (BLT) and Direct Current Tie (DC Tie) exports and Wholesale Storage Load.

- 10.2.3	ERCOT-Polled Settlement Meters

(1)	ERCOT shall poll Metering Facilities that meet any one of the following criteria:

(a)	Generation connected directly to the ERCOT Transmission Grid;

(b)	Auxiliary meters used for generation netting by ERCOT;

(c)	Generation delivering 10 MW or more to the ERCOT System;

(d)	Generation participating in any Ancillary Service market;

(e)	NOIE points connected bi-directionally to the ERCOT system;

(f)	Direct Current Ties;

(g)	DG where there is an Energy Storage Resource (ESR) that has associated Wholesale Storage Load; and

(h)	Wholesale Storage Load associated to an ESR.

(2)	Additionally, ERCOT shall poll any All-Inclusive Generator or NOIE metering point at the request of such Entity, provided the Metering Facility meets all requirements and approvals associated with EPS metering requirements of this Section and the SMOG.  Load Resources of 10 MW or more on the ERCOT System, may, at their option have an EPS Meter.

- 10.3.2.3	Generation Netting for ERCOT-Polled Settlement Meters

(1)	At Generation Resource Facilities, generation and associated Loads, including construction and maintenance Load that is netted with existing generation auxiliaries, must be metered at their POIs to the ERCOT Transmission Grid.  Interval Data Recorders (IDRs) must be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net must be settled as generation.  In the intervals where the Load exceeds the generation output, the net must be settled as Load and carry any applicable Load shared charges and credits.

(2)	For Settlement purposes, generation netting is not allowed except under one of the following conditions:

(a)	Single POI with delivered and received metering data channels;

(b)	Multiple POIs where the Loads and generator output are electrically connected to a common switchyard, as defined below, except that, charging load for a compressed air Energy Storage Resource (ESR) is exempt from the requirement to be electrically connected to a common switchyard.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur;

(c)	A Qualifying Facility (QF) with POI(s) where the QF is selling to the QF’s thermal host(s) may net the Load meters of the thermal host with its generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TSP or DSP may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under the Public Utility Regulatory Act (PURA) and applicable Public Utility Commission of Texas (PUCT) rules.  If the PUCT requires other Load served by onsite generators to pay the system benefit fund charges, then, in instances in which Load is served by generation through a common switchyard, the TSP or DSP may install metering equipment solely for purposes of the TSP’s or DSP’s calculation of system benefit fund charges, as provided by PURA, if any is applicable.  For purposes of this Section, new on-site generation has the meaning as contained in Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 39.252 and 39.262(k) (Vernon 1998 & Supp. 2007) (PURA); or

(d)	For Generation Resources and/or Load with flow-through on a private, contiguous transmission system (not included in a TSP or DSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining Generation Resources or Load.  For Settlement purposes, when the net is a Load, the metered interconnection points must be assigned to the same Load Zone and Unaccounted For Energy (UFE) zone.

(3)	ERCOT shall maintain descriptions of the Metering Facilities of all common switchyards that contain multiple POIs of Loads (ESI IDs) and generation meters (EPS).  The description is limited to identifying the Entities within a common switchyard and a simplified diagram showing the metering configuration of all Supervisory Control and Data Acquisition (SCADA) and Settlement Metering points.

(4)	All Load(s) included in the netting arrangement for an EPS Metering Facility shall only be electrically connected to the ERCOT Transmission Grid through the EPS metering point(s) for such Facility.  Such Loads shall not be electrically connected to the ERCOT Transmission Grid through electrical connections that are not metered by the EPS metering point(s) for the Facility.

(5)	For purposes of this Section, a common switchyard is defined as an electric substation Facility where the POI for Load and Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its POI and the Generation Resource to its POI cannot be Facilities that have been placed in a TSP’s or DSP’s rate base.

- 10.3.2.5	Allocation of Net Load at Energy Storage Resource Facilities

- 10.3.2.5.1	Calculation of Wholesale and Retail Load

(1)	The total net Load of the site as measured by all EPS Meters will be compared to the sum of the gross ESR charging quantities;

(a)	If the total net Load is less than or equal to the gross ESR, then all of the total net Load will be treated as Wholesale Storage Load.

(b)	If the total net Load is greater than the gross ESR, then the portion of the total net Load equal to the gross ESR will be treated as Wholesale Storage Load and the remainder will be populated into an ESI ID(s) and settled as retail Load.

- 10.3.2.5.2	Energy Storage Resource  Charging Telemetry

(1)	The QSE representing the ESR shall provide ERCOT with a Real-Time signal of the charging MW associated with each ESR.  The Real-Time MW signals must be revised every scan cycle and must represent the ESRs charging load in positive MW.

(2)	ERCOT shall integrate the Real-Time MW signals and provide a MWh value for each 15-minute interval for each ESR charging load.

(3)	The Settlement system shall use the integrated MWh per interval value to calculate the percentage ratios to be applied to the calculated Wholesale Storage Load of the ESR Facility.

(4)	For any interval when ERCOT has not received a Real-Time charging signal for any one of the ESRs, ERCOT shall use the last valid percentage ratio for a completed interval as per table ‘Splitting Example 2’ in Section 10.3.2.1.3, Processing for Missing Dynamic Split Generation Resource Signal.

- 11.4.6	Unaccounted for Energy Calculation and Allocation

The DAS shall adjust the net loss adjusted Load for each aggregated retail Load group for UFE.  The Data Aggregation process will calculate the difference between net loss adjusted Load for the entire ERCOT System, which has been adjusted for Distribution Losses and Transmission Losses, and the total system Load (generation) in order to determine the total UFE.  The calculated UFE for each Settlement Interval is then allocated to Loads.  For the purpose of the UFE calculation, scheduled flow out of ERCOT on a Direct Current Tie (DC Tie) will be deemed as Load, and scheduled flow into ERCOT on a DC Tie will be deemed as generation.

- 11.5.1	Aggregate Load Data

Load data will be aggregated into distinct grouping and segments such as Load Serving Entity (LSE), Qualified Scheduling Entity (QSE), and Settlement Point, and provided to Settlement.

- 11.5.2.2	General Public Data Posting/Availability

(1)	The following general market information will be posted to the MIS Secure Area:

(a)	Total generation;

(b)	Total Adjusted Meter Load (AML); and

(c)	Total Energy Storage Resource (ESR) Wholesale Storage Load.

(2)	ERCOT will make the aforementioned data for each Settlement run type available to Market Participants via the MIS Certified Area within 48 hours of finalizing the data for Settlement statements.