## Slide 1: QMWG Update to WMS
S. Looney
July 11, 2012

## Slide 2: TAC Assignments
NPRR418, Reporting of Resource Forced Outages – ERCOT is considering other operational changes not addressed by this Protocol change.
ERS QSE Performance Measurement and Compliance -- PUCT Order in Project No. 39948 specified that the compliance should be on the QSE level. There is reporting of ERS Resource performance. At this time, QMWG will monitor the program as designed and report results to WMS after the first contract period.

## Slide 3: Update on NPRRs
NPRR460, WGR Ramp Rate Limitations – Support recommended approval with EON’s latest comments.
NPRR461, Energy Storage Settlements – Endorse with Chamisa comments. Concern about reporting of storage load before 60 days.

## Slide 4: General Update
Draft NPRR, Market Transparency of DC Tie Outages – Tenaska will submit an NPRR. Need information same day regarding causes of DC Tie outages. Report or market notice.
Draft NPRR, AS Capacity Monitor Display – ERCOT to present solution to MISUG. Using responsibilities instead of AS schedules.
GREDP report is posted on QMWG meeting site
Presentation regarding RARF changes, posted to meeting site. Webex with ERCOT scheduled for July 12, 14:00-16:00.

## Slide 5: Discussion of URS Bias
Operational concern of many consecutive intervals of URS with almost no DRS.
In addition to operational concerns, causes price depression counteracting Resource Adequacy efforts.
Requesting ERCOT to consider solutions and bring a recommendation back to the QMWG next month

## Slide 6
ERCOT On-Peak
Regulation Deployments
June 25, 26 and 27, 2012
HE12 – HE 17
July, 2012, QMWG
J. P. Morgan

## Slide 7
June 25, 2012; HE12-HE17
ERCOT Reg Energy Deployed
Chart: 15-min Intervals from HE12 to HE17
RegUp Deployed | 464.691 | 424.958 | 379.906 | 346.579 | 269.756 | 303.729 | 260.088 | 288.064 | 351.934 | 58.389 | 111.679 | 74.282 | 125.845 | 111.774 | 256.845 | 194.815 | 114.846 | 214.415 | 143.758 | 186.128 | 130.454 | 272.53 | 144.607 | 221.975 | 190.007 | 166.815 | 275.202 | 429.019
RegDn Deployed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.543 | 12.503 | 4.862 | 19.954 | 14.658 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475

## Slide 8
June 26, 2012; HE12-HE17
ERCOT Reg Energy Deployed
Chart: 15-min Intervals from HE12 to HE17
RegUp Deployed | 190.513 | 372.767 | 337.5 | 102.67 | 224.4 | 384.028 | 449.762 | 174.353 | 292.102 | 377.881 | 107.063 | 167.555 | 285.462 | 375.831 | 233.609 | 396.605 | 177.112 | 257.684 | 191.149 | 228.845 | 200.445 | 275.004 | 283.153 | 239.569 | 171.595 | 352.095 | 416.182 | 372.986
RegDn Deployed | 0.045 | 0 | 0 | 0 | 0.163 | 0 | 0 | 0 | 0 | 0 | 7.824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.843 | 0 | 0 | 0

## Slide 9
June 27, 2012; HE12-HE17
ERCOT Reg Energy Deployed
Chart: 15-min Intervals from HE12 to HE17
RegUp Deployed | 3.648 | 199.586 | 206.641 | 352.607 | 220.424 | 188.499 | 276.078 | 210.908 | 24.991 | 195.454 | 239.486 | 377.68 | 368.546 | 261.47 | 334.009 | 156.174 | 25.303 | 60.643 | 277.936 | 164.132 | 193.979 | 61.731 | 77.782 | 130.253 | 158.447 | 176.006 | 30.083 | 122.819
RegDn Deployed | 83.802 | 0 | 0 | 0 | 0 | 0.326 | 0.155 | 0.152 | 22.881 | 10.823 | 0 | 0 | 0 | 0 | 0 | 0.084 | 51.296 | 4.488 | 0 | 0 | 0 | 0.979 | 12.827 | 13.7 | 0 | 0 | 18.917 | 0.984