| NPRR Number | 462 | NPRR Title | Removal of Consumer Benefit Test from the ERCOT Planning Criteria |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | July 17, 2012 |  |  |
| Effective Date |  | August 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.11.2, Planning Criteria |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the consumer benefit test from the ERCOT planning criteria consistent with the Public Utility Commission of Texas (PUCT) Project 39537, Rulemaking to Implement HB 971, Relating to Economic Criteria for a Certificate of Convenience and Necessity for an Electric Transmission Project. |  |  |
| Reason for Revision |  | PUCT Project 39537 removed the consumer benefit test from P.U.C. Subst. R. 25.101, Certification Criteria, and therefore should be removed from the ERCOT planning criteria for consistency. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR462 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 5/2/12, NPRR462 and an Impact Analysis were posted. - On 5/16/12, Oncor comments were posted. - On 5/17/12, PRS considered NPRR462. - On 6/21/12, PRS considered the 5/17/12 PRS Report and Impact Analysis for NPRR462. - On 6/28/12, TAC considered NPRR462. - On 7/17/12, the ERCOT Board considered NPRR462. |  |  |
| PRS Decision |  | On 5/17/12, PRS voted to recommend approval of NPRR462 as amended by the 5/16/12 Oncor comments and as revised by PRS. There was one abstention from the Cooperative Market Segment. All Market Segments were present for the vote. On 6/21/12, PRS voted to endorse and forward the 5/17/12 PRS Report and Impact Analysis for NPRR462 to TAC. There was one abstention from the Cooperative Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/17/12, it was noted that the 5/16/12 Oncor comments align the Protocol language with PUCT Substantive Rules. On 6/21/12, there was no discussion. |  |  |
| TAC Decision |  | On 6/28/12, TAC unanimously voted to recommend approval of NPRR462 as recommended by PRS in the 6/21/12 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 6/28/12, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR462. |  |  |
| Board Decision |  | On 7/17/12, the ERCOT Board approved NPRR462 as recommended by TAC in the 6/28/12 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | The planning criteria will be consistent with the PUCT rulemaking in Project 39537. |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo |
| E-mail Address | Jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6334 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Oncor 051612 | Proposed further clarifications to Section 3.11.2. |

Proposed Protocol Language Revision

3.11.2	Planning Criteria

(1)	ERCOT and TSPs shall evaluate the need for transmission system improvements and shall evaluate the relative value of alternative improvements based on established technical and economic criteria.

(2)	The technical reliability criteria are established by the Planning Guide, Operating Guides, and the North American Electric Reliability Corporation (NERC) Reliability Standards.  ERCOT and TSPs shall strongly endeavor to meet these criteria, identify current and future violations thereof and initiate solutions necessary to ensure continual compliance.

(3)	ERCOT shall attempt to meet these reliability criteria as economically as possible and shall actively identify economic projects to meet this goal.

(4)	For economic projects, the net economic benefit of a proposed project, or set of projects, will be assessed over the project’s life based on the net societal benefit that is reasonably expected to accrue from the project.  The project will be recommended if it is reasonably expected to result in positive net societal benefits.

(5)	To determine the societal benefit of a proposed project, the revenue requirement of the capital cost of the project is compared to the expected savings in system production costs resulting from the project over the expected life of the project.  Indirect benefits and costs associated with the project should be considered as well, where appropriate.  The current set of financial assumptions upon which the revenue requirement calculations is based will be  reviewed annually, updated as necessary by ERCOT, and posted on the Market Information System (MIS) Secure Area.  The expected production costs are based on a chronological simulation of the security-constrained unit commitment and economic dispatch of the generators connected to the ERCOT Transmission Grid to serve the expected ERCOT System Load over the planning horizon.  This market simulation is intended to provide a reasonable representation of how the ERCOT System is expected to be operated over the simulated time period.  From a practical standpoint, it is not feasible to perform this production cost simulation for the entire 30 to 40 year expected life of the project.  Therefore, the production costs are projected over the period for which a simulation is feasible and a qualitative assessment is made of whether the factors driving the production cost savings due to the project can reasonably be expected to continue.  If so, the levelized ERCOT-wide annual production cost savings over the period for which the simulation is feasible is calculated and compared to the first year annual revenue requirement of the transmission project.  If this production cost savings equals or exceeds this annual revenue requirement for the project, the project is economic from a societal perspective and will be recommended.

(6)	Other indicators based on analyses of ERCOT System operations may be considered as appropriate in the determination of benefits.  In order for such an alternate indicator to be considered, the costs must be reasonably expected to be on-going and be adequately quantifiable and unavoidable given the physical limitation of the transmission system.  These alternate indicators include:

(a)	Reliability Unit Commitment (RUC) Settlement for unit operations;

(b)	Visible ERCOT market indicators such as clearing prices of Congestion Revenue Rights (CRRs); and

(c)	Actual Locational Marginal Prices (LMPs) and observed congestion.