| NOGRR Number | 101 | NOGRR Title | Market Transparency for DC Tie Outage Information |
| --- | --- | --- | --- |

| Date | July 30, 2012 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Randy Jones |
| E-mail Address | rajones@calpine.com |
| Company | Calpine |
| Phone Number | 713.830.8846 |
| Cell Number | 832.385.3322 |
| Market Segment | Independent Generator |

Comments

Calpine supports this NOGRR and appreciates Tenaska taking the lead to clarify and improve how Direct Current Tie (DC Tie) outages are reported to the market.  We offer some minor edits for stakeholders’ consideration and look forward to discussing this important initiative.

Revised Proposed Guide Language

- 10.2 	Direct Current-Tie Outage Report

For each Direct Current Tie (DC-Tie) outage, ERCOT shall post a report on the Market Information System (MIS) Public Area within one Business Day following the proposal, confirmation, or cancellation of a Planned or Maintenance Outage, or within six hours following the confirmation of a Forced Outage that shall include the following data elements:

(a)	Equipment Name;

(b)	Start Date and time;

(c)	End Date and time;

(d)	Specific work being performed; and

(e)	Any other outage related to or causing the DC Tie outage, including the physical location,  and whether the related outage is within the ERCOT Control Area or a non-ERCOT Control Area.