Issues and Discussion of Demand Response for Thermally Driven Load, based on Demand-Side Working Group New Programs Subgroup

Prepared by Dave Oberholzer, Earth Networks

And Robert King, Good Company Associates

Peak electrical loads are costly to society from an economic and environmental perspective.  Residential loads are responsible for near half of the ERCOT system peak.   Residential air conditioning load is a primary driver of overall peak load (estimates are that 50% of residential peak load is driven by air conditioning).

Weather is the largest factor that drives these peaks, and a program that addresses residential peak load must account for weather systematically.  To address this problem, ERCOT needs to develop programs that are targeted at peak loads such as residential air conditioning. ERCOT staff noted, PJM has nearly one million residential customers participating in the ISOs programs.  The structure of the current ERCOT ERS program has several limiting factors that prevent it from being an attractive and effective program for loads which are temperature sensitive or temperature driven:

- Term of program – because it has a four month term, the ERS program includes periods of seasonal differences in temperatures and weather.  Since the participating entity is required to shed load on any day in the period, regardless of weather, the participating entity must bid into the program in a conservative, worse case manner (e.g. a cloudy 75 degree day in June will have dramatically less a/c usage than a sunny 105 degree day in August).  This is not only a business model problem for the participating entity, but also an inefficient solution for ERCOT since the participating entity will have far more load shed capacity on extreme weather days that will be inaccessible to ERCOT when it needs to shed load because the participating entity is only contracted for the lower, non-extreme weather  day capacity.

- Compensation structure – Because it compensates participating loads according to the amount of hours they are available for curtailment during the day-part, the current ERS compensation structure is particularly unattractive to residential peak loads if they can only bid into a limited time window.

Due to the structure, participating entities with residential peak loads are economically forced into bidding during over-night hours when they have much less capacity than peak hours.  Further, the value of a peak kilowatt is far greater than a non-peak kilowatt (as evidenced by ERCOT wholesale prices) although this is not well reflected in the compensation structure.  The bidding and/or compensations structure of thermal/ residential peak load-shed program may have to reflect this reality to be effective.

- Load onboarding process – The current ERID process is designed for C&I loads that may have wildly divergent load profiles.  The ERID process may not scale for residential loads, however.  It may be more efficient for ERCOT to set up an automated process for participating entities to validate ESI IDs that are allowable for the program.  An assumed average residential load profile can be used for all residences.  This would significantly reduce the ERCOT and participating entity workload in on-boarding program participants.

- Load turnover process (additions and subtractions during the program) – Residential programs will have a certain amount of churn associated with them.  There are more and more home energy management provides on the market today, and many of them are associated with other services such as cable TV or Home Security.  Churn in these programs are manageable and expected and ERCOT should design their residential load-shedding programs to allow for this natural churn.  Think of a residential participant that is participating through their Multi System Operator ‘s (cable  MSO) energy program.  If the customer decides to switch to a different MSO, they will most likely churn from the energy management (and load-shed) program at the same time.   There is little chance of preventing this churn, and the participating entity should have avenues to back-fill new, qualified loads for the departing customers.  As these programs are marketed year-round, accommodation to add capacity (at the award prices) to a participating entities bid should also be allowed.  This could be partially accommodated by reducing the program period to one-month or less.

- Baseline methodologies – To build a program that addresses residential peak load directly, the baseline for these programs should include a weather sensitive option.  The matching day-pair baseline methodology appears to be a good fit for this type of load, but given that the bulk of residential peak load is weather related, the best fit for matching day-pairs should be with days with similar weather.  Specifically, we have shown that matching like days on temperature alone is not sufficient, solar insolence is a significant factor in peak events and should be accounted for in the matching day-pair methodology.

Discussion of Possible Solutions

Questions discussed for better integration temperature sensitive or temperature driven loads in the ERCOT demand response programs included:

- Should ERCOT make modifications to ERS to accommodate thermal loads?   The goal of this approach would be to allow loads which are thermally driven to participate in the emergency response programs, for ERCOT to have certainty about how much thermal peaking load would be reduced in an emergency condition.  This could be end solution or short-term option while other new program options were pursued.

- Should ERCOT develop a new program (peak shaving as opposed to emergency response)?   The goal of this approach would be to craft an entirely new program which was designed to provide load reduction at a thermal peak condition, rather than at an emergency condition.  Winter peak as well as summer peak should be addressed.  It was discussed that a peaking product should perhaps be designed to contribute to price formation, and certainly should be designed not to inappropriately affect price formation.   Might be that a program could allow customer loads to pick a strike price at which they would respond to an ERCOT call, and if this were somehow correlated with market pricing during the period, it could potentially avoid having negative impacts on the price formation process.  It was noted that this would be more complicated than option 1, and would take longer.

- Should ERCOT design a new ancillary service (peak shaving/peak load reduction)?  This was proposed as an alternative means to design an entirely different program to acquire resources to specifically address thermal peaks.  It was noted that this would take longer than all the other options discussed, and would present issues with respect to telemetry and and modeling.

- Could utility load management programs be better integrated with ERCOT programs? Although the bulk of the discussion addressed ERCOT specific solutions, it was also noted that the T&D utilities each have limited load management programs which are targeted toward reducing summer peak.  The PUCT is considering amendments to the state energy efficiency rule, including direction for the utilities to collaborate with ERCOT to integrate utility programs.  The PUCT could provided stronger direction to ERCOT and the Utilities to work together in order to develop a complementary set of programs addressing emergency and thermal peaks.  (In fact the rules proposed would also address winter peak for the first time.)  One limitation is that even the newly expanded utility programs only acquire 341 MW for summer peak.  So, without further growth of the TDU programs, this will not add significant new load.  Also, except for one pilot at CenterPoint, the utility programs are only offered to commercial customers, so residential loads do not have an opportunity currently.

Term of Contract Period –

Shorten contract period – One means to allow residential or other temperature-driven loads to predict their likely load and therefore load reduction capacity looking forward, is to reduce the contract window.  A one month or a one week contract term would better address the issues for thermal loads, but would require a very different program design and ERCOT staff expressed concern about the cost to accomplish this.  The suggestion of creating a new ancillary service was also in part offered as a means to allow thermal loads to bid in the day-ahead market.  Ultimately this is the goal of completing the work required to allow loads to bid in the day ahead energy market, although this is a couple of years away.  It is not clear that creation of an ancillary service as an option would be quicker or accomplish anything in addition to that.  The question was raised as to whether weekends should be included, as hot days can fall on weekends or holidays.

Bid Curve of Resource by Temperature – Another approach that might be used to respond to the ability of thermal loads to participate in load control programs would be to allow thermal loads to bid load quantities as a curve, according to a range of temperatures.

Compensation –

How load would be compensated would have to be associated with program structure.  Modifications to ERS could potentially be bid as ERS is bid.  Bids for a peak shaving (as opposed to emergency program) might be bid differently, although concern was expressed about how one program would affect participation in the other programs.  (For example, the utility programs do tend to draw business house 2 and 3 participating loads into their programs because they are more lucrative for that limited window.)  Although the bid curve alternative was particularly attractive as a means to fit thermal load into the ERS program structure as it currently is structured, it would also bring a particularly interesting question about how it might be priced.  It was suggested that ERCOT might pick a temperature range for which it considers its risk of having a thermal peak event occur to be the highest (e.g., set price for all load performing at temperature associated with 80% likelihood of having a thermal peak?).  Could also require each load or load aggregation bidding a load curve to submit a single price, recognizing that this would affect the slope of the curve across different temperature ranges.  ERCOT staff noted that the pricing solution should also take into account whether the program structure requires ERCOT to procure a certain amount of service, or whether ERCOT has discretion.  Finally, there was also discussion that the entire ERS program could be bid differently, so that prices for all ERS resources reflected either temperature or market prices or both.  One variation of this suggested was a “super peak” price adder for any load during a system peak.

Load On-boarding Process and Turnover –

There was some discussion of this issue, and agreement that there will have to be a process designed to allow customers, especially residential-scale customers, to be signed into an aggregation, to rotate out of an aggregation or be replaced in an aggregation.  ERCOT staff indicated that it is currently working on solutions to these issues based on experience of other ISOs.  The Aggregated Load Resource subcommittee is also addressing these issues, and ERCOT staff indicated that there will be some solutions proposed in September or earlier.

Baseline Methodology –

Some, potentially all, of the problems associated with participation of thermal load could be addressed through the baseline methodology.   Adoption of an alternative baseline would be a potentially simple option, and might be adopted without an NPRR or pilot program being required.