## Slide 1: Report to ROS on OPSTF Issues Assigned to PLWG
August 16, 2012

## Slide 2: Background
April 2012 ROS Meeting
  James Armke reviewed recent OPSTF activities and requested that in addition to planning personnel, more operations personnel participate in future OPSTF meetings. Mr. Williams emphasized the importance of both planning and operations staffs attending the meetings. Mr. Armke reviewed the draft OPSTF issues list, noting that 14 issues were discussed; that four issues are recommended for referral to PLWG; and that three issues be prioritized for OPSTF.
  Mr. Rocha moved to approve the issue list, minus the issues referred to PLWG, and to prioritize Items 5, 7, and 8 for OPSTF. Mr. Ryno seconded the motion. The motion carried unanimously.

## Slide 3: Background
Four issues recommended by OPSTF were:
(3f)Consider LTSA results in determination of Five Year Transmission Plan projects;
(12a)Develop future year seasonal cases in DSB;
(12b)Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7; and,
(14)Aged infrastructure, maintenance, and storm hardening considerations.

## Slide 4: Background on (12b)Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7
PLWG Issues List
  Identify large, regional-type projects with scopes requiring long-lead time consideration (i.e., 345-kV and certification).
  Near-term economic projects potentially having reliability drivers beyond the 5th year planning horizon.
  Cost-effective near-term plan development.
Proposed NERC reliability standards
  Long-Term Transmission Planning Horizon (Years 6 to 10)
  Assessed annually
  Expected peak load conditions for one of the years in the Long-Term Transmission Planning Horizon and the rationale for why that year was selected.

## Slide 5: Background on (12b)Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7
Provides value as a planning tool
  Identify large, long-lead time type projects
  Input into the 5-year plan development
Who prepares the new case?
  ERCOT staff
  SSWG
Revise existing documents
  Procedures
  Guides
  Protocols
Options Considered
  Monitor 5th year at lower A/R
  6th Year Case
  LTSA
Technical considerations
  Load modeling
  Resource modeling
  Transmission topology
  Case Tuning
    DC analysis
  LTSA process
  RPG project review
Balance the added workload
  TPIT
    Quarterly Updates
  ALDR –mechanism to acquire added load
  Other cases needed for other reasons?

## Slide 6: PLWG Recommendation on (12b)Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7
Although not an immediate gap between Operations and Planning, the lack of a post 5-year planning case in ERCOT Data Set B limits the planning outlook for large, long-lead time projects. Additionally, the availability of a year 6 to 10 case better meets present and anticipated NERC planning standards.
SSWG creates a Year 6 summer peak case. This case is created, approved, posted, and updated regularly by ERCOT consistent with DSB procedures.
Do not remove any year from current DSB structure.
Publish first case with 2014 DSB (October 2013). A Year 6 case would yield a 2020 power flow case.
PLWG develops relevant, NPRR and PGRR.
SSWG develops relevant procedure revisions.
Propose revision to TPIT Procedures requiring less frequent updates, potentially three updates per year instead of four

## Slide 7: Background on (14)Aged infrastructure, maintenance, and storm hardening considerations
In describing Tier 4 projects, ERCOT Nodal Protocol Section 3.11.4.4 (1):
This category consists of small system upgrades with estimated capital cost less than or equal to $15,000,000 and that do not require a CCN, as well as certain “Neutral” projects.
In describing Tier 3 projects, ERCOT Nodal Protocol Section 3.11.4.5 (c):
This category consists of projects with estimated capital costs between $15,000,000 and $50,000,000 not requiring a CCN.
(c) Projects that are required to meet an individual TSP’s Planning Criteria and that are not required by the NERC Reliability Standards or ERCOT Planning Criteria shall also be processed in this Tier, and shall be reclassified as a Tier 4 Neutral project if comments are resolved.

## Slide 8: Background on (14)Aged infrastructure, maintenance, and storm hardening considerations
PUCT Substantive Rule 25.83- Transmission Construction Reports and 25.95-Electric Utility Infrastructure Storm Hardening addresses a process to communicate plans associated with these types of projects as well as with those addressing storm hardening.
PLWG believes that if a facility requires rebuilding, it is both prudent and within the “Good Utility Practice” spirit as defined in the PUCT Substantive Rules, to rebuild the facility to a larger capacity when supported by sound engineering judgment and planning factors such as but not limited to the area’s potential for growth and surrounding area facility construction.

## Slide 9: PLWG Recommendations on (14)Aged infrastructure, maintenance, and storm hardening considerations
Aging infrastructure, maintenance, and storm hardening considerations has not been a gap between Operations and Planning.
Additional Protocol and / or Planning Guide direction is not required regarding decisions on large non planning criteria-driven projects.
Encourage Transmission Service Providers (Transmission Owners) to document these business strategies in their system assessment procedures and/or construction and design criteria that would function to support the implementation of cost-effective alternatives when faced with the need to rebuild an existing facility.

## Slide 10: Continued PLWG Work
(3f)Consider LTSA results in determination of Five Year Transmission Plan projects; and,
(12a)Develop future year seasonal cases in DSB;

## Slide 11: PLWG Recommendations Summary
Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7
    ROS directs SSWG to create a year 6 power flow case to be published in October 2013;
    ROS directs PLWG to propose revisions to TPIT requirements by July 2013;
    ROS directs PLWG to initiate revisions requests on Planning Guide and Nodal Protocols;
Aged infrastructure, maintenance, and storm hardening considerations.
  No action is required.

## Slide 12
Questions?