| NOGRR Number | 097 | NOGRR Title | New Section 8I, Black Start Resource Availability Test Form |
| --- | --- | --- | --- |
| Date Posted |  | May 25, 2012 |  |

| Requested Resolution | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 8, Attachment I, Black Start Resource Availability Test Form (new) |
| Protocol Section(s) Requiring Revision | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) adds a Black Start Resource availability test form to the Nodal Operating Guide. |
| Reason for Revision | Paragraph (7) of Protocol Section 8.1.1.2.1.5, System Black Start Capability Qualification and Testing, requires Qualified Scheduling Entities (QSEs) who represent Black Start Resources to complete an ERCOT-provided report form for Black Start Resource availability tests. This NOGRR adds the form to the Nodal Operating Guide. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Provides a standard form for ERCOT and Market Participants to use during testing of Black Start Resources. |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6531 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

ERCOT Nodal Operating Guides

Section 8

Attachment I

Black Start Availability Test Form

Month Day, Year

# Black Start Resource Availability Test Form

Date of Test: ______________________________

To be completed by the ERCOT Operator

Name of Black Start Resource:  __________________________________________________

Time ERCOT Notified the Qualified Scheduling Entity (QSE) of testing: _______________

As required by Protocol Section 8.1.1.2.1.5, System Black Start Capability and Testing, ERCOT shall provide the QSE representing the Black Start Resource with a two hour notice in order to allow the QSE time to update its Current Operating Plan (COP).  The QSE shall show the Resource as “ONTEST” for the duration of the test and through its Real-Time telemetry.  The actual start time of the Resource, from the time the request was made by ERCOT, will not be longer than the time stated in the Request For Proposal plus the two hour notification.

Actual Start Time: _________________________

Actual start time will be when the generator breaker for the Black Start Resource is closed and the Black Start Resource is generating to the ERCOT System.

Black Start Resource Low Sustained Limit (LSL): ____________________________

LSL will reflect the current COP LSL

Time Black Start Resource reached LSL: __________________________________________

MW level the Black Start Resource operated during the test: _________________________

Agreed to by ERCOT and the QSE operator

Number of Intervals Black Start Resource operated during test:  ______________________

Time and Date Test was concluded: _______________________________________________

Signature of ERCOT Operator conducting test: ____________________________________

If this is an affirmation for Black Start Resource availability due to run times on Resource during normal operations or during an Energy Emergency Alert (EEA), please complete all of the information above as well as the following information:

Was this run time due to an EEA or Normal Operation? _____________________________

QSE Representative: _____________________________________________

Date: ____________________

To be completed by the QSE Representative