- The 2017 Future Year case is currently in progress, and is on track to be completed by the end of the month.

- The DWG held a conference call on July 17, 2011 to discuss ERCOT’s Load response (LR) study

  - DWG members were given the opportunity to express concerns with the methodology of ERCOT’s analysis and conclusion that up 70% of RRS could be comprised of Load Resources.

  - Some DWG members expressed interest in additional sensitivity studies to evaluate the deployment of more than 100% of LR’s and its impact on system frequency overshoot.

  - Comments were also made regarding additional sensitivity analysis to determine LRs impact on system stability (i.e. system oscillations).

  - DWG consensus was that ERCOT’s analysis was thorough and appropriate methodology was used. If it is decided to increase the LR to 70% of RRS, additional sensitivy studies may be required.

- The DWG will meet next month and put forth a schedule to begin working on the 2013 flat start cases with the intention to complete the 2013 current year case before the end of the year.