## AEP
Questions regarding LSE files
1 | What is the process for Missing interval data (is the interval provided as zero or estimated?) | AEP Texas’ Meter Data Management (MDM) system has two processes for missing interval data: Interval Gap Fill and Full Cut Estimation Method. Interval Gap Fill – The MDM fills the gaps using interpolation and averaging methods if AEP Texas is missing interval data within a day but received at least the first and the last interval. The MDM fills the gaps with zeros if any part of the first and last interval is missing. Full Cut Estimation Method - AEP Texas uses this method when it does not receive any intervals for the day. If AEP Texas: • Has the register read for that day, the previous day’s reading and the current day’s reading are used to determine the usage. This value is distributed evenly over the current day’s 96 intervals. • Does not have the register read or any intervals for the current day, the intervals from yesterday are used to estimate the usage. AEP Texas’ process will look back for up to seven days for data to fulfill the logic for this process. • Does not have the register read for the current day or yesterday’s intervals, the current day’s intervals are filled with zeros.
2 | Are any validations performed around Zero interval data? | AEP Texas currently does not perform any additional validation around zero intervals since zero interval data is considered a valid value. AEP Texas has determined that to process validations against zero interval values would cause unnecessary manual effort for little or no gain.
3 | Under what circumstances do you estimate Interval Data? | Interval Data is estimated if there are any missing intervals for a meter that is connected in the field and has a premise that is active. (See response to Question 1 for the circumstances and the processes.)
4 | Is a Register Read always provided? | Yes.
5 | If provided, under what circumstances do you estimate Register Reads? | AEP Texas’ Register Reads are estimated if a register read is not received for the current day. (See response to Question 1 for the circumstances and processes.)
6 | Do you provide Zero values for interval data? (Y/N) If so, what circumstances? | AEP Texas does provide zero values for interval data. Zero values can be valid values and can either be estimated or actual. (The described methods are found in Question 1.)
7 | Do you provide Null values for Interval Data (Y/N) If so, what circumstances? | AEP Texas does not provide Null values for Interval Data.
8 | Do you provide Null values for Register Reads (Y/N) If so, what circumstances? | AEP Texas does not provide Null values for Register Reads.
9 | Please explain the estimation process for AMS | See AEP Texas’ response to Question 1 for the estimation process for AMS.
10 | If you receive an actual for an interval that was previously estimated do you always replace the estimate? | AEP Texas replaces an estimated interval with an actual file if possible. Two cases are provided to give examples regarding AEP Texas’ process. Case 1 –The actual interval file will replace the previously estimated intervals for that day if AEP Texas had to estimate but later was able to fix the file. Reasons for estimation include an error that occurred prior to the data getting to the MDM. Case 2 – If the data is not available from the meter, the intervals are estimated for that day. Upon request from a retail electric provider (REP), AEP Texas may be able to retrieve actual interval data to replace the previously sent estimated interval data as long as the data is not greater than 45 days old and the meter is communicating.
11 | What is the timeline for replacing Estimated usage with Actual usage? | The timeline is generally one to two business days if the data is available.
12 | After what time period do you stop looking for actuals? | AEP Texas does not have an automated method that goes back to the meter to retrieve the actual data that is sent to the MDM. However, there is a manual method in place to “recover” actual data on a case-by-case basis.
13 | Do you validate that the intervals add up to equal the register read? | No, we do not have a separate validation. The actual register read and the actual intervals are collected and should align with the midnight read. This may vary if estimation processes are used. The interpolation and the averaging method that is used to fill gaps does not consider the register read, however, the difference in the amount, if any, is very slight for most residential meters.
14 | What is the validation process? How often is the validation performed? | See response to Question 13.
15 | What is the allowed variance between the sum of the interval data and the register read? | See response to Question 13.
16 | Anytime usage is updated how will that be reflected in the LSE file? | AEP Texas provides the date when usage is replaced and whether the data is actual or estimated. The LSE record is not coded as a replacement.
17 | What reading do you use to complete a Switch? | AEP Texas uses the register read that coincides with the effective date of the Switch. An order is created to obtain an automated remote reading and if that fails three times, the order is routed to the field to obtain a register read.
18 | What reading do you use to complete a straight MVI? | AEP Texas uses an “on demand read” that is obtained at the time of connecting the meter.
19 | What reading do you use to complete a MVI Force Off? | AEP Texas uses an “on demand read” that is obtained on the effective date of the MVI force off and the same reading is used for the move in order.
20 | What reading do you use to complete a MVO? | AEP Texas uses an “on demand read” that is obtained at the time of disconnecting the meter.
21 | Explain smoothing as it pertains to your entity. | AEP Texas applies the provisions of AEP Texas Central Company's and AEP Texas North Company's Tariff, Section 4.8.1.4 – Estimated Usage for smoothing of usage as it applies to the Monthly Usage 867_03 transaction. The tariff is as follows: “When an Actual Meter Reading is taken after two or more consecutive months of estimation, Company shall allocate any over or under-estimated usage over the entire estimation period. The allocation shall be based on the average daily consumption for the Retail Customer for the period between Actual Meter Reads.”
General Questions
1 | Under what circumstances is an 867 cancel/rebilled due to changes in AMS data (such as recieveing an actual for a previous estimate)? | AEP Texas does not modify previously sent LSE data or register reads.
2 | How does Tampering impact the 867 vs LSE? | AEP Texas does not modify previously sent LSE data or register reads.
3 | Is Tampering incorporated into the LSE reads? | AEP Texas does not modify previously sent LSE data or register reads.
4 | How are Inadvertent Gains handled in regards to the LSE files? | AEP Texas sends a REP of record update to the SMT on a daily basis, which includes any REP of record changes due to inadvertent gains.

## CenterPoint
Questions regarding LSE files
1 | What is the process for Missing interval data (is the interval provided as zero or estimated?) | The Missing Interval Data will be estimated systematically if there is valid historical data. The estimate may be "0" which is a valid interval value if there is an associated power outage or de-energized event/flag. Manual estimation occurs if the system estimation is not successful. The MIM (Missing Interval Monitor) Process will make 5 attempts to retrieve the missing data.
2 | Are any validations performed around Zero interval data? | Yes, validation is performed as it relates to power outages
3 | Under what circumstances do you estimate Interval Data? | Interval data will be estimated anytime for which actual interval data is missing. An estimate will also be rendered for an interval during which a time change (clock adjustment) occurred.
4 | Is a Register Read always provided? | No, a Register Read may not always be available at the time the ESI ID's LSE file is being created. Since this data field is optional in the LSE file layout, if a register reading is unavailable when LSE is processed then that field will be left blank or null by CNP.
5 | If provided, under what circumstances do you estimate Register Reads? | If the midnight interval is missing, a register read will be estimated. There is a limit of two consecutive estimate midnight reads.
6 | Do you provide Zero values for interval data? (Y/N) If so, what circumstances? | Yes, "0" is a valid value when there was a power outage spanning the entire interval or set of intervals; an active customer where the meter disconnected other than at the meter; and, at the beginning of the day prior to connecting the meter to an inactive premise (customer moving into an inactive premise.)
7 | Do you provide Null values for Interval Data (Y/N) If so, what circumstances? | No, null or blanks are invalid data elements for an LSE file. If CNP provided ERCOT with nulls or blanks in the 96, 92 (Fall time change) or 100 (Spring time change) intervals that file would be rejected as improper formatting
8 | Do you provide Null values for Register Reads (Y/N) If so, what circumstances? | Yes, Blank or Null will be provide in the event that the register reading is unavailable. Since this data field is optional in the LSE file layout, if a register reading is unavailable when LSE is processed then that field will be left blank or null by CNP.
9 | Please explain the estimation process for AMS | CNP follows the estimation rules and procedures as outlined under the Uniformed Business Practices (UBP) procedures
10 | If you receive an actual for an interval that was previously estimated do you always replace the estimate? | Yes, CNP will always replace any estimate with actual readings whenever that information is available, unless the estimate was done to match rebilling resulting from Diversion or damaged and/or stop meter situations.
11 | What is the timeline for replacing Estimated usage with Actual usage? | Automated: Estimates occur due to a faliure of the meter to respond to interrogation. Accordingly, CNP will automatically re-attempt to collect the data. Failure of the retry attempt, will result in a new retry request 24 hours later. A total of 5 attempts will be made. The timeline for this process is approximately 6 days. Manual: Any time an on-demand interval read request is successful in retrieving actual data. NOTE: Manual activity does not automatcially follow the failure of the automated process to collect actual information from the meter.
12 | After what time period do you stop looking for actuals? | From an automated process, CNP will stop looking for actuals as of the 7th calendar day prior to current date.
13 | Do you validate that the intervals add up to equal the register read? | Yes, Intervals are 'sum-checked' as they are delivered in response to an interrogation.
14 | What is the validation process? How often is the validation performed? | CNP's validation process is based upon the industry Validation, Estimation and Editing (VEE) standards. Validation occurs as the data pass through the cleaner process prior to being stored; thus, validation occurs every time data passes through the cleaner.
15 | What is the allowed variance between the sum of the interval data and the register read? | CNP's allowable variance between interval data and the register read is 2 multipliers
16 | Anytime usage is updated how will that be reflected in the LSE file? | A new LSE for ESI ID(s) affected will be provided to both ERCOT and Smart Meter Texas with a date and time stamp in the file naming convention and also shown in the data element within the file. Example from LSE file layout: Timestamp Mandatory Timestamp of read. This value will determine which read will ‘win’ for a day if there are multiple reads. YYYYMMDDHHMMSSMM
17 | What reading do you use to complete a Switch? | CNP will do our BEST to always use the midnight reading, however the midnight reading will not always be available. CNP attempts to make every automated effort to fulfill the order with a midnight read.
18 | What reading do you use to complete a straight MVI? | CNP will use the reading obtained from the meter at the time the meter is energized
19 | What reading do you use to complete a MVI Force Off? | CNP will do our BEST to always use the midnight reading, however the midnight reading will not always be available. CNP attempts to make every automated effort to fulfill the order with a midnight read.
20 | What reading do you use to complete a MVO? | CNP will use the reading obtained from the meter at the time the meter is de-energized
21 | Explain smoothing as it pertains to your entity. | CNP's smoothing of usage only applies to the Monthly Usage 867_03 transaction and not the LSE files. CNP's process is the same as it is stated in the Tariff under Section 4.8.1.4 Estimated Usage: "When an Actual Meter Reading is taken after two or more consecutive months of estimation, Company shall allocate any over or under-estimated usage over the entire estimation period. The allocation shall be based on the average daily consumption for the Retail Customer for the period between Actual Meter Reads." Note: CNP will look within our MDM system to verify if actual readings are available before invoking this smoothing process to the 867_03 usage transactions.
General Questions
1 | Under what circumstances is an 867 cancel/rebilled due to changes in AMS data (such as recieveing an actual for a previous estimate)? | There are no circumstances. 867_03 usage is based upon a monthly reading and an LSE file is a daily reading .
2 | How does Tampering impact the 867 vs LSE? | Yes, whenever our investigation indicates that the meter at the premise wasn't registering customer's consumption due to meter tampering, CNP will take appropriate actions to correct affected 867_03 monthly usage transactions and LSE files showing estimated usage and readings. The 867_03 will indicate the reason for estimate is due to Tampering REF~5I = O4 and the LSE will reflect a value of "E" for all estimated intervals for the same timeframe. LSE data element: 3 Lodestar Status Code Mandatory A = actual E = estimate Indicates whether the interval is an actual or estimate. Alphanumeric (1)
3 | Is Tampering incorporated into the LSE reads? | CNP will take appropriate actions to correct affected 867_03 monthly usage transactions and LSE files showing estimated usage and readings.
4 | How are Inadvertent Gains handled in regards to the LSE files? | See AMIT Issue 024 - OWG 115 Impacts of an Inadvertent Gain (IAG) on Interval Data (attached) where CNP's process has already been documented

## Oncor
| Questions regarding LSE files | Oncor response
1 | What is the process for Missing interval data (is the interval provided as zero or estimated?) | Interval data will be estimated if the ESIID is included in an LSE file.
2 | Are any validations performed around Zero interval data? | The MDMS does not have any automated validation around ZERO value interval data. Oncor performs data analysis checks for Zero consumption after disconnects or MVOs on ESIIDs and initiates additional review where deemed appropriate.
3 | Under what circumstances do you estimate Interval Data? | The MDMS estimates intervals missed in data collection and Intervals for the day if SUM Check results in failure of a day's Uniform Business Practice VEE processing.
4 | Is a Register Read allways provided? | Yes. Start and Stop read for the day is provided in LSE file.
5 | If provided, under what circumstances do you estimate Register Reads? | If a midnight register read is missing from data collection, that value is estimated by the MDMS and will drive the values for any intervals that must be estimated. If the collection process successfully passes all the daily interval values, the MDM will calculate a missed Register read using the"96 good" interval values. Estimated register reads are also provided when an event has been identified where a cancel rebill occured. The rebill register reads are used to manually calculate the interval adjustments.
6 | Do you provide Zero values for interval data? (Y/N) If so, what circumstances? | When the meter records Zero values in an interval and validations pass - ZERO actual is kept in the VEE'd data.
7 | Do you provide Null values for Interval Data (Y/N) If so, what circumstances? | No
8 | Do you provide Null values for Register Reads (Y/N) If so, what circumstances? | No
9 | Please explain the estimation process for AMS | Oncor's MDMS estimates Register read missed in collection process or for reads tagged invalid by VEE rules for the day. The interval values estimated are calculated to fit the start minus stop register read consumption for a day.
10 | If you receive an actual for an interval that was previously estimated do you always replace the estimate? | Oncor does not replace missing intervals with actual data in current state.
11 | What is the timeline for replacing Estimated usage with Actual usage? | see above.
12 | After what time period do you stop looking for actuals? | see above.
13 | Do you validate that the intervals add up to equal the register read? | This is SUM Check as defined above and intergral to Uniform Business Practice (UBP) Interval Data VEE.
14 | What is the validation process? How often is the validation performed? | Oncor performs validations according to UBP guidelines on each days data prior to it being put in LSE files delivered to the market.
15 | What is the allowed variance between the sum of the interval data and the register read? | UBP guidelines for interval sum check variance is a Meter multiplier of 2.
16 | Anytime usage is updated how will that be reflected in the LSE file? | Updated usage in LSE files follows the documentation agreed by the Market in MARS TF. Create date is provided in LSE file header row 3 that allows programmtic loading of newer versions of a consumption day that had previously been delivered.
17 | What reading do you use to complete a Switch? | Midnight reads going into the day are generally used. On-demand read is used if midnight read is not available to complete the request
18 | What reading do you use to complete a straight MVI? | same as above
19 | What reading do you use to complete a MVI Force Off? | same as above
20 | What reading do you use to complete a MVO? | same as above
21 | Explain smoothing as it pertains to your entity. | Smoothing applies to traditonal meter estimation processes where a manual daily average is calculated when an assumed quantity of energy is deemed to have occurred and an adjustment is made in the cancel / rebill process.
General Questions
1 | Under what circumstances is an 867 cancel/rebilled due to changes in AMS data (such as receiving an actual for a previous estimate)? | Oncor cancel rebill is not driven by changes in AMS data. When an adjustment is deemed to be required, the Rebill meter reads are calculated from the best information available. When an occurrence of LSE data being out of synch with 867-03 rebill is determined to have occurred during review of Market Track inquiries, Oncor uses the rebill adjusted register reads to recalculate interval values for previously provided LSE data.
2 | How does Tampering impact the 867 vs LSE? | Ref above
3 | Is Tampering incorporated into the LSE reads? | Tampering adjustments are manually incorporated into LSE reads when those discrepancies are identified in Market Trak reviews
4 | How are Inadvertent Gains handled in regards to the LSE files? | Oncor does not provide LSE data after a production day(s) transmission as a result of an IAG event closure.

## TNMP
| Questions regarding LSE files | Answers
1 | What is the process for Missing interval data (is the interval provided as zero or estimated?) | Estimated
2 | Are any validations performed around Zero interval data? | No
3 | Under what circumstances do you estimate Interval Data? | 1. If validations fail 2. If the intervals are not present in readings file
4 | Is a Register Read allways provided? | Yes
5 | If provided, under what circumstances do you estimate Register Reads? | We would estimate a register read if we didn’t receive actual data
6 | Do you provide Zero values for interval data? (Y/N) If so, what circumstances? | Yes, when the consumption for interval data is zero, we will send a zero
7 | Do you provide Null values for Interval Data (Y/N) If so, what circumstances? | No
8 | Do you provide Null values for Register Reads (Y/N) If so, what circumstances? | No
9 | Please explain the estimation process for AMS | Estimations are triggered when there is no data or when the validation fails for the interval reads. There are three estimation algorithm we use in our MDMS. 1. Linear Interpolation - interval data is estimated by this algorithm when there is gap of less than or equal to 1 hour in the readings file or interval data validations fail for less than or equal to 1 hour 2. If estimation is required for more than 1 hour of interval data then first the 'California historical' estimation process is performed for estimation and then if it is not able to estimate then '2 week like day historical' estimation process is executed. So altogether there are three estimation algorithms we use to estimate the data. The estimated interval data is stored with 'Estimated' status in MDMS.
10 | If you receive an actual for an interval that was previously estimated do you always replace the estimate? | Yes
11 | What is the timeline for replacing Estimated usage with Actual usage? | As soon as the actual data is received, it would replace the estimated data.
12 | After what time period do you stop looking for actuals? | We will replace estimated with actual up to 70 days
13 | Do you validate that the intervals add up to equal the register read? | Yes
14 | What is the validation process? How often is the validation performed? | Validation is the process where we check each interval data value with the rules set up in MDMS. If the data value is within the boundary conditions we pass the data otherwise we store the interval data with a warning status. The validation process occurs as we import data into MDMS. See estimation process listed above for more detail
15 | What is the allowed variance between the sum of the interval data and the register read? | TNMP's allowable variance between interval data and the register read is 2 multipliers
16 | Anytime usage is updated how will that be reflected in the LSE file? | Estimated is noted in the LSE file as estimated and actual is noted as actual.
17 | What reading do you use to complete a Switch? | Midnight read
18 | What reading do you use to complete a straight MVI? | On demand reading at time of completion. We will be changing this to use the midnight read as of 11/01/12.
19 | What reading do you use to complete a MVI Force Off? | On demand reading at time of completion. We will be changing this to use the midnight read as of 11/01/12.
20 | What reading do you use to complete a MVO? | On demand reading at time of completion.
21 | Explain smoothing as it pertains to your entity. | Interval data is not smoothed at this time.
General Questions
1 | Under what circumstances is an 867 cancel/rebilled due to changes in AMS data (such as receiving an actual for a previous estimate)? | Currently we do not cancel and rebill for receipt of actual data where estimated has been sent.
2 | How does Tampering impact the 867 vs. LSE? | Currently the 867 will differ from the lse if we rebill for tampering.
3 | Is Tampering incorporated into the LSE reads? | No
4 | How are Inadvertent Gains handled in regards to the LSE files? | LSE files are always sent to the CR of Record. LSE files will be resent where restatements are required due to the Inadvertent Gain.