| NOGRR Number | 095 | NOGRR Title | Type 2 Special Protection System Submissions |
| --- | --- | --- | --- |

| Date | August 21, 2012 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Blake Williams on behalf of the Reliability and Operations Subcommittee (ROS) |
| E-mail Address | BAWilliams@CPSEnergy.com |
| Company | CPS Energy |
| Phone Number | 210-353-3557 |
| Cell Number |  |
| Market Segment | Municipal |

Comments

At its 8/16/12 meeting, ROS reviewed Nodal Operating Guide Revision Request (NOGRR) 095.  Participants expressed concern that allowing Resource Entities which are not registered as Transmission Operators (TOPs) with the North American Electric Reliability Corporation (NERC) to own and operate a Special Protection System (SPS) would impose additional responsibility and liability upon the Transmission Service Provider (TSP).  After discussion, ROS unanimously voted to table NOGRR095 for one month.  All Market Segments were present for the vote.

Proposed Guide Language Revision

None.