| NPRR Number | 477 | NPRR Title | Exception for Block Load Transfers at Presidio |
| --- | --- | --- | --- |
| Date Posted |  | August 17, 2012 |  |
| Requested Resolution |  | Urgent. The Comisión Federal de Electricidad (CFE) is seeking payment for energy flowing into the Block Load Transfer (BLT) Point at Presidio, which is not being captured by the current Settlements process. CFE has stated that, without payment, it may interrupt energy flow into Presidio, which could impact the reliability for consumers in that area. |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 6.6.3.5, Real-Time Payment for a Block Load Transfer Point |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) establishes an exception to the Verbal Dispatch Instruction (VDI) requirement for BLTs that will only be applied to energy flowing from CFE into the BLT Point at Presidio that is necessary to maintain reliability in that area. |  |
| Reason for Revision |  | Despite the installation of the NaS battery at Presidio and the completion of the new 69 kV line from Alamito Creek to Chinati to Presidio, Load growth in the area still requires that the 69 kV line flowing from CFE into the Gonzales substation must be constantly energized in order to maintain connectivity and minimize Outage restoration times. As a result, there is a small of amount of energy that flows out of CFE into ERCOT that is not registered by the AEP meter at the Gonzales substation and, therefore, not included in the ERCOT Settlements process. Historically, CFE has not sought reimbursement for this energy but began invoicing AEP Energy Partners for the energy in May 2012. The May invoice was for less than three MWh. Currently, this energy cannot be treated as a BLT because the Protocols require that ERCOT must have issued a VDI in order to settle the energy as a BLT. Therefore, AEP is seeking to create an exception for this energy so that can be settled as a BLT. |  |
| Credit Implications |  | No |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Necessary to maintain reliability for consumers in the Presidio area. - Load growth in the Presidio area relies on the energy flow from CFE to maintain reliability and ensure quick Outage restoration times. |
|  | 2 | Ensures a positive ongoing relationship with CFE. - ERCOT often relies on relief from CFE during emergency situations. |
|  | 3 | Creates a solution that more economical that additional transmission projects. |

| Sponsor |  |
| --- | --- |
| Name | Jennifer Bevill |
| E-mail Address | jlbevill@aep.com |
| Company | American Electric Power Service Corporation (AEP) |
| Phone Number | n/a |
| Cell Number | (512) 934-4255 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | (512) 248-6464 |

Proposed Protocol Language Revision

2.1	DEFINITIONS

Presidio Exception

The losses associated with keeping the 69 kV line from the Gonzales substation to the ERCOT BLT Point at Presidio constantly energized in order to maintain connectivity and allow for rapid response to contingencies impacting the reliability for Customers in the Presidio area when a Verbal Dispatch Instruction (VDI) has not been issued during a declared Emergency Condition and no energy is delivered to the ERCOT System through the BLT Point at Presidio.  The TDSP responsible for the Presidio BLT Point metering shall witness and maintain records of meter verification no less than every four years.

6.6.3.5	Real-Time Payment for a Block Load Transfer Point

(1)	ERCOT shall pay each QSE for the energy delivered to an ERCOT Load through a Block Load Transfer (BLT) Point that is moved in response to an ERCOT Verbal Dispatch Instruction (VDI) during a declared Emergency Condition, from the ERCOT Control Area to a non-ERCOT Control Area.  The payment for a given 15-minute Settlement Interval is calculated as follows:

BLTRAMT q, bltp, p = 	(-1) * MAX {RTSPPEW p , (VEEPBLTP q , bltp) * CABLT} * BLTR q, p, bltp

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| BLTRAMT q, bltp, p | $ | Block Load Transfer Resource Amount per QSE per Settlement Point per BLT PointThe payment to QSE q for the BLT Resource that delivers energy to Load Zone p through BLT Point bltp, or payment for the Presidio Exception in accordance with paragraph (3) below, for the 15-minute Settlement Interval. |
| RTSPPEW p | $/MWh | Real-Time Settlement Point Price per Settlement Point Energy-WeightedThe Real-Time Settlement Point Price at Settlement Point p, for the 15-minute Settlement Interval, that is weighted by the state estimated Load of the Load Zone of each SCED interval within the 15-minute Settlement Internal. |
| VEEPBLTP q, bltp | $/MWh | Verified Emergency Energy Price at BLT PointThe ERCOT verified cost for the energy delivered to an ERCOT Load through BLT Point bltp during a declared Emergency Condition in ERCOT as determined by an ERCOT VDI, or the verified cost for the Presidio Exception. |
| CABLT | # | Cost Adder for Block Load TransferA multiplier of 1.10. |
| BLTR q, p, bltp | MWh | Block Load Transfer Resource per QSE per Settlement Point per BLT PointThe energy delivered to an ERCOT Load in Load Zone p through BLT Point bltp represented by QSE q, or the losses associated with the Presidio Exception, for the 15-minute Settlement Interval. |
| q | None | A QSE. |
| p | None | A Load Zone Settlement Point. |
| bltp | None | A BLT Point. |

(2)	The total of the payments to each QSE for all energy delivered to ERCOT Loads through BLT Points for the 15-minute Settlement Interval is calculated as follows:

BLTRAMTQSETOT q	=	ΣpΣbltpBLTRAMT q, bltp,  p

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| BLTRAMTQSETOT q | $ | Block Load Transfer Resource Amount QSE Total per QSEThe total of the payments to QSE q for energy delivered into the ERCOT System through BLT Points for the 15-minute Settlement Interval. |
| BLTRAMT q, bltp , p | $ | Block Load Transfer Resource Amount per QSE per Settlement Point per BLT Point—The payment to QSE q for the BLT Resource at BLT Point bltp, which delivers energy to Load Zone p, for the 15-minute Settlement Interval. |
| q | None | A QSE. |
| p | None | A Load Zone Settlement Point. |
| bltp | None | A BLT Point. |

(3)	For the purpose of Settlement, ERCOT shall treat the energy associated with Presidio Exception as energy delivered to an ERCOT Load through a BLT Point that is moved from the ERCOT Control Area to a non-ERCOT Control Area in response to a VDI during a declared Emergency Condition.