| NOGRR Number | 103 | NOGRR Title | Administrative Changes for October 1, 2012 Nodal Operating Guides |
| --- | --- | --- | --- |
| Date Posted | August 27, 2012 |
| Status | Administrative Change |

| Nodal Operating Guide Section Requiring Revision | 4.5.3.4, Load Shed Obligation |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Revision Description | This Administrative Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2012 which include changes to reflect proper legal Entity names and percentages for Load shed. |
| Reason for Revision | Administrative change to update the ERCOT Load Shed Table as allowed by Section 1.3, Process for Operating Guide Revision. |
| Overall Market Benefit | Market Participants benefit from up-to-date information. |
| Overall Market Impact | None. |
| Consumer Impact | None. |

| Business Case |
| --- |
| Business Case | 1 | Market Participants benefit from up-to-date information. |

| Sponsor |
| --- |
| Name | Leo Villanueva |
| E-mail Address | evillanueva@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3135 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |
| --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

4.5.3.4	Load Shed Obligation

Obligation for Load shed is by DSP.  Load shedding obligations need to be represented by an Entity with 24x7 operations and Hotline communications with ERCOT and control over breakers.  Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.  (Use TOs as list of Entities)

ERCOT Load Shed Table

| Transmission Operator | 2011 Total Transmission Operator Load (MW) |
| --- | --- |
| American Electric Power Service Corp. | 8.63 |
| Brazos Electric Power Cooperative Inc. | 4.85 |
| Brownsville Public Utilities Board | 0.40 |
| Bryan Texas Utilities | 0.79 |
| CenterPoint Energy Houston Electric LLC | 24.42 |
| City of Austin DBA Austin Energy | 3.93 |
| City of Garland | 0.76 |
| CPS Energy (San Antonio) | 7.09 |
| Denton Municipal Electric | 0.52 |
| GEUS (Greenville) | 0.17 |
| LCRA Transmission Services Corporation | 5.42 |
| Oncor Electric Delivery Company LLC | 37.59 |
| Rayburn Country Electric Cooperative Inc. DBA Rayburn Electric | 1.17 |
| South Texas Electric Cooperative Inc. | 1.84 |
| Texas-New Mexico Power Company | 2.42 |
| ERCOT Total | 100.00 |