| NOGRR Number | 093 | NOGRR Title | Synchronization with NPRR365 |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 19, 2012 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – 2013; Rank – 750 |  |  |
| Nodal Operating Guide Section Requiring Revision |  | 9.1.6, Resource Outage Reporting |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guides with Nodal Protocol Revision Request (NPRR) 365, Change in Resource Outage Approvals from Eight to 45 Days, which was approved by the ERCOT Board on 9/20/11 and revised the deadline for ERCOT approval of Resource Outages from an eight-day notice to a 45-day notice while aligning the new Resource Outage timelines to match those of Transmission Outages. |  |  |
| Reason for Revision |  | To synchronize the Nodal Operating Guides with NPRR365. |  |  |
| Procedural History |  | - On 5/1/12, NOGRR093 was posted. - On 5/16/12, the Operations Working Group (OWG) considered NOGRR093. - On 6/7/12, an Impact Analysis was posted. - On 6/13/12, the OWG considered the 5/16/12 OWG Report and Impact Analysis for NOGRR093. - On 7/12/12, ROS considered NOGRR093. - On 7/19/12, PRS considered NOGRR093. |  |  |
| OWG Decision |  | On 5/16/12, the OWG was in consensus to recommend approval of NOGRR093 as submitted. On 6/13/12, the OWG was in consensus to endorse and forward the 5/16/12 OWG Report and Impact Analysis for NOGRR093 to ROS with a recommended priority of 2013 and rank of 750. |  |  |
| Summary of OWG Discussion |  | On 5/16/12, there was no discussion. On 6/13/12, ERCOT Staff noted that the implementation of NOGRR093 could be accelerated if necessary. |  |  |
| ROS Decision |  | On 7/12/12, ROS unanimously voted to recommend approval of NOGRR093 as recommended by OWG in the 6/13/12 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 7/12/12, there was no discussion. |  |  |
| PRS Decision |  | On 7/19/12, PRS unanimously voted to recommend a priority of 2013 and rank of 750 for NOGRR093 as recommended by ROS in the 7/12/12 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 7/19/12, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Synchronized Nodal Operating Guides and clarification of reporting requirements. |

| Sponsor |  |
| --- | --- |
| Name | Brad Calhoun on behalf of the OWG |
| E-mail Address | brad.calhoun@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2744 |
| Cell Number | 713-299-2912 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please note that the baseline Nodal Operating Guide language in Section 9.1.6 has been updated due to the incorporation of NOGRR085, Replace TML References with MIS, into the Nodal Operating Guides on April 1, 2012.

Proposed Guide Language Revision

9.1.6	Resource Outage Reporting

This Section describes the reporting of data for Resource Outage scheduling by individual Resource for informational purposes.  There are no performance metrics for this data.

(1)	ERCOT shall post to the MIS Certified Area, a confidential report of total number of Outages reported including Monthly Resource Outage reporting by Resource:

(a)	Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance;

(b)	Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date;

(c)	Number of Outage requests submitted in the ERCOT Outage Scheduler between 45 and 89 days in advance of the desired Outage date;

(d)	Number of Outage requests submitted in the ERCOT Outage Scheduler between three and 44 days in advance of the desired Outage date;

(e)	Number of Outage requests submitted less than three days in advance;

(f)	Number of Outages by Outage type; and

(g)	Total number of Outages that were requested, accepted, approved, cancelled, and withdrawn.