## Slide 1: Reliability and Operations Subcommittee Report
9/07/2012

## Slide 2
Unopposed Recommendations for Approval
NOGRR091, Criteria for the Selection of Operators
NOGRR093, Synchronization with NPRR365
  Priority: 2013
  Rank: 750
NOGRR096, Clarification of RRS Obligation
NOGRR097, New Section 8I, Black Start Resource Availability Test Form
NOGRR098, Change of Facility Submission Time Lines to Align with Protocols

## Slide 3
Recommendations for Approval
PGRR018, Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models and Capacity Demand and Reserves Report
  4 Opposing Votes
  1 Abstention

## Slide 4
Status Update on SCR760 and Planning Go-Live
SCR760 Progress
  Complete: Items 1, 2, 3, 4, 5, 7, 8, 9
  Item 6, FACTS modeling – Planned Completion in early 2013
Planning Go-Live
  Went “Live” with DSA completion – 7/9/12
  Continue process with DSB – 10/15/12 (anticipated completion)

## Slide 5: OPSTF Operations and Planning Synchronization Task Force
Issues List (14 39)
Completed
  Issue 5a: Appropriate Load Levels to Consider in Planning Studies (No Action)
  Issue 13a,b: RMR Studies – NPRR465 submitted by CenterPoint Energy – currently at PRS (Impact Analysis)
In Progress
  Issue 1c&d: Operations Feedback on Constraints and Mitigation Plans
  Issue 4c: Conservative use of Ratings
  Issue 7a,b,c: Long-term Unavailability of Autotransformers (pending recommendation)
  Issue 8b: Generator Unit Unavailability and Modeling Issues
Monthly Update?

## Slide 6: WECC Event Recommendations
Texas RE response to NERC’s “Follow-Up Actions for September 8, 2011 Southwestern Blackout”
ROS and Work Group assistance
27 Recommendations
  Most recommendations were specific to WECC and aren’t issues for ERCOT
  Review of recommendations revealed potential areas for improvement:
    Handling of relay settings in ratings, particularly when these are most limiting series elements
    Operational use of facility owner’s ratings when different values are not available for continuous, 2 hour and 15 minute capability
    Consideration of overload relay trip times when establishing post-contingency mitigation plans
    Review process for coordination of SPS and UVLS with other protection schemes, especially overload relays

## Slide 7: Market Participants Training Needs
Operational Training – need for Trainers Work Group? NO
Annual Operations Training Seminar – 28th year
Seminar Work Group (formal or ad-hoc)
  ERCOT
  Texas RE (December, 2010)
  ERCOT (NOGRR054 – May, 2011)
Seminar Task Force – reporting to OWG