Date: 	August 30, 2012

To:	Technical Advisory Committee (TAC) Representatives

From:	Tom Burke, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR425, Creation of a WGR Group for GREDP and Base Point Deviation Evaluation and Mixing Turbine Types Within a WGR (formerly “Creation of a WGR Group for GREDP and Base Point Deviation Evaluation”) - NPRR460, WGR Ramp Rate Limitations* - NPRR464, SASM Procurement Reporting - NPRR466, Asset Depreciation Schedule for Capital Contributions* - NPRR467, Balancing Account Resettlement Due to DAM Resettlement* - NPRR470, Real-Time PTP Option Modeling Language Cleanup – Urgent* - NPRR472, Implementation Clarifications for Consideration of DC Tie Lines and Outages in CCTs – Urgent* - NPRR477, Exception for Block Load Transfers at Presidio – Urgent (*) denotes no impacts

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR425, Creation of a WGR Group for GREDP and Base Point Deviation Evaluation and Mixing Turbine Types Within a WGR (formerly “Creation of a WGR Group for GREDP and Base Point Deviation Evaluation”) [ERCOT]. Proposed Effective Date: Upon System Implementation – Priority 2013; Rank 770 ERCOT Impact Analysis: $350k - $380k; no impacts to ERCOT staffing; impacts to Registration Systems, Network Modeling and Management System (NMMS), Settlements & Billing (S&B), Market Management System (MMS), Energy Management System (EMS), Enterprise Integration System (EIS), Current Day Reports (CDR), and Information Systems Master (ISM); ERCOT business functions will be updated; provides improved visibility to evaluate Reactive Capability and quantify Dynamic Response of Wind-powered Generation Resources (WGRs). Revision Description: This NPRR provides that WGRs meeting registration requirements will be evaluated for Generation Resource Energy Deployment Performance (GREDP) and Base Point Deviation as groups of WGRs rather than individual WGRs; and permits multiple wind turbine models or sizes to be combined in a single WGR if certain criteria are met. PRS Decision: On 2/23/12, PRS voted to recommend approval of NPRR425 as amended by the 2/17/12 E.ON comments. There was one opposing vote from the Investor Owned Utility (IOU) Market Segment. On 6/21/12, PRS unanimously voted to endorse the 2/23/12 PRS Report as amended by the 6/11/12 ERCOT comments and to direct that NPRR425 and a revised Impact Analysis return to the July 2012 PRS meeting. On 7/19/12, PRS unanimously voted to endorse and forward the 6/21/12 PRS Report and Impact Analysis for NPRR425 to TAC with a recommended priority of 2013 and rank of 770. - NPRR460, WGR Ramp Rate Limitations [E. ON Climate & Renewables]. Proposed Effective Date: December 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business functions will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR increases the WGR ramp rate limitation from 10% per minute of nameplate rating to a five minute average of 20% per minute of nameplate rating with no individual minute exceeding 25%. PRS Decision: On 7/19/12, PRS unanimously voted to recommend approval of NPRR460 as revised by PRS. On 8/23/12, PRS unanimously voted to endorse and forward the 7/19/12 PRS Report as amended by the 8/16/12 ERCOT comments and as revised by PRS and Impact Analysis for NPRR460 to TAC. - NPRR464, SASM Procurement Reporting [NRG]. Proposed Effective Date: Upon System Implementation – Priority 2012; Rank 780 ERCOT Impact Analysis: $40k - $45k, impacts to MMS, CDR, Market Information System (MIS) and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR will require ERCOT to notify Qualified Scheduling Entities (QSEs) whose Ancillary Service capacity was deemed undeliverable, or who failed to provide their required Ancillary Service capacity, details of the Ancillary Services procured on their behalf during a Supplemental Ancillary Services Market (SASM). PRS Decision: On 6/21/12, PRS unanimously voted to recommend approval of NPRR464 as submitted. On 7/19/12, PRS unanimously voted to endorse and forward the 6/21/12 PRS Report and Impact Analysis for NPRR464 to TAC with a recommended priority of 2012 and rank of 780. - NPRR466, Asset Depreciation Schedule for Capital Contributions [Resource Cost Working Group (RCWG)]. Proposed Effective Date: December 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR creates an appropriate asset depreciation schedule to apply to the capital contribution repayment obligation for Resources contracted to provide capacity pursuant to Section 6.5.1.1, ERCOT Control Area Authority. PRS Decision: On 6/21/12, PRS voted to recommend approval of NPRR466 as revised by PRS. There was one abstention from the Independent Generator Market Segment. On 7/19/12, PRS unanimously voted to endorse and forward the 6/21/12 PRS Report as amended by the 7/3/12 ERCOT comments and Impact Analysis for NPRR466 to TAC. - NPRR467, Balancing Account Resettlement Due to DAM Resettlement [Communications and Settlements Working Group (CSWG)]. Proposed Effective Date: December 1, 2012; Automated solution will be implemented upon system implementation – Priority 2014; Rank 910 ERCOT Impact Analysis: $80k - $90k (for automated solution); no impacts to ERCOT staffing; impacts to S&B and EIS (for automated solution); ERCOT business functions will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides a resettlement of the Congestion Renewable Right (CRR) Balancing Account (CRRBA) due to any changes in a Day-Ahead Market (DAM) resettlement that impacts the CRRBA amount. PRS Decision: On 7/19/12, PRS unanimously voted to recommend approval of NPRR467 as submitted. On 8/23/12, PRS unanimously voted to endorse and forward the 7/19/12 PRS Report as revised by PRS and Impact Analysis for NPRR467 to TAC with a recommended priority of 2014 and rank of 910. - NPRR470, Real-Time PTP Option Modeling Language Cleanup [ERCOT] - Urgent. Proposed Effective Date: October 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes certain billing determinant names to align the Protocols with as-built systems to reflect the implementation of NPRR322, Real-Time PTP Option Modeling, which was approved by the ERCOT Board on June 21, 2011. PRS Decision: On 8/23/12, PRS unanimously voted to grant NPRR470 Urgent status. PRS then unanimously voted to recommend approval of NPRR470 as amended by the 8/6/12 ERCOT comments. Credit review is pending. - NPRR472, Implementation Clarifications for Consideration of DC Tie Lines and Outages in CCTs [ERCOT] - Urgent. Proposed Effective Date: October 1, 2012 ERCOT Impact Analysis: No budgetary impact (managed under NPRR469 implementation); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes changes to the language that was approved by the ERCOT Board on July 17, 2012 as part of NPRR469, Modifications to CCTs. Specifically, consideration of Direct Current Tie (DC Tie) lines for Constraint Competitiveness Tests (CCTs) is updated such that full import capability is counted towards the export side of a constraint but zero MW are counted on the import side of a constraint; and such that planned transmission and Resource Outages are not included in the Long-Term CCT. PRS Decision: On 8/23/12, PRS voted to grant NPRR472 Urgent status. There was one opposing vote from the Independent Power Marketer (IPM) Market Segment and two abstentions from the Consumer and IOU Market Segments. PRS then voted to recommend approval of NPRR472 as submitted. There were three abstentions from the Municipal, IOU and IPM Market Segments. Credit review is pending. - NPRR477, Exception for Block Load Transfers at Presidio [AEP] - Urgent. Proposed Effective Date: October 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business functions will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR establishes an exception to the Verbal Dispatch Instruction (VDI) requirement for Block Load Transfers (BLTs) that will only be applied to energy flowing from the Comisión Federal de Electricidad (CFE) into the BLT Point at Presidio that is necessary to maintain reliability in that area. PRS Decision: On 8/23/12, PRS unanimously voted to grant NPRR477 Urgent status. PRS then voted to recommend approval of NPRR477 as amended by the 8/23/12 ERCOT comments and to forward NPRR477 to TAC. There was one abstention from the Consumer Market Segment. Credit review is pending. Revision Requests Rejected and Failed Motions None. Revision Requests Withdrawn (no TAC action required) None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the September 20, 2012 PRS Meeting - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy] - NPRR465, Transmission Planning Analysis to Minimize the Need for RMR Units [CenterPoint] - NPRR471, Removal of Language Related to NPRR241 [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR429, HASL Offset Provision [Morgan Stanley] - NPRR444, Supplemental Reliability Deployments [Morgan Stanley] - Urgent - NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917 [ERCOT] - NPRR473, Process for Submission of Generation Resource Weatherization Information [ERCOT] - NPRR474, Clarification of Price Correction Principles and Associated Timelines [ERCOT] - NPRR475, EPS Metering Exception for ERS Generation [ERCOT] New Revision Requests Scheduled for Consideration at the September 20, 2012 PRS Meeting - NPRR476, Market Submitted Energy Offer Curves Disclosures [MIS User Group (MISUG)] - NPRR478, Extension of DAM QSE Offer and Bid Submission Deadline Due to ERCOT Systems Delays [Calpine] - NPRR479, Daily Net Outage MW [Mercuria Energy] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr