| NOGRR Number | 096 | NOGRR Title | Clarification of RRS Obligation |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | August 16, 2012 |  |  |
| Proposed Effective Date |  | October 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Operating Guide Section Requiring Revision |  | 2.3.1.1, Obligation |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) references the Other Binding Document, ERCOT Methodologies for Determining Ancillary Service Requirements, which describes a process that may be used to procure additional Responsive Reserve (RRS) Service; and adds clarifying language affirming that the minimum RRS obligation remains unchanged (2300 MW), but that additional RRS may be procured if there is a reliability need. |  |  |
| Reason for Revision |  | To make Operating Guide language generic so that if the RRS process described in the ERCOT Methodologies for Determining Ancillary Service Requirements is modified, the Operating Guides may not need to be. |  |  |
| Procedural History |  | - On 5/22/12, NOGRR096 was posted. - On 6/13/12, the Operations Working Group (OWG) considered NOGRR096. - On 7/11/12, an Impact Analysis was posted. - On 7/18/12, the OWG considered the 6/13/12 OWG Report and Impact Analysis for NOGRR096. - On 8/16/12, ROS considered NOGRR096. |  |  |
| OWG Decision |  | On 6/13/12, the OWG was in consensus to recommend approval of NOGRR096 as submitted. On 7/18/12, the OWG was in consensus to endorse and forward the 6/13/12 OWG Report and Impact Analysis for NOGRR096 to ROS. |  |  |
| Summary of OWG Discussion |  | On 6/13/12, revisions to align the ERCOT Methodologies for Determining Ancillary Services Requirements with NOGRR096 were discussed. ERCOT Staff agreed to include necessary changes in a future revision of the document. On 7/18/12, there was no discussion. |  |  |
| ROS Decision |  | On 8/16/12, ROS unanimously voted to recommend approval of NOGRR096 as recommended by OWG in the 7/18/12 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 8/16/12, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - This NOGRR will help eliminate confusion regarding the minimum RRS obligation. |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

- 2.3.1.1	Obligation

ERCOT operating reserve requirements are more restrictive than North American Electric Reliability Corporation (NERC) Reliability Standards.  The RRS obligation is a minimum of 2300 MW.  The amount of RRS procured may be adjusted as described in ERCOT Methodologies for Determining Ancillary Service Requirements or if ERCOT determines a reliability need for additional Ancillary Service Resources.