| Date: | September 11, 2012 |
| --- | --- |
| To: | ERCOT Board of Directors |
| From: | Kenan Ogelman, Technical Advisory Committee (TAC) Chair |
| Subject: | Unopposed Revision Requests |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors (ERCOT Board) Meeting Date: September 18, 2012 Agenda Tab No.: 2.1

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by TAC (with no opposing votes recorded): - NPRR464, SASM Procurement Reporting – Urgent - NPRR470, Real-Time PTP Option Modeling Language Cleanup – Urgent - NPRR472, Implementation Clarifications for Consideration of DC Tie Lines and Outages in CCTs – Urgent - NPRR477, Exception for Block Load Transfers at Presidio – Urgent

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. ##### Nodal Protocol Revision Requests (NPRRs): - NPRR464, SASM Procurement Reporting [NRG] - Urgent. Revision Description: This NPRR will require ERCOT to notify Qualified Scheduling Entities (QSEs) whose Ancillary Service capacity was deemed undeliverable, or who failed to provide their required Ancillary Service capacity, details of the Ancillary Services procured on their behalf during a Supplemental Ancillary Services Market (SASM). Proposed Effective Date: Upon System Implementation – Priority 2012; Rank 780 ERCOT Impact Analysis: $40k - $45k, impacts to Market Management System (MMS), Current Day Reports (CDR), Market Information System (MIS) and Enterprise Integration (EI); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. ERCOT Opinion: ERCOT supports approval of NPRR464 as it promotes transparency. TAC Decision: On 9/7/12, TAC unanimously voted to recommend approval of NPRR464 with Urgent status as recommended by PRS in the 7/19/12 PRS Report. - NPRR470, Real-Time PTP Option Modeling Language Cleanup [ERCOT] - Urgent. Revision Description: This NPRR changes certain billing determinant names to align the Protocols with as-built systems to reflect the implementation of NPRR322, Real-Time PTP Option Modeling, which was approved by the ERCOT Board on June 21, 2011. Proposed Effective Date: October 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. ERCOT Opinion: ERCOT supports approval of NPRR470. TAC Decision: On 9/7/12, TAC unanimously voted to recommend approval of NPRR470 as recommended by PRS in the 8/23/12 PRS Report. - NPRR472, Implementation Clarifications for Consideration of DC Tie Lines and Outages in CCTs and Modification to the Long Term CCT (formerly “Implementation Clarifications for Consideration of DC Tie Lines and Outages in CCTs”) [ERCOT] - Urgent. Revision Description: This NPRR proposes changes to the language that was approved by the ERCOT Board on July 17, 2012 as part of NPRR469, Modifications to CCTs. Specifically, consideration of Direct Current Tie (DC Tie) lines for Constraint Competitiveness Tests (CCTs) is updated such that full import capability is counted towards the export side of a constraint but zero MW are counted on the import side of a constraint; and such that planned transmission and Resource Outages are not included in the Long-Term CCT. Proposed Effective Date: Upon system implementation of NPRR469. ERCOT Impact Analysis: No budgetary impact (managed under NPRR469 implementation); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. ERCOT Opinion: ERCOT supports approval of NPRR472. TAC Decision: On 9/7/12, TAC unanimously voted to recommend approval of NPRR472 as recommended by PRS in the 8/23/12 PRS Report, as amended by the 8/30/12 ERCOT comments and as revised by TAC. - NPRR477, Exception for Block Load Transfers at Presidio [AEP] - Urgent. Revision Description: This NPRR establishes an exception to the Verbal Dispatch Instruction (VDI) requirement for Block Load Transfers (BLTs) that will only be applied to energy flowing from the Comisión Federal de Electricidad (CFE) into the BLT Point at Presidio that is necessary to maintain reliability in that area. Proposed Effective Date: October 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business functions will be updated; no impacts to ERCOT grid operations and practices. ERCOT Opinion: ERCOT supports Market Participants’ desire to clarify the treatment of energy flowing from the CFE into the BLT Point at Presidio. TAC Decision: On 9/7/12, TAC unanimously voted to recommend approval of NPRR472 as recommended by PRS in the 8/23/12 PRS Report and to endorse the Impact Analysis. The TAC Reports and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials which can found at the following link: http://www.ercot.com/calendar/2012/09/20120918-BOD In addition, these Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/nprotocols/nprr

##### Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 464, 470, 472, and 477 as described herein. TAC considered the issues and voted to take action on NPRRs 464, 470, 472, and 477 as described above.

##### Conclusion/Recommendation: ##### As more specifically described above, TAC recommends that the ERCOT Board approve NPRRs 464, 470, 472, and 477 as described herein.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, the Electric Reliability Council of Texas, Inc. (ERCOT) Board of Directors (Board) deems it desirable and in ERCOT’s best interest to approve the following Nodal Protocol Revision Requests (NPRRs):

- NPRR464, SASM Procurement Reporting – Urgent

- NPRR470, Real-Time PTP Option Modeling Language Cleanup – Urgent

- NPRR472, Implementation Clarifications for Consideration of DC Tie Lines and Outages  in CCTs – Urgent

##### NPRR477, Exception for Block Load Transfers at Presidio – Urgent

THEREFORE be it RESOLVED, that the ERCOT Board hereby approves NPRRs 464, 470, 472, and 477.

CORPORATE SECRETARY’S CERTIFICATE

I, Vickie G. Leady, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its September 18, 2012 meeting, the ERCOT Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ____ day of September, 2012.

______________________________

Vickie G. Leady

Assistant Corporate Secretary